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Barnsley Hospital NHS Foundation Trust have obtained Salix funding for decarbonisation of the existing Barnsley Hospital Estate based upon the recommendations of the Trust’s appointed low carbon consultant.
As part of the decarbonisation strategy a number of fabric improvements are to be made to buildings thought-out the Barnsley Hospital Estate. In addition to the fabric improvements the decarbonisation strategy recommends the replacement of the existing space heating services in the following buildings positioned in the estate:

Block A (Administration Block)
Block D (Estates Office)
Block Y (Education Centre)
Block Z (ARU)
Block 3
Block 9
Block 12
Block 13
Block 14
Block 15

The buildings generally generate space heating via a steam to water plate heat exchangers fed with steam from the Barnsley Hospital steam network, where steam is distributed from the main boiler house.

External consultants recommend that the existing heating systems in each building be replaced in their entirety and coupled to decentralised air source heat pumps.

