	Hughie Construction Limited

	Site Specific Risk Assessment & Method Statement

	Authorised by:
	Pearson Holland Management Services 
	Ref No:
	005



Risk assessment & METHOD STATEMENT

parkside sports & community centre

for

Ground EXCAVATION WORKS  

New York Stadium 
New York Way

Rotherham

South Yorkshire

S60 1FJ

Tel: 07901 235886

Email: admin@hclimited.co.uk 
	Date of Issue
	Comments
	Ref No.
	Authorised by
	Revision

	21/08/2024
	Issued to site
	007
	Richard Kirk
	01

	Review: 21/08/2025
	
	
	
	


Site Specific Risk Assessment & Method Statement
Location:



PARKSIDE SPORTS & COMMUNITY CENTRE, HOYLAND



Project Title: 



CONSTRUCTION OF NEW SPORTS & COMMUNITY FACILITY

Issue Number:



01

Compiled by:



Richard Kirk 

Company Position:


Managing Director 

Date Compiled: 


21/08/2024

Date Issued: 



21/08/2024





Project Details



Description of work to be undertaken: 

The scope of works to be carried out by Hughie Construction Limited comprises of the Ground Excavation  Works   
Please read this document carefully and implement the requirements of this method statement.

Project Technical Details 

Name of Contractor(s):    


Hughie Construction Limited 

Address Details:



Concession 7A New York Stadium 

                                                                              New York Way    

                                                                              Rotherham 

                                                                              S60 1FJ 

Telephone No:




07901 235886 

Manager Responsible on Site: 

RICHARD KIRK


Client:





BARNSLEY METROPOLITAN BOROUGH COUNCIL




 

Principal/Main Contractor 


Hughie Construction Limited 

Estimated Duration of Work (Weeks):

48 WEEKS
Commencing:




TBC
Completion: 




TBC


	Site Specific Risk Assessment: Ground Excavation Works   

	Risk Assessment Ref.
	007

	Contract Location: 
PARKSIDE SPORTS & COMMUNITY CENTRE, HOYLAND

	Issue date: 21/08/2024



	General Activities / Scope of Work:  GROUND EXCAVATION WORKS   



	What are the hazards:
	Who might be harmed and how?
	Risk Rating
	Precautions already in place
	What further action is necessary
	Residual Risk Rating

	
	
	Probability
	Severity
	Risk
	
	
	Probability
	Severity
	Risk

	Slips and trips
	All operators, and tradesmen nearby, may suffer sprains, bruising or fractures if they trip over objects, such as work debris, or slip on spillages.
	5
	3
	15
	· All operators wear safety boots – ‘no boots, no job’ policy.

· Good housekeeping, e.g. debris put in skip, brush available to use to keep work area clear.

· All trailing cables in work area hung up or otherwise kept out of harm’s way.

· Safe route to job agreed with site manager based on site health and safety plan.
	· Manager to check on-site housekeeping during visits.

· Include in site induction before beginning work on day one.
	1
	3
	3

	Falling or Dislodging Material
	Workers in the excavation
	5
	5
	25
	· Install edge protection, use toeboards, and ensure spoil heaps are away from the edge.
	· Conduct regular inspections and maintenance of protective measures.
	1
	5
	5

	Falling into Excavation
	Workers and site visitors
	5
	5
	20
	· Install guardrails and barriers around the excavation. Use warning signs.
	· Ensure continuous supervision and restrict access to excavation areas
	1
	5
	5

	Underground Services (e.g., gas, water, electricity)
	Workers in the excavation
	5
	5
	25
	· Conduct a thorough survey to locate services before excavation. Use safe digging practices.
	· Liaise with utility companies for accurate service maps. Provide workers with service location training.
	1
	5
	5

	Inflow of Ground or Surface Water
	Workers in the excavation
	5
	5
	20
	· Use pumps to remove water. Install proper drainage systems
	· Monitor weather conditions and have contingency plans for heavy rainfall.
	1
	5
	5

	Vehicle and Plant Movements
	Operators risk serious or even fatal injuries from moving vehicles on site – particularly when reversing.
	5
	5
	25
	· Safe route to workplace and to welfare facilities, agreed with site manager based on site health and safety plan.

· Staff know that they must never move vehicles on a site unless authorised by site manager.

· Staff wear high-visibility tabards while on site.
· Establish clear traffic management plans. Use spotters and barriers
	· Include in site induction before beginning work on day one.
· Regularly review and update traffic management plans. Provide training on safe vehicle operations.
	1
	5
	5

	Collapse of Excavations
	Operators risk serious or even fatal injuries from Trench or excavation collapse
	5
	5
	25
	· Use trench boxes or shoring, batter excavation sides, regular inspections
· Safe route to br agreed with site manager based on site health and safety plan.
	· Install edge protection
	1
	5
	5

	Hand Arm Vibration (HAV)
	Operators whilst utilising whacker plates and other machinery 
	5
	4
	20
	Carry out a brief survey of the workplace. Find out who is exposed to hand-arm vibration and what is causing the exposure; 

■ estimate the time workers spend holding the equipment or work-piece while it is vibrating. Begin to set priorities: ▬ very short periods may not be a problem; but ▬ the longer the equipment or work-piece is held the higher the exposure will be so it is more important that the vibration is low.

 ■ ask users of equipment if they feel tingling or numbness during or after exposure to vibration. If they do, their exposure to vibration could be causing them harm.

You can reduce vibration exposure by reducing one or both of: 

■ the vibration transmitted to the hand; and 

· ■ the time spent holding vibrating equipment or work-pieces.
	· Make sure that risks from vibration are controlled; 

· Provide information, instruction and training to employees on the risk and the actions being taken to control risk; and

· Provide suitable health surveillance.

· 
	1
	4
	4

	Manual handling (When moving equipment and or refurbishment raw materials e.g. Tarmac)
	Operators risk injury, particularly to the back, from lifting and handling heavy or awkward objects,

e.g. bags of cement and gravel. s
	5
	4
	20
	· Use TILE assessment described below.
· Where possible, mechanical means to be used to transport materials.

· Where the movement requires short distances operatives will use barrows or where this risk is minimal passage of materials between numbers of operatives.

· All materials will be below the recommended guidance for manual handling lifting weight of 25kg.
	· Remind operatives of safe system of work at site induction.
	1
	4
	4

	Contact with Hazardous materials (Potential asbestos exposure)
	Workers in the excavation
	5
	5
	25
	· COSHH assessment to be carried out by site supervisor to identify any hazardous materials.
· Halt all work immediately and isolate work area. Contact asbestos professional to isolate and/or remove asbestos. 
· Use personal protective equipment (PPE) and ensure proper ventilation.
	· Ensure work area is isolated and trained professionals are contacted immediately
· Conduct air quality monitoring and provide training on handling hazardous substances
	1
	5
	5

	Use of power tools
	Operatives and nearby tradesmen
	3
	5
	15
	· Pre use visual inspection for damage/defects to tools, cables, plugs

· Provision of PPE; Gloves, Hearing protection, defenders/plugs, Dust masks
· Cables to be routed away from aisles and walkways where they could create trip hazards to other persons and/or expose cables to potential damage.

· All power tools to be 110 volts
	· All power tools to undergo regular PAT testing.
	1
	5
	5

	Welfare
	Good welfare facilities reduce risk of dermatitis, help good hygiene etc.
	3
	4
	12
	· Agreement with site manager that staff may use site welfare facilities – toilets, washing facilities with hot and cold water and mess room/kitchen.
	· Tell staff about facilities at site induction on day one.
	1
	4
	4

	Plant Overturning 
	Operatives, others working below and members of the public.
	5
	5
	25
	· This equipment is subject to a planned maintenance programme. The operating area shall be firm and level. Stabilisers shall be extended before the platform is raised; platforms are not to be left unattended in the raised position.
	· 
	1
	5
	5

	PROBABILITY = Likely (5) - Probable (4) - Possible (3) - Remote (2) - Improbable (1) 

SEVERITY        = Catastrophic (5) - Major (4) - Reportable (3) - Serious (2) - Minor (1)   RISK = PROBABILITY x SEVERITY 

* Residual risk is the level of risk that remains after suitable and sufficient control measures are introduced.


	Persons at Risk
	Probability
	
	Severity
	5
	4
	3
	2
	1
	
	

	
	
	
	
	L
	Pr
	Po
	R
	I
	
	8-25

Not Acceptable

	P – Public
	Likely (L)             5
	
	5
	C
	25
	20
	15
	10
	5
	
	

	E - Employee
	Probable (Pr)      4
	
	4
	Ma
	20
	16
	12
	8
	4
	
	

	C – Contractor
	Possible (Po)      3
	
	3
	R
	15
	12
	9
	6
	3
	
	1-6

Acceptable

	V – Visitor
	Remote (R)         2
	
	2
	S
	10
	8
	6
	4
	2
	
	

	
	Improbable (I)     1
	
	1
	Mi
	5
	4
	3
	2
	1
	
	


	Site Specific Method Statement: Ground Excavation  Works   

	Method of Work: 
1. Scan ground for services.

2. Carefully excavate area, 
3. Remove old tarmac. 

4. Lay Hard core and Compact 

5. Lay Base Coat and Compact 

6. Lay Top Coat and Compact.
7. Ensure tarmac is suitable for public use 

	Control Measures to Reduce Risks: Risk Control Systems (RCS) and Workplace Precautions (WP)

Risk Control Systems in operation: Daily / Weekly inspections, Audits, Reviews, Safety Checks, Recording and Monitoring, Site Safety Tours. Workplace Precautions in operation: Safety Signs, Barriers, Fixed Fencing, Guards, Protective Equipment, Personal Protective Clothing, Overall Prevention Policies, Training, Toolbox Talks, Site Inductions, Risk Assessments and Method Statements. 

· Use work equipment or other measures to prevent falls where we cannot avoid working at height.

· Where we cannot eliminate the risk of a fall use work equipment or other measures to minimise the distance and consequences of a fall should a fall occur.

Other Precautions: All Electrical Tools used will be PAT tested, inspected and recorded. All electrical items on site will be 110v or below. Any above this must be fitted with an RCD device. Noise assessments will be carried out were applicable. The tools selected for use will not exceed the Meter per second calculation with personal exposure above 8hrs. Manual handling assessments to be completed where practical all loads above 25kgs will be carried by 2 operatives or mechanically transported.

	Tools/Equipment/ Resources Required:
1. Road Roller

2. Mini excavator 

3. Dumper 

4. CAT scanner.
Labour
Site/lift supervisor, labourers
Labour resources may fluctuate during the project. Confirmation of resources will be determined by work load and programme.
	PPE Requirements:
· Protective Clothing - trousers and minimum of tee-shirts to be worn
· Hard Hats on site when using lift (Mandatory)  
· Knee Pads 
· Hand/Arm Protection – Gloves (Mandatory)  

· Eye protection as per site rules (Mandatory) – Med/high impact goggles 
· Ear protection where levels exceed 85dba above 90dba (Mandatory)

· Safety Boots with steel mid sole at all times (Mandatory)

· Hi Visibility Clothing as per site rules (Mandatory) – Must not be cut down 

	Access to the Place of Work
Prior to commencement of work the site manager, supervisors and operatives and all other visitors on behalf of Hughie Construction Limited will attend a site induction. 
1. Access to site for operatives will be controlled by entry and exit procedures. 

2. All Hughie Construction Limited site operatives and visitors and representatives will sign in and out of site daily at the site office and use access control system
3. In accordance with Construction (Design and Management) Regulations 2015, The Principal Contractor will ensure a traffic management plan has been developed and implemented and that is clearly identified and transport/plant and pedestrians are segregated by means of fixed barriers or other suitable means.

4. Main access to workface will be via main, most suitable entrance.  If for any reason this is not possible, Principal Contractor will arrange access via an alternative route through designated walkways which will require a review of this method statement.
5. PC will supply suitable contractor site compound facilities.

6. Delivery vehicles will be guided to the lay down area within the compound with the aid of the vehicle marshal (banksman) following traffic route.  All reversing of vehicles will be directed by a competent banksman and to be kept to a minimum
7. Delivery times will be sympathetic to traffic movements. 
8. Deliveries should be prior booked with the transport co-ordinator.


	Plant and Equipment to be Used Mechanical and Electrical
Road Roller: 

1. Only trained operatives are to drive the roller.
2. The roller is not to be used close to edges or excavations that may collapse (sand/earth).

3. Parking and/or standing areas for the roller must be clear for easy access.

4. Ensure all staff are aware and competent with roller operations.

5. Check for overhead obstructions.

6. Operatives of a roller must be aware of the SWL with men and equipment and that this will not be exceeded.

7. When raised to its limit, the suitable height for the roller must be conducive to safe working.

8. The operator of the roller will not lean or climb out of the cab.

9. Do not lower arm of plant until you are certain the area under roller is clear.

10. Use established safety procedures for the operation of the roller excavator.
360 Excavator: 

11. Only trained operatives are to drive the 360.

12. The 360 is not to be used close to edges or excavations that may collapse (sand/earth).

13. Parking and/or standing areas for the 360 must be clear for easy access.

14. Ensure all staff are aware and competent with 360 operations.

15. Check for overhead obstructions.

16. Operatives of a 360 must be aware of the SWL with men and equipment and that this will not be exceeded.

17. When raised to its limit, the suitable height for the 360 must be conducive to safe working.

18. The operator of the 360 will not lean or climb out of the cab.

19. Do not lower arm of plant until you are certain the area under 360 is clear.

20. Use established safety procedures for the operation of the 360 excavator.
Dumper: 
1. Only trained operatives are to drive the dumper.
2. The dumper is not to be used close to edges or excavations that may collapse (sand/earth).

3. Parking and/or standing areas for the dumper must be clear for easy access.

4. Ensure all staff are aware and competent with dumper operations.

5. Check for overhead obstructions.

6. Operatives of a dumper must be aware of the SWL with men and equipment and that this will not be exceeded.

7. When raised to its limit, the suitable height for the dumper must be conducive to safe working.

8. The operator of the dumper will not lean or climb out of the cab.

9. Do not lower arm of plant until you are certain the area under dumper is clear.

10. Use established safety procedures for the operation of the dumper excavator.


	Materials Handling and Storage

Distribution and Handling of Materials

1. Storage of materials will be at the workface. Storage area at workface is minimal.
2. All plant will be tested and inspected and supplied with current certification. Copies will be forwarded to PC.
3. Packaging will be stored on site in a safe manner away from the work faces and will be removed when emptied or reused when new deliveries arrive for storage and ease of transfer.

4. A look ahead programme will be used to estimate quantities of materials required.
General Manual Handling TILE

· Task 

· Individual 

· Load 

· Environment 

Does the task require:

· Twisting of the trunk?

· Stooping or poor posture?

· Reaching upwards?

· Holding or manoeuvring loads away from the trunk of the body?

· Excessive carrying of loads?

· Excessive lifting or lowering?

· Excessive pushing or pulling?

· A process forcing a rate of work?

· Prolonged physical effort?

· Insufficient rest and recovery?

If you answer yes to any of the above questions, then the risk of manual handling injury is increased because of the task.

Individual
The second factor to consider is the individual. This is the person who will be doing the manual handling. Their strength and capabilities can have an impact, but so can knowledge of the load and task, along with training and experience.

· Does the manual handling require a certain level of strength?

· Does the activity require a person of a certain height?

· Does the individual have a health problem?

· Is the individual pregnant?

· Have they been trained in safe manual handling and lifting technique?

· Do they know how to handle the load properly?

· Does this activity require any special information or training?

1. 

	Site Specific work elements: 

We will endeavour to plan our works around the operation of the works. This includes, minimising any works of a particularly significant volume or those with potential safety hazards to either outside hours or weekends. We will minimise the potential risk to public by ensuring works are carefully .Suitable barriers will be erected in order to isolate working areas, plant and machinery. Suitable and clear signage (as well as heras fencing) will be erected in key areas identifying all risks. In addition to the minimising of disruptive work, our flexibility will also ensure we are able to uphold both our own and the client’s stringent health and safety policies. 



	Power Sources and Isolations required include details of any Permit to Works (Hot work, Electric Isolations etc.
· N/A

	Training Requirements
All personnel will be trained and fully competent within their scope of works as defined as those with the knowledge, experience and training to carry out the task in a safe manner.  All training will be carried out to HSE/CITB/ or equivalent approved accreditation.
· CSCS / CPCS training and accreditation
· The qualifications and competence of all persons utilised mechanical plant will be verified by inspection of current certificates held of training/experience. 


	Hazardous Substances
1. Reference should be made to the COSHH Assessment manual based on site with the Hughie Construction Limited site manager for full details of safety requirements.

	Supervision and Coordination of Activities
1. Hughie Construction Limited Site manager will control all site activities on a daily basis and his responsibility is to control the working area and interface Hughie Construction Limited activities with other trades and contractors who may be affected by our scope of works
2. Site emergency procedures must be strictly adhered with and all site rules will apply.
3. The Site manager will have overall responsibility for the safe coordination of Hughie Construction Limited. 

4. He will attend safety coordination meetings held and will liaise with the Principal Contractor and all other contractors to ensure all work can be carried out in a safe manner. 

5. He will highlight any unsafe conditions or actions and will inform site management team.


	Environmental Considerations
Site environmental considerations issued by the Principal contractor must be adhered to at all times as this is a sensitive area the site rules and conditions must be maintained at all times.

1. Under no circumstances must any waste materials, fuels or any other contaminate be allowed to enter the drainage system. Clean out of containers will only be permitted in accordance with procedures for controlling spillage and disposal waste. 
2. Containers will be cleaned out at the end of each shift by the competent operator and disposed of into the waste skips provided. All waste will be segregated prior to placement into skips.
3. Hughie Construction Limited will supply spill kits for use by our operatives.

4. All insulation and package materials must be kept from entering drainage systems.

5. These include for general waste, timber, waste plastics and cardboard etc. and special waste. 

6. Noise will be kept to a minimum whilst on site.

7. Foul and abuse language will not be tolerated and operatives found using such language or gestures will be removed from site immediately.

	Fire and Emergency Procedures
1. The fire and emergency plan and procedures given at the site induction will be strictly adhered to during the project and all site operatives will adhere to the information given.

2. Under no circumstances must any appliance or alarm for the use in the event of an emergency be tampered with and any abuse of such equipment will result in the offender being removed from site permanently.

3. When any alarm is sounded the operatives must observe the evacuation criteria and will down tools and make their way to the nearest assembly point for the site head count and will not return to the workface until the all clear has been given by the site management emergency coordinator.

	Protection of the Public
Hughie Construction Limited traffic must be kept to a minimum and local traffic around the perimeter of the site must be treated with care. Road safety is paramount. 
Fencing provided by the Principal Contract must not be removed unless specific authority has been given and must be replaced immediately after completion of the task required.

	Waste Disposal Arrangements
1. Any debris will be collected (at daily intervals as a minimum) and will not be allowed to accumulate and disposed in accordance with Health Safety and Environment Plan procedures. 
2. Skips are to be provided and waste will be segregated and disposed into the relative skip for that waste. Following each working shift, the debris will be removed and deposited into the skips provided during the working day.
3. Skips will be provided and an appointed licensed waste carrier will remove all accumulated waste to an authorised waste disposal agency as per contract agreement. Transfer notes will be retained on site.


	Review of Method Statement
The Hughie Construction Limited site manager responsible for the works will ensure that the work area has been inspected and is free from risk of injury or that suitable and sufficient measures have been taken to comply with current health and safety legislation prior to any work being undertaken.

All operatives will attend induction training and receive the method statement explanation and issued with task specific instruction/toolbox talks. 
Method statements and all the above-mentioned assessments will be closely monitored for compliance and where a safer alternative to the system of work can be improved, the method statement will be updated accordingly and the agreed system adopted.  
Hughie Construction Limited site manager will ensure all operatives involved within the package works understand the method statement and risk assessment.

Method Statements and risk assessments to be updated to reflect any changes in working practices or methods. No works will proceed until approval has been confirmed.

Any amendments required to be incorporated & subsequently approved prior to work commencing. Approval will be required in writing.

The company will encourage any new initiatives to a safer system of work by consultation with the work force, Supervisors and Managers for continuous improvement.

	Communication of Risk Assessment and Method Statement

1. All operatives will be instructed of the risk assessment and method statement for their scope of works as part of the Tool Box Talk procedures prior to commencing work.

2. They must ensure they fully understand the work involved, the hazards and the level of risk they may be exposed

3. Following instruction, they each must sign the register attached 

4. Each operative must work to the method statement, any deviation must be authorised by the Hughie Construction Limited site manager and in agreement from the Principal Contractor.

5. Any operative not working to the specific method statement will be subject to disciplinary action.


Approved by – ( Printed Name & Signature ):

Richard Kirk (Managing Director)   
[image: image1.jpg]



Review date: 21/08/2025 
	Emergency    Contacts
	Name 
	Contact Number

	Director
	Richard Kirk
	07496 098997

	Safety and Environment Advisor
	Pearson Holland Management Services
	01924 211211

	Off Site Emergency Number
	Head Office
	01226 212055

	Out of Hours/24 hr Emergency Number
	Head Office
	01226 212055


	Revision of Method Statement Details

	

	

	


	Revised by
	Date of Revision 
	Authorised by

	RK
	02/06/2022
	RK 02/06/2022

	
	
	

	
	
	


	Risk Assessment & Method Statement Register

	Date
	Names
	Signature(s):

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Hughie Construction Limited








Page 11 of 11

