Coal Mining Risk Assessment

For

New single dwelling

On

Swaithe Villa Lodge Farm.

Introduction.

This assessment to be read in conjunction with all documentation submitted within the planning application.

The purpose of this assessment is to establish any probable underground mine workings  and to establish if any special considerations have to be adopted.

This assessment demonstrates that mine workings have been considered at the validation stage of the planning application.

If deemed necessary during the planning process, a more detailed coal mining search / survey will be obtained from the coal authority

Mining Remediation Authority Maps.

The information obtained from the Mining Remediation Authority records clearly indicates that the proposed site location is within an area designated as high risk.

(Refer to Sheet 1)

The recorded mine workings are shown on sheets 2,3 and 4

Sheet 2

Mine workings are indicated close by. These workings date back to 1891. There is no record of the depth of seam.

Sheet 3

Coal mining is recorded at a depth of 160m below ground.  No date has been given.

Sheet 4

Mine workings have been recoded at a depth of 335m below ground.  Again, no date has been stated.

Assumptions for the purpose of this application.

South Yorkshire in general is known to be a coal mining area.

The high-risk area indicated on Sheet 1, covers a vast area of the land surrounding the proposed site location.

Within this high-risk area there is extensive urban development. Demonstrating that whilst the risk is valid, with consideration this risk can be controlled to a satisfactory level.

Recommendations.

The coal workings / seams appear to be deep enough not to cause concerns beyond the norm for the area.

If deemed necessary, bore holes would be an option to determine the presence of any shallower workings that have not been recorded. Further guidance from the Coal Authority will be obtained during the Building Regulation application process and also during the initial on-site groundworks.

The foundations based on the information collected will be designed by a qualified structural engineer.

The foundation design at this stage is assumed to be of a raft foundation type.