| Ms Heidi Boot |  | My Ref: | 2021/1654 |
| --- | --- | --- | --- |
| Pegasus Planning Group Ltd |  | Your Ref: |  |
| Pavillion Court |  | Date: | 01/04/2022 |
| Garforth |  | Enquiriesto: | Stacey White |
| LS25 2AF |  | Direct Dial: | 01226 772604 |
|  |  | E-Mail: | staceywhite@barnsley.gov.uk |

Dear Ms Boot

Description:  Highways works comprising construction of new roundabout to create a road link into MU1 Local Plan allocation site and associated alterations to existing road alignment and relocation of grade II listed milepost (Listed Building Consent)

Location:  Land at Barugh Green Road and Cannon Road Junction

I received a discharge of conditions application relating to application 2020/0027 which was for ‘Highways works comprising construction of new roundabout to create a road linking to MU1 Local Plan allocation site and associated alterations to existing road alignment and relocation of grade II listed milepost’.  The application was subject to ‘prior to commencement/upon commencement conditions’, the details of which are set out below;

Condition 8

Which states:

No development shall commence until intrusive site investigations have been carried out on site to establish the exact situation in respect of coal mining legacy features.  The findings of the intrusive site investigations shall be submitted to and approved in writing by the Local Planning Authority.  The intrusive site investigations shall be carried out in accordance with authoritative UK guidance.  Where the findings of the intrusive site investigations identify that coal mining legacy on the site poses a risk to surface stability, no development shall commence until a detailed remediation scheme to protect the development from the effects of such land instability has been submitted to and approved in writing by the Local Planning Authority.  Following approval, the remedial works shall be implemented on site in complete accordance with the approved details.

Reason: In the interests of land stability in accordance with Local Plan Policy CL1.

Following review of the Geoenvioronmental Ground Investigation report prepared by JPG (October 2020), South Yorkshire Mining Advisory Service and the Coal Authority have confirmed that they are satisfied that condition 8 can now be discharged. As such, condition 8 is hereby discharged.

Yours Sincerely

Stacey White

Spatial Planning Project Manager