| Ms Heidi Boot |  | My Ref: | 2021/1654 |
| --- | --- | --- | --- |
| Pegasus Planning Group Ltd |  | Your Ref: |  |
| Pavillion Court |  | Date: | 02/02/2022 |
| Garforth |  | Enquiriesto: | Stacey White |
| LS25 2AF |  | Direct Dial: | 01226 772604 |
|  |  | E-Mail: | staceywhite@barnsley.gov.uk |

Dear Ms Boot

Description:  Highways works comprising construction of new roundabout to create a road link into MU1 Local Plan allocation site and associated alterations to existing road alignment and relocation of grade II listed milepost (Listed Building Consent)

Location:  Land at Barugh Green Road and Cannon Road Junction

I received a discharge of conditions application relating to application 2020/0027 which was for ‘Highways works comprising construction of new roundabout to create a road linking to MU1 Local Plan allocation site and associated alterations to existing road alignment and relocation of grade II listed milepost’.  The application was subject to ‘prior to commencement/upon commencement conditions’, the details of which are set out below;

Condition 10

Which states:

No development shall take place unless and until full foul and surface water drainage details have been submitted to and approved in writing by the Local Planning Authority.  This shall also include details of the following:

- A scheme for the provision and implementation of a surface water run-off limitation into the watercourse

- A scheme showing surface water run-off from hardstanding (equal to or greater than 800 metres and/or communal car parking area(s) of more than 50 spaces to be passed through an oil, petrol, and grit interceptor/separator or another adequate design.

Thereafter no part of the development shall be occupied or brought into use until the approved scheme has been fully implemented.  The scheme shall be retained throughout the life of the development.

No pipe discharge of surface water from the application site shall take place until works to provide a satisfactory outfall for surface water have been completed in accordance with details to be submitted to and approved by the local planning authority before development commences.

Reason: To ensure the proper drainage of the area in accordance with Local Plan Policy CC1.

The Highways Drainage team have examined the proposals submitted with respect to temporary and permanent drainage of this site and confirmed that the details provided are sufficient to allow the discharge of condition 10.  As such, condition 10 is hereby discharged.

Condition 12

Which states:

‘No development shall commence until an agreed set of conservation works to include re-painting and restoration by a professional specialist conservation laboratory/contractor has been submitted to and approved in writing with the Local Planning Authority.  Thereafter the development shall be carried out in accordance with the approved details.  Treatment of the asset should be in accordance with the Milestone Society publication Guidance on Conservation of Milestones & Other Waymark Feature and in consultation with the local authority Conservation Officer-specifically sections 5/6 of the attached guidance.’

Reason: To ensure the protection of historic assets in accordance with HE1.

The Conservation Officer has confirmed that the method statement provided by Prospect Archaeology provides the necessary clarity and assurance of the conservation works and that a conservation report will be prepared which will describe the conservation processes in detail and will include before and after digital colour images.  The Conservation Officer is further content that Prospect will liaise with him over the progress of the works.  A copy of the conservation report will need to be provided to SYAS to be placed in the Sites and Monuments Record that they look after. As such, condition 12 is hereby discharged.

Yours Sincerely

Stacey White

Spatial Planning Project Manager