ADDITTIONAL PLANNING INFORMATION FOLLOWING PRE-APPLICATION ADVISE FOR THE

CROWN AND ANCHOR INN, BARUGH LANE, BARUGH GREEN, BARNSLEY, S75 1LL



1. Highways Amendment / Clarification – Reference is made in the Pre-Application Advice Comments regarding the fire escape number of 110 people shown. I can confirm that this is purely to describe the potential amount of people that could exit through this door. The occupancy of the first floor is envisioned to be 60 people based on number of covers.
2. Pollution Control – Potential increase in noise – I can confirm we will be providing additional wall, floor and ceiling sound attenuation works to the new extension to prevent sound bleed. We propose to use known tried and tested construction methods and materials to aid in the prevention of noise. We will also be installing triple glazed window units to all windows that are facing towards the residential properties. 
3. [bookmark: _GoBack]Parking Provision – The existing parking provision is 72 parking spaces. Using the Planning Parking Guidance Document, I can confirm that we have 129 covers at ground floor and anticipate having 75 covers maximum at first floor so that equates to 204 covers. That in turn equates to a total of 204 covers divide by 3 = a requirement of 68 spaces, this also allows for 4 staff parking spaces. So, based on this we will still have adequate parking facilities and no additional spaces are required. 
4. Conservation Officer Recommendations – Recommendation has been to move the ridge of the new rear extension, so it is out of site from the front elevation. I can confirm we have amended the design to allow for this recommendation and this change showen on the formally submitted drawings.
