Operational Services

Assistant Director:  P. Castle

PO Box 601, Barnsley, S70 9FA

F.a.o Keiron Dunn

Development Control,

Planning and Transportation

IG/ 2016/0091

22nd February 2016

Erection of a retail unit (Use Class A1) with car parking, landscaping and associated works

Land North of Barnsley Road, Goldthorpe, Rotherham

Keiron,

The plans attached show no proposals for the drainage of this site, with the application stating foul to “Mains” and surface water to Mains”. Whilst this is not very helpful in allowing me to make constructive comments, due to the limited scope of the works and the fact that the area is well served by sewers, I consider that a conditional approval is appropriate in this case.

I would recommend that the following conditions are attached to any approval:-

H4 - No development shall take place unless and until full foul and surface water drainage details, including Yorkshire Water Permission to discharge, have been submitted to and approved in writing by the Local Planning Authority. Thereafter no part of the development shall be occupied or brought into use until the approved scheme has been fully implemented. The scheme shall be retained throughout the life of the development unless otherwise agreed in writing with the Local Planning Authority. @ To ensure the proper drainage of the area

Regards

Ian Grayson

Senior Engineer – Drainage and Highways

Network Resilience and Asset Management