CONSTRUCTION METHOD STATEMENT

Worksite:  Toilet block 193 Barnsley rd.

Customer:   E.J.Lidster

COPIES HELD BY:  	EJ Lidster’s Office,

Onsite welfare.

A COPY OF THIS DOCUMENT MUST BE PRESENT ON SITE

AND A FULL DOCUMENTATRY BRIEFING UNDERTAKEN TO ALL ON SITE PERSONNEL, SUB-CONTRACTORS AND VISITORS

BEFORE ANY CONSTRUCTION ACTIVITY COMMENCES

|  | Name, Title | Signature | Date |
| --- | --- | --- | --- |
| Prepared by | Anthony Lidster. |  |  |

Construction Method Statement

| 1. Contract Company: |  |  |  |  |  |  |  |  |  |  |  |  | 2. Order Number |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| E.J.Lidster Sales ltd |  |  |  |  |  |  |  |  |  |  |  |  | Cudworth toilets |  |  |
| 3. Exact location of the Work: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 193 Barnsley road Cudworth , Barnsley |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Work to be Undertaken: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Demolition and clearance of toilet block. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Duration of Work |  |  |  |  |  |  | Anticipated start date |  |  |  |  |  |  | Anticipated end date |  |
| 5 days |  |  |  |  |  |  | T.B.C |  |  |  |  |  |  |  |  |
| 6. Completion Criteria – States how the worksite will be left |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Daily |  |  | Upon Completion of Works |  |  |  |  |  |  |  |  | Handover Arrangements |  |  |  |
| To sign in and out of site with the Site Supervisor |  |  | Site cleared to customer satisfaction |  |  |  |  |  |  |  |  | Inform customer upon completion |  |  |  |
| 7. Access & Egress - To and from the normal place of work. This MUST be specific as all other areas become prohibited. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Access from Barnsley road, onto rear car park area for off road parking, Heras fencing to the perimeter to be used. Roadsweeper on standby . |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. Assembly Point and emergency procedure - Not Ambulance Meeting Point. Indicate egress to the Assembly Point in the event of an emergency. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Car park to the rear of toilets Assembly point – car park rear of 193 Barnsley road. Emergency procedure – The Site Manager will familiarize all personnel with emergency escape routes and site specific procedures upon induction. As these can change during works, documented updates will be provided to all applicable personnel. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. Emergency Contact: (24 hour): Name Harvey Lidster Tel No 07767 880802 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. First Aid Arrangements: First Aid Kits and Eye Wash Bottles available on site |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. Welfare – cabin in car park, portable toilet. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. Accident/Incident Reporting: All accidents and Incidents must be reported to Lidsters Main Office as soon as possible. Any RIDDOR reportable incidents will follow HSE guidelines as per HSE F2508. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13. Technical Content of Work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Confirmation from that all services disconnected / isolated. - R and D asbestos survey carried out and any identified asbestos removed prior to demolition - Soft Strip of internal building fixtures. - Scaffold with debris net to be used on the front elevation. - Roof tiles removed and timber trusses. - Scaffold/ mewp to be used for any removal of external building materials if required. - Buildings demolished by hand due to location adjacent to rear of pavement. - Materials separated ready for removal. - Once demolition is completed, removal of rubble loaded into transport with Jcb. - Material loaded into wagons / roll on off skips and sent to licenced tipping facility. - Site left level and tidy in line with specification. NB – Detailed Demolition Plan in Appendix B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14. Site Specific Risks |  |  | Risk Assessment |  |  |  |  |  |  |  |  |  |  |  |  |
|  | YES | NO | Hazard |  |  |  |  | Risk |  |  | Control Measures |  |  |  |  |
| Gas | Y |  | Presence of Domestic Gas |  |  |  |  | Explosion |  |  | Confirmation of supply being disconnected to be notified by Customer prior to work commencing |  |  |  |  |
| Electricity | Y |  | Live current |  |  |  |  | Electrocution Explosion Fire |  |  | Confirmation of supply being disconnected to be notified by Customer prior to work commencing |  |  |  |  |
| Water | Y |  | Supply interruption |  |  |  |  | Flooding Waste |  |  | Confirmation of domestic supply being disconnected |  |  |  |  |
| Movement of Plant & Machinery | Y |  | Man / Machine Interface |  |  |  |  | Strike with Machine |  |  | Banksman appointed |  |  |  |  |
| Effects of Work on Public Areas | Y |  | Moving Plant & Machinery Noise, Dust |  |  |  |  | Contact, Strike, Pollution |  |  | Worksite access point to be locked off preventing access when site unattended. Signs and notices to be posted |  |  |  |  |
| Traffic Management | Y |  | Public Interface Mud on road |  |  |  |  | Nuisance Collision |  |  | Banksman appointed Sweeper to be used as needed |  |  |  |  |
| Waste Disposal | Y |  | Waste material |  |  |  |  | Pollution Contamination |  |  | Appropriate disposal arrangements to licensed tip |  |  |  |  |
| Working at Height | Y |  | Person falling Falling objects |  |  |  |  | Death, Serious Injury |  |  | All work at heights to be undertaken Mobile Elevated Working Platform |  |  |  |  |
| Generic Hazards and associated Risks Assessed included at Appendix A USING PLANT AND EQUIPMENT. EXCAVATOR 360 15. HAND TOOLS (none electrical) 17. MEP's (Mobile Elevated Platforms) 20. LOADING/UNLOADING LOW LOADER 22 B. SPECIALIST TASKS. DEMOLITION (soft strip) 23. DEMOLITION (structural) 24. GENERAL. FIRE PRECAUTIONS (site in general) 26. PROTECTION OF PUBLIC/OPERATIVES (on site) 29. SITE MOBILE PLANT/TRAFFIC (general) 30. UNDERGROUND SERVICES 31. WORKING AT HEIGHT 32. |
| 15. Plant / Equipment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| To be used |  |  |  |  | Details |  |  |  |  | Competent Operator |  |  |  |  |  |
| Excavator |  |  |  |  | Cat 432 |  |  |  |  | CITB competent |  |  |  |  |  |
| 8 wheeled tipper lorry |  |  |  |  | Volvo FM13 |  |  |  |  | HGV Driving Licence |  |  |  |  |  |
| Mobile elevating platform |  |  |  |  | T.B.A |  |  |  |  | Competent operative |  |  |  |  |  |
| 16. Personal Protective Equipment to be used: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hard Hats |  |  |  |  |  | Yes – Mandatory |  |  |  |  |  |  |  |  |  |
| Safety Footwear |  |  |  |  |  | Yes - Mandatory |  |  |  |  |  |  |  |  |  |
| Hi-visibility vest |  |  |  |  |  | Yes – Mandatory |  |  |  |  |  |  |  |  |  |
| Ear Defenders |  |  |  |  |  | Yes – Mandatory where signs fitted |  |  |  |  |  |  |  |  |  |
| Gloves |  |  |  |  |  | Yes – As dictated by PPE/Task assessment |  |  |  |  |  |  |  |  |  |
| Safety Glasses |  |  |  |  |  | Yes – As dictated by PPE/Task assessment |  |  |  |  |  |  |  |  |  |
| 17. Hazardous Substances: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COSHH Assessments will be available on site for the following hazardous substances: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Diesel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oil |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Petrol |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18. Subcontractors to be used: |  |  |  | All must be approved by Lidsters and have their own Method Statement |  |  |  |  |  |  |  |  |  |  |
| Licensed Asbestos Removal Contractors if required. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19. Environmental Protection Arrangements |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Hazard |  | Risk |  |  |  |  |  |  | Control |  |  |  |  |  |  |
| Noise & Vibration |  | Disturbance to residence |  |  |  |  |  |  | Noise to be kept to a minimum |  |  |  |  |  |  |
| Lighting |  | None |  |  |  |  |  |  | Day shifts only |  |  |  |  |  |  |
| Traffic Disruption |  | To local residents & business |  |  |  |  |  |  | Banksman required at point of demolition |  |  |  |  |  |  |
| Pollution |  | Emissions from Plant |  |  |  |  |  |  | Engines to be switched off when not in use |  |  |  |  |  |  |
| Landscape |  | Disturbed ground |  |  |  |  |  |  | To be levelled upon completion |  |  |  |  |  |  |
| Waste |  | Inadequate disposal |  |  |  |  |  |  | Disposed of to licensed tip |  |  |  |  |  |  |
| Protected Species |  | None |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Archaeology |  | None |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tree Preservation Orders |  | None |  |  |  |  |  |  |  |  |  |  |  |  |  |

Method Statement Briefing Form

| Location of Brief |  |
| --- | --- |
| Name of Briefer |  |
| Signature of Briefer |  |

To ensure that EJ Lidster Construction are able to maintain auditable records of attendance of safety briefings you are required to sign below as proof of attendance and understanding of details briefed.

| Name | Date | Depot / Site | Signature |
| --- | --- | --- | --- |

APPENDIX A: GENERIC RISK ASSESSMENTS

# GENERIC RISK ASSESSMENT INDEX

WORK ACTIVITY REF

USING PLANT AND EQUIPMENT

EXCAVATOR 360 15

HAND TOOLS (none electrical) 17

MEP's (Mobile Elevated Platforms) 20

CRUSHER/SCREENER 22 A

LOADING/UNLOADING LOW LOADER 22 B

SPECIALIST TASKS

DEMOLITION (soft strip) 23

DEMOLITION (structural) 24

GENERAL

FIRE PRECAUTIONS (site in general) 26

PROTECTION OF PUBLIC/OPERATIVES (on site) 29

SITE MOBILE PLANT/TRAFFIC (general) 30

UNDERGROUND SERVICES 31

WORKING AT HEIGHT 32

# E J LIDSTER SALES LTD

# GENERAL RISK ASSESSMENT

# REF 15

ACTIVITY EXCAVATOR (360 tracked / wheeled)

HAZARDS Ground conditions, poorly maintained, to feet, head, hands, overloading overhead electric cables, underground services, to third parties/pedestrians in vicinity of operations, collapse of boom, refuelling (COSHH).

PEOPLE EXPOSED Operator and anyone on site.

ACTION/CONTROLS TO REDUCE RISK Only trained and competent drivers to operate machine (CITB licence holder or similar). Machine to be maintained in good repair including the correct retaining clips fitted to buckets and safety devices fitted and working on quick release buckets. Mirrors to be fitted around machine including to rear to aid all round vision. Not to be operated within the vicinity of overhead cables. Operator to be warned of services not to dig within 500mm of underground services. Weekly inspection of machine to be carried out and results logged. Care to be taken when working in the vicinity of excavations. To be guided by banksman in tight areas. Safe working load (SWL) to be marked on machine, not to be exceeded. Check valves to be fitted. Lifting gear only to be attached to tested lifting eyes.

PERSONAL PROTECTIVE EQUIPMENT Safety boots and high viz vest/jacket, helmet to be worn outside machine, gloves to be used for refuelling.

TRAINING Operator to hold CITB licence or similar, and advised of COSHH requirements for diesel.

ASSESSMENT REVIEW To be reviewed from time to time.

# E J LIDSTER SALES  LTD

# GENERAL RISK ASSESSMENT

# REF 17

ACTIVITY HAND TOOLS (none electrical)

HAZARDS Flying particles, electric shock to hands, feet, eyes and/or body.

PEOPLE EXPOSED Operative primarily.

ACTION/CONTROLS TO REDUCE RISK Tools provided must be in good repair, be maintained in good repair and be suitable for the purpose for which they are to be used. Eye protection to be provided and used when working with cold chisels, manual drills or other tools where there is a risk of flying particles or pieces of tool breaking off. Open bladed knives, screwdrivers and other sharp tools to be carried and used so as not to cause injury to the user or others. Non ferrous (spark free) tools are to be used in flammable atmospheres. Insulated tools must be used where there is a possibility of live electrical work. Tools to be regularly checked to ensure they remain in good condition.

PERSONAL PROTECTIVE EQUIPMENT Helmets and safety boots to be worn, gloves may be necessary and as per site rules.

TRAINING All operatives to be instructed in the correct method of use and maintenance requirements.

ASSESSMENT REVIEW To be reviewed from time to time and revised as necessary.

# E J LIDSTER SALES  LTD

# GENERAL RISK ASSESSMENT

# REF 20

ACTIVITY MOBILE ELEVATED PLATFORMS (MEP) (using)

HAZARDS Overturning, fall from platform, fall of materials, electric shock.

PEOPLE EXPOSED Operator and people in and around.

ACTION/CONTROLS TO REDUCE RISK Only to be operated by a trained and competent person holding relevant certificate of training/competence. Platform must be maintained in good repair at all times/to be inspected daily before use. Ensure no overhead lines are present in work area. Ensure the wind speed is not excessive. Ground conditions must be suitable and stable and where necessary outriggers and stabilisers must be safely deployed. Safe working load not to be exceeded. Signs and barriers to be erected to prevent access under the working area. Work to be carried out within the specified reach of the unit used. All tools and equipment to be secure from falling. Operatives not to overstretch/reach from platform.

PERSONAL PROTECTIVE EQUIPMENT As per site rules, safety helmets and safety boots to be worn. In most cases harnesses to be worn by all using platform.

TRAINING Only trained operatives to use Mobile Elevated Platforms.

ASSESSMENT REVIEW To be reviewed on site to ensure assessment covers all site conditions.

# E J LIDSTER SALES LTD

# GENERAL RISK ASSESSMENT

# REF 22 B

ACTIVITY PLANT: loading/unloading hiab lorry – lifting

HAZARDS Uneven/soft ground conditions, adverse weather, overhead cables, untrained operatives, poorly maintained machines, overloading, communication problems, materials falling, collapse/failure of crane, incorrect capacity of crane

PEOPLE EXPOSED Operative and anyone in the vicinity of operations.

ACTION/CONTROLS TO REDUCE RISK Machine selected by competent operator Emergency evacuation procedure/rescue procedure in place Operator/slinger to maintain position of safety at all times – out with the reach of the load Only tested lifting gear to be used Test/inspection documents to be checked to ensure they are up to date Ground/base to be suitable for stability of crane- avoiding services/manholes Lifting plant to be provided Work within the Safe Working Loads of the equipment Load to be positioned and strapped onto lorry before lifting chains removed Only trained banksman/slinger to attach loads Adequate visibility/signalling arrangements to be made Third parties controlled/kept out of area

PERSONAL PROTECTIVE EQUIPMENT Helmets, hi-visibility vests and safety boots to be worn by all operatives in the vicinity of operations, gloves may be necessary for slinger, eye protection where necessary

TRAINING Banksman/slinger and crane operator to be trained and competent and advised of any site hazards e.g. overhead services

ASSESSMENT REVIEW To be reviewed by Operator at each location prior to load/unload

# E J LIDSTER SALES LTD

# GENERAL RISK ASSESSMENT

# REF 23

ACTIVITY DEMOLITION: Soft, non structural, partitions, ceilings, cladding, plaster etc.

HAZARDS Site activity and conditions, access, dust, services, manual handling, noise, head, feet, electric shock, vibration. (If asbestos found separate assessment to be carried out).

PEOPLE EXPOSED Operatives primarily, persons in the vicinity.

ACTION/CONTROLS TO REDUCE RISK Survey to be carried out before any work undertaken to ensure services are identified and cut off/isolated, that walls etc., to be removed are non structural and to ensure there is no asbestos present. Work plan/method statement required before work starts. Waste to be removed with the use of mechanical aids whenever possible (chutes, trolleys, hoists etc). Only 110v electrical tools to be used. Tools to be carefully selected to reduce noise, vibration etc. Platforms/access to comply with same requirements as on construction job. Work area to be sectioned off to prevent persons not carrying out work from gaining access to work area.

PERSONAL PROTECTIVE EQUIPMENT Helmets and safety boots to be worn at all times, ear protection, dust masks, goggles, gloves to be provided as outlined in method statement.

TRAINING All operatives to receive training in good working practices as outlined in method statement. Kinetic handling training may be required.

ASSESSMENT REVIEW Assessment to be reviewed before any work of this nature takes place.

# E J LIDSTER SALES LTD

# GENERAL RISK ASSESSMENT

# REF 24

ACTIVITY DEMOLITION of structures.

HAZARDS Site activity and conditions, access, collapse of structures, dust, exposure to services, manual handling, noise, vibration, machinery, structure stability (pre-stressed concrete) head and feet.

PEOPLE EXPOSED Operatives and people in vicinity including adjacent premises.

ACTION/CONTROLS TO REDUCE RISK On site survey to be undertaken to enable an accurate understanding past features and present condition prior to any demolition, characterising type of structure, condition, need for temporary support, confined spaces, overhead services, hazards such as asbestos, lead paint or steelwork or other toxic residues. Protection of public, site enclose/fence off, danger notices to display, provision of banksman to exclude passers by away from potential danger areas when working near boundaries. Exclusion zones to be discussed and set to prevent danger. Minimise working at heights, consider means of access, equipment, pre-weakening of structure. Removal of services, method for dealing with toxic/flammable residues, waste transport and disposal, safety co-ordination. Minimise noise by selection of plant and equipment. Only to be undertaken by competent contractor. (To be checked out at tender stage). Method statement must be drafted and checked before work starts.

PERSONAL PROTECTIVE EQUIPMENT Helmets and safety boots must be worn at all times. Dust masks may be required, gloves and ear defenders. Safety harnesses may be required in certain instances. If lead or asbestos present, specific risk assessment required to decide on requirements.

TRAINING Supervisors must be trained and competent to carry out demolition work. Operatives to receive training in good working practices and kinetic handling.

ASSESSMENT REVIEW To be reviewed prior to all demolition work and revised where necessary.

# E J LIDSTER SALES LTD

# GENERAL RISK ASSESSMENT

# REF 26

ACTIVITY General site activities "FIRE"

HAZARDS Fire, smoke.

PEOPLE EXPOSED Operatives and visitors to site, may include occupants of partially completed flats/houses.

ACTION/CONTROLS TO REDUCE RISK Fire fighting equipment to be available on all sites for: a) Accommodation on site. b) Hot work being carried out. c) Inside multi storey blocks of flats. Alarm system to be established on multi storey blocks of flats. Manual bell/air horn or similar. Smoke alarms to be fitted to welfare cabins. Procedure to be established for raising alarm and posted out on site. Operatives, visitors to be advised of assembly point location. Extra precautions to be taken during works in partially occupied flats e.g. no smoking, double checks after hot work etc. Permit to work system to be established for hot works. Fire escape routes to be provided in flats during construction and marked as such. Flammable materials not to be allowed to accumulate (tidy up regularly as work progresses).

PERSONAL PROTECTIVE EQUIPMENT As per site rules.

TRAINING All operatives on site to be advised of site rules, position of fire extinguishers, assembly point and instructed as to what the fire warning system is.

ASSESSMENT REVIEW To be reviewed from site to site.

# E J LIDSTER SALES LTD

# GENERAL RISK ASSESSMENT

# REF 29

ACTIVITY PROTECTION OF PUBLIC/OPERATIVES (on site)

HAZARDS Site activities, plant, access to scaffolds, under scaffolds, stored materials, excavations, open manholes, BT boxes etc.

PEOPLE EXPOSED Operatives, general public and children.

ACTION/CONTROLS TO REDUCE RISK Permanent perimeter fencing to be installed at an early stage. Construction area to be fenced off with heras fencing to protect public as necessary, work adjacent to boundaries to be checked for potential dangers to the public, banksman provided as necessary to exclude pedestrians from danger areas. Signs to be erected on fencing i.e. Danger, Keep Out. Signing in procedure and induction training to be carried out on all sites. Excavations to be fenced off or fully back filled. Incomplete scaffold signs to be displayed where necessary. Ladders to be removed from scaffolds at end of shift. Manholes, BT boxes etc., to be securely covered at all times. Materials to be safely stacked. Sites to be kept in good order. Security guards to be considered. Contact local schools.

PERSONAL PROTECTIVE EQUIPMENT Safety boots/shoes, high viz vests/jackets and helmets to be worn by all entering the build area.

TRAINING All operatives to receive induction training.

ASSESSMENT REVIEW To be reviewed from site to site.

# E J LIDSTER SALES LTD

# GENERAL RISK ASSESSMENT

# REF 30

ACTIVITY SITE TRANSPORT

HAZARDS Injury to persons on site

PEOPLE EXPOSED Site operatives, general public, children

ACTION/CONTROLS TO REDUCE RISK Traffic management plan to be set up and displayed on site. Pedestrians to be protected from plant and equipment. Compound to be set up to keep vehicles and pedestrian routes separate. Separate access to be provided to compound for pedestrians. One way system to be established wherever possible. Speed humps to be considered. Speed of vehicles to be restricted (signs). Plant warning signs to display. Reversing delivery vehicles to be guided by banksman. F/lifts and mobile plant to be fitted with reversing warning systems. Plant to be effectively immobilised at the end of shift, lock machine where possible. Remove keys when machine left unattended. All excavators and f/lifts to be fitted with sufficient rear view mirrors, kept in good repair, to aid reversing manoeuvres. Where mirrors are not deemed to be sufficient then plant must be fitted with a rear view camera e.g. large dump trucks. Windscreens, side screens and rear screens to be regularly cleaned to allow for good vision.

PERSONAL PROTECTIVE EQUIPMENT Reflective coats/waistcoats to be worn by banksmen/operatives working with plant.

TRAINING Induction training to be carried out as necessary.

ASSESSMENT REVIEW To be reviewed from site to site.

# E J LIDSTER SALES LTD

# GENERAL RISK ASSESSMENT

# REF 31

ACTIVITY UNDERGROUND SERVICES (working in vicinity)

HAZARDS Electric shock, explosion, fire, burns.

PEOPLE EXPOSED Operatives carrying out works.

ACTION/CONTROLS TO REDUCE RISK Excavations to be placed under supervision of competent person. Service drawing to be provided/checked before any digging on site. Cable locator to be used to check area. No excavators to be used within 500mm of service positions. Operatives carrying out hand digging to be fully clothed (natural fibre clothing), to guard against burns.

PERSONAL PROTECTIVE EQUIPMENT Helmets, safety boots and reflective w/coats to be worn at all times. Ear protection and goggles may be required during certain processes/activities.

TRAINING All operatives to be advised of known service locations.

ASSESSMENT REVIEW To be reviewed from site to site.

# E J LIDSTER SALES LTD

# GENERAL RISK ASSESSMENT

# REF 32

ACTIVITY Working at height

HAZARDS Fall of persons, materials.

PEOPLE EXPOSED Operatives working at height, operatives working below, members of the public.

ACTION/CONTROLS TO REDUCE RISK Safe means of access to the work place using ladders, scaffold, mobile towers, mobile platforms etc. Edge protection to be provided to all openings, edges where persons may fall from height. Harnesses to be used where edge protection is not practical. Area below to be fenced off or banksman provided. Signs to display (men working overhead). Redundant materials should be cleared away without delay, but not thrown from high level (bombing). A debris chute should be used or materials collected and lowered in suitable containers. The fall of materials should be prevented by the use of debris netting, brick guards and fans.

PERSONAL PROTECTIVE EQUIPMENT Safety boots and helmets to be worn at all times, harnesses and safety lines may be necessary in some instances.

TRAINING All operatives to be induction trained and advised of control measures.

ASSESSMENT REVIEW To be reviewed from site to site.

APPENDIX B: DEMOLITION PLAN

193 Barnsley Road, Cudworth

Toilet Block

SEQUENCE AND METHOD OF DEMOLITION IN ACCORDANCE WITH

BS 6187:2000 “CODE OF PRACTICE FOR DEMOLITION”

5.2.3 PREPERATION OF METHOD STATEMENT

DEMOLITION PLAN

| STAGE | TASK | ACHIEVED |
| --- | --- | --- |
|  | Conformation of disconnection of utility services. |  |
|  | Any Asbestos identified in R and D survey removed prior to demolition. |  |
|  | Confirmation that all Asbestos removed. |  |
|  | Building to be fenced with heras type security fencing. Soft strip carried out on all internal soft furnishings, timbers, door casings etc. By hand. Scaffold with debris netting to front elevation, due to close proximity of the footpath. Buildings to be demolished by hand due to location of building close to the footpath. All demolition to be undertaken under Banksman supervision ensuring safe working and that all debris are contained within fenced perimeter and cleared onto site. |  |
|  | Materials arising from demolition sorted by hand. |  |
|  | Materials loaded in to tipper wagons with jcb. Materials taken to licensed tipping facility. |  |
|  | Site to be levelled in line with specification |  |
|  | Site to be cleared of all waste material |  |
|  | Site left clean and tidy. |  |