[image: image1.png]L)

MULG RAVE

PPPPPPPPP




CONSTRUCTION ENVIRONMENTAL MANAGEMENT PLAN

SITE: Watermill Gardens, Penistone
DATE: 18/10/24
REV - A
Revisions 

Revision



Date



Description
A




13-02-26


Legislation amends
 CONTENTS









     Page
1.  Introduction









3 

2. Phasing and Sequence of Works






3
4.  General Site Management







6
5.  Resource Management 







9
6.  Transport Management  







10
7.  Water Management  








12
8.  Material Procurement, Storage and Handling 




15
9.  Waste Minimisation and Management 





17
10. Control of Emissions to Air  






21
11. Noise and Vibration 








24
12. Pollution Incident Control Procedure  





28
13. Neighbour and Community Liaison and Management of Complaints
30
APPENDICES 

Appendix A: Site Plans 
Appendix B: Site Compound Setup Plan

Appendix C: Tree Protection Plan.
1.  Introduction
Mulgrave Developments Ltd do not register with the Considerate Constructors Scheme. However, the principles of good practice are adopted on all our schemes, and we and all our sub-contractors follow good practice methodology.

Our commitments are to be considerate and good neighbours, as well as clean, respectful, and safe, environmentally conscious, responsible and accountable. 
This is to be read in conjunction with the following site specific documentation related to planning conditions imposed.

2.  Phasing and Sequence of Works 

Construction works will be undertaken over 73 weeks, construction works will generally commence with tree works with build sequence as set out as follows: 
· Completion of site-wide clearance/archaeological trenching/reduced level dig, remediation construction of new site entrance and formation of visibility splays, cut and fill, roads and sewers and utilities. Each construction phase will generally adhere to the following sequence of activities: 

· Construction of the substructures and superstructures and plot works; starting with plot 1 and progressing through 2,17,16,15,14,13,12,11,10,9,8,7,6,5,4 and 3.
· Landscaping works undertaken on completion of each plot construction 
Key Responsibilities 

To ensure that environmental standards are maintained, every person working on the site must be aware of their responsibilities. Mulgrave Developments Ltd will have overall responsibility for implementation of the CEMP. 

Person/Organisation Responsibility
Mulgrave Developments Ltd
· Initial erection of hoardings/boundary fencing around the site; 

· Fencing off any trees and shrubs scheduled for retention. 

· Ensuring that the requirements of this CEMP are always adhered to 
· Ensuring that all site staff and subcontractor(s) undertake their activities in accordance with the site environmental policy, best practice and comply with the requirements of the CEMP; 

· Ensuring that any monitoring required is being undertaken; 

· Ensuring that regular liaison is undertaken with the neighbouring landowners, residents and occupiers, and that any complaints and queries are addressed as soon as it is practicable; and 

· Ensuring that unacceptable levels of environmental pollution including fuel spillages, noise, dust or vibration do not arise from their activities on the site. This includes ensuring that: 

-statutory environmental requirements are met; 

-environmental best practicable means (BPM) and controls are employed; 

-relevant procedures are followed; 

-resources (personnel and financial) are available to meet the environmental 

management requirements; 

-corrective actions are implemented; and 

-records and other relevant documentation are maintained. 

· Co-ordinator (Site Manager nominated by Mulgrave Developments Ltd) 

· Co-ordinating deliveries and controlling vehicles accessing and leaving the site. 

· Monitoring dust, noise and vibration within the vicinity of the site and ensuring that any complaints regarding dust, noise or vibration are appropriately handled. Site Manager (nominated by Mulgrave Developments Ltd) 

· Reporting incidents to Mulgrave Developments Ltd; 

· Minimising waste; 

· Ensuring that all staff adhere to statutory environmental requirements and the CEMP; 

· Ensuring that resources (personnel and financial) are available to meet the environmental management requirements; 

· Ensuring that corrective actions are implemented; and 

· Ensuring that records and other relevant documentation are maintained and reported to Mulgrave Developments Ltd including monthly energy use and water consumption. 

Site personnel. All site staff are responsible for adhering to the requirements of the procedures outlined in this Construction Environmental Management Plan, ensuring that legislative requirements and good environmental practice are met within their job function; and as part of the site induction, all site staff must be made aware of the importance of maintaining good relations with the local community and neighbours and the sensitive location of the site as a whole. 

4.  GENERAL SITE MANAGEMENT 

INTRODUCTION 

This procedure addresses the general site management practices that should be employed throughout all stages of the works to ensure the safe and compliant operation of the site. 

PROCEDURE 

Site Working Hours 

In accordance with good practice when working adjacent to a residential area all noisy construction works including deliveries to and dispatch from the site should be restricted to the following periods: 

Between 08:00 and 18:00 Monday to Friday; 

Between 09:00 and 14:00 on Saturday; and 

No works on Sundays and Bank Holidays. 
Site operatives will be permitted to arrive/depart to/from site upto half an hour before and upto half an hour after the above times. However the operation of plant/machinery/power tools and any noisy operations will be limited to the core hours stated above.
It is recognised that there may be exceptional circumstances where the restriction on hours of work cannot be adhered to. 
In these circumstances Mulgrave Developments Ltd will provide advance notification and justification for any extension to the working hours to the Planning authority and notify neighbours before works start outside normal hours. 
Noise and vibration should be kept to a minimum by methods of work that conform with the ‘Code of Practice for Noise and Vibration Control on Construction and open sites, see BS 5228-1:2009+a1:2014, and noise legislation as applicable.
All machinery should be properly silenced and should comply with BS5228 and details of any proposed measures to prevent harm to amenity should be outlined in the noise management plan.

There should be adequate measures taken to suppress dust and the details of these should outlined in the dust management plan.
Site Security 

The Construction Director will arrange for the site to be secured with fencing prior to works commencing on site. Once the works commence, Mulgrave Developments Ltd will be responsible for the maintenance of the site hoarding, ensuring that appropriate and segregated vehicle and pedestrian access are provided and manned during working hours. During working hours, the site access should be kept closed except when vehicles are entering or leaving the site. 
Out of hours, the site access should be locked. The site entrance and exit should be clearly marked. The site entrance location will alter according to the phase of the construction works. 

Pedestrian Management and Safety 

All contractors working on the site should ensure that the pedestrian walkways are always kept clear. Mulgrave Developments Ltd shall ensure that ramps and signs are provided, and that footpaths and paths are wide enough for wheelchair access. Pedestrians who are mobility impaired or who have sight or hearing difficulties should still be able to gain access to public footpaths and pavements adjacent to the site. 

Road signs/names should be able to be clearly seen, or where a sign or name is obstructed, a replacement must be erected. 

Site Facilities 

A high level of site welfare facilities will be maintained, and breaks should not be taken in view of the general public. 
Toilets will be screened, and the site should be cleaned on a regular basis, especially around canteens and toilets. The usage of radios is not allowed on site. 

All site facilities will be contained within the curtilage of the site area. If for any reason, it is necessary to load and unload outside the site boundary, this should be agreed in advance with Mulgrave Developments Ltd. 
All deliveries/ dispatches are restricted to the same working hours as the construction works. 

Site Flood-Lighting 

Flood-lighting in areas adjacent to sensitive receptors, particularly residential properties, should generally be limited to the working hours identified. Where light glare may cause a nuisance, light shielding should be considered. Site lighting should be kept to a minimum, whenever possible, considering the needs for site health and safety and security. Hoardings should be lit from half an hour before sunset to half an hour after sunrise. 
Staff Training 

As part of the induction process for all staff working on-site, Mulgrave Developments Ltd will provide Toolbox Talks to all contractors on environmental topics to be agreed with Mulgrave Developments Ltd. These will ensure all staff are aware of the environmental issues on the Development e.g. minimise waste generation, water and energy consumption; maximise recycling; avoid pollution incidents etc.
5.  RESOURCE MANAGEMENT 

INTRODUCTION 

This procedure relates to the minimization of energy and water use, and this procedure should be adhered to throughout all phases of the development. 

PROCEDURE 

For all phases of the construction works in line with the following principles 
· Low energy lighting with LED’s should be used wherever possible; 

· Where timers are fitted to the heater circuits, they should be set to turn off at 18:30hrs and come back on at 07:00hrs, except for the drying room and reception where the heaters should be set to a lower setting when not in use; 

· External flood lighting should be fitted with PIR (passive infra-red) movement detectors for night security; 

· Plant should be kept maintained and switched off (with keys removed) when not in use; 

· Fuel used by subcontractors should be recorded on a spreadsheet from delivery tickets; 

· Energy and water sources should be metered where possible; 

· Thermostats should be fitted to heaters within the site accommodation and welfare facilities; 

· Appliances should be fitted with timers or energy saving settings wherever possible and should be switched off when not in use; 

· Hosepipes should be turned off when not in use. 

6.  TRANSPORT MANAGEMENT 

INTRODUCTION 

This procedure applies to the management of vehicles accessing the site during the construction works and vehicle circulation within the site. The Site Manager appointed by Mulgrave Developments Ltd will be responsible for ensuring that drivers adhere to this procedure, through implementation of a Traffic Management Plan. 

POTENTIAL IMPACTS 

The potential impacts as a result of construction traffic are: 

· Congestion on the local road network resulting from vehicle routing and/or queuing to access the site; 

· Pollution as a result of queuing vehicles; 

· Soiling of the local road network through transfer of mud and debris from construction vehicles; and 

· Pedestrian safety. 

RELEVANT LEGISLATION AND GUIDANCE 

· The Highways Act, 1980; 

· Environmental Protection Act, 1990; and 

· Road Vehicles (Construction and Use) Regulations 1986, as amended. 

PROCEDURE 

Construction vehicles waiting to enter or leave the site will be required to switch off their engines. Where possible, vehicle movement areas within the site should comprise hard standing to minimise the transfer of mud onto the highway. However, vehicles leaving the site should ensure that they are clean and, if necessary, pressure washing of the wheels and chassis should be carried out. 
All HGV traffic should follow the designated HGV route to site (access to site on Watermill Gardens is via A628 Barnsley Road from either direction. Subcontractors and suppliers are to be notified and Mulgrave Developments Ltd are to monitor.
Road sweeping measures should be employed by Mulgrave Developments Ltd to ensure that local public highways are kept clean and free from debris. 

During construction, material deliveries to the site will be carefully phased to suit the Construction Programme. Mulgrave Developments Ltd should coordinate all deliveries or collections to/from the site. All deliveries to site should able to enter site without causing obstruction to the adjacent highway, be offloaded on site and turned within the site so they can exit front first back onto the highway.
Dedicated access gates for pedestrians and vehicles will be provided, to ensure pedestrian safety during arrival or departure of construction vehicles. 

All vehicles should be regularly maintained in accordance with the manufacturer's specifications. 
All vehicles including private cars and vans driven by site personnel and visitors to site are to be parked within the designated on site parking area. No vehicles are to be parked off site to prevent congestion and/or obstruction of the highway. Mulgrave Developments Ltd to monitor.
DOCUMENTATION 

Copies of vehicle maintenance records must be held on site in a designated file. 

7.  WATER MANAGEMENT
POTENTIAL IMPACTS 

The potential impacts from construction activities to surface and ground waters are: 

Reduced surface or ground water quality from the release of mobile contaminants during the construction of the development, particularly during excavations and the construction of foundations; 

· Incorrect disposal of site effluent; 

· Pollution of surface water through chemical, oil and fuel spills; 

· Introduction of other pollutants (e.g. excessive amounts of solid particles) into the surface water drainage system; and 

RELEVANT LEGISLATION AND GUIDANCE

· Environmental Protection Act 1990; 

· Water Resources Act 1991; 

· Water Industry Act 1991; 

· Ground Water Regulations 1998; 

· Anti-pollution Works 1999; and 

See current guidance on how to prevent pollution if you’re a business, report an environmental incident, get permission to discharge to surface or groundwater, manage business and commercial waste, store oil and any oil storage regulations, discharge sewage with no mains drainage, work on or near water and manage water on land. https://www.gov.uk/guidance/pollution-prevention-for-businesses
PROCEDURE 

Site Drainage 

Mulgrave Developments Ltd will hold a drainage plan on site which shows the location of all surface and foul water drains and should make relevant staff aware of the existing drainage network. 

Under no circumstances should waste chemicals, fuels, silt or sediments be discharged to the drainage system or groundwater. 

In the event of a blockage, a specialist Trade Contractor should clear out the drains and the waste material disposed of accordingly. 

Trade effluent, including dewatering effluent, from the site should not be discharged to surface or foul water drains without obtaining consent from the Environment Agency or Yorkshire Water, respectively. 

Mulgrave Developments Ltd is responsible for obtaining necessary consents and ensuring compliance with any conditions, for example, the quantity and quality of effluent. 

Storage and Handling of Hazardous Materials 

Hazardous substance stores (including fuel and chemical stores) and areas at risk of spillage/ leakage of polluting materials should be bunded in accordance with current best practice. Bunded compounds should have an impervious base, which can hold at least 110% of the capacity of the tank or drum it contains to minimise the risk of hazardous substances entering the drainage system. 

Labels should clearly indicate the contents of containers. 

Delivery of fuel and oil should always be supervised, and checks should be made to ensure that the correct type and quantity of fuel is being delivered. All pipelines and fuelling points should be protected from vandalism and unauthorized interference and should be turned off and locked when not in use. 

Drip trays should be used when filling smaller containers from tanks or drums to avoid drips and spills from entering the ground or drainage system. 

Works with concrete should be carefully controlled and concrete wagons should be washed out in a safe area. 

DOCUMENTATION 

The following documents should be held on site: 

Copies of discharge and trade effluent consents held in a designated file by Mulgrave Developments Ltd; and 

Should a pollution incident occur, a record of the incident, together with the remedial action(s) taken, should be maintained in an environmental incident logbook by Mulgrave Developments Ltd. 

8.  MATERIAL PROCUREMENT, STORAGE AND HANDLING 

INTRODUCTION 

This procedure applies to the procurement of timber and materials used in demolition and construction, and the storage and handling of all materials, with the exception of waste, which is addressed separately. All staff are responsible for complying with the requirements of the procedure. 

RELEVANT LEGISLATION AND GUIDANCE 

· Environmental Protection Act 1990; 

· Water Resources Act 1991; 

· 2002 edition of The Green Guide to Specification, Building Research Establishment; and 

PROCEDURE

Procurement 

As a minimum all timber should be sourced in accordance with Mulgrave Developments Ltd timber policy. Where possible timber and timber products used during the construction works must be from a temperate source independently certified by the Forest Stewardship Council (FSC), Programme for the Endorsement of Forestry Certification (PEFC), Canadian Standards Association (CSA), Sustainable Forestry Initiative (SFI) or the Malaysian Timber 

Certification Council (MTCC). 

Other construction materials should be responsibly sourced wherever possible i.e. suppliers should hold a certified Environmental Management System for both the extraction of the raw materials e.g. stone, clay, aggregate etc and the process stage. Materials should be sourced locally where possible. HYR approval of materials will be required prior to placement of orders. 

Storage 

All raw materials should be appropriately stored on site to minimise damage by vehicles, weather or theft. 

Secure storage should be provided for items of high value, materials which are hazardous, or which are 

easily damaged. 

Packaging should be retained on goods until the materials are required. Once removed, packaging materials should be stored and returned to the supplier for re-use/ recycling wherever possible. 

Goods should be delivered on an “as needed/ just in time” basis to reduce stockpiling on site, damage from vehicles and other causes of wastage. 

DOCUMENTATION 

Chain of custody certificates for sustainably sourced timber used during the works should be maintained in a designated file. 

9.  WASTE MINIMISATION AND MANAGEMENT 
INTRODUCTION 

This procedure applies to the minimisation, storage and disposal of all waste generated during the construction works. It is also concerned with the establishment of procedures for complying with statutory and good practice requirements for waste management. Mulgrave Developments Ltd is responsible for ensuring that the relevant documentation is completed and held on site. In addition, all staff are responsible for adhering to the requirements of the procedure. 

RELEVANT LEGISLATION AND GUIDANCE
Waste Management ‘Simpler Recycling’ – the specific need to segregate waste generated, implemented March 2025. 

· Environmental Protection Act 1990, Part II; 

· Environmental Protection (Duty of Care) Regulations 1991; 

· Hazardous Waste Regulations, 2005; 

· Controlled Waste (Registration of Carriers and Seizure of Vehicles) Regulations 1991; and 

· Site Waste Management Plans – Guidance for Construction Contractors and Clients, Department of Trade and Industry; July 2004. The National Construction Best Practice Programme advocates ‘lean production’ methods and the minimisation of accidental on-site material wastage. The reuse of materials should take place wherever possible. Any remaining waste should be considered for recycling. 

· To assist in achieving best practice, Mulgrave Developments Ltd’s attention is drawn to the following initiatives: 

· Waste exchange - electronic waste board where contractors can advertise the availability of various types of waste available and companies can search for materials they need (www.wasteexchange.org); 

· WRAP – The Waste Resources and Action Programme set up to establish markets for buying and selling recycled materials. Includes a guide to specifying sustainable aggregates www.wrap.org.uk 

· Best Practical Environmental Option - Assessment by BRE of methods of demolition, construction and disposal of wastes to enable development of Best Practical Environmental Options for waste management; and 

· Other Building Research Establishment (BRE) and CIRIA current initiatives relating to construction 

PROCEDURE 
All Site Works 

Waste Reduction 

Over ordering of materials should be avoided, and deliveries of materials should be arranged for the appropriate stage of construction. Packaging from raw materials should only be removed immediately prior to use, to avoid damage to the materials and waste generation. 

Initiatives to reduce waste streams should be incorporated where possible. These may include obtaining information on materials packaging from manufacturers and suppliers and avoiding purchase of over-packaged materials, liaison with the suppliers to enable packaging material to be sent back for reuse, use of off-cuts where possible and the recycling of off-cut material by the supplier e.g. plasterboard. 

Recycling 

Materials to be recycled should be sorted on site and stored in an appropriate container or stockpile ready for collection. The amount of waste reused, recycled or sent to landfill should be recorded by Mulgrave Developments Ltd and compared with the targets for waste re-use and recycling. 

A detailed waste plan should be developed by Mulgrave Developments Ltd to identify methods of waste minimisation and recycling. At least five of the following materials should be recycled: 

· Ceramics such as bricks, tiles, toilets and sinks; 

· Inert materials such as soils, clays, sand, gravel and natural stone; 

· Metals such as radiators, metal formwork, metal sinks, cables and wires; 

· Packaging such as paint pots, pallets, cardboard, bubble wrap, cable drums and wrapping bands; 

· Plaster/cement such as plasterboard, render, plaster, cement, fibre cement sheets; 

· Concrete such as kerb stones, paving slabs, rubble and solid blocks; Timber; and 

Chemicals and oils. 

Waste Disposal 

Waste should be segregated into recyclable, inert, non-hazardous or hazardous waste and retained in clearly labelled stockpiles, skips or drums in designated areas. 

All waste removed from site (including recyclable waste) must be taken to a licensed or exempt waste disposal facility by a registered waste carrier. Mulgrave Developments Ltd should ensure that all waste carriers and waste disposal facilities are licensed. Non-hazardous waste should be covered by a Waste Transfer Note. The Transfer Note must include an accurate description of the type, quantity and containment of waste, the European Waste Catalogue Number and details of the waste carrier. Sufficient information must be provided to ensure that the waste disposal operator is aware of any potential hazards of the substance. All documentation must be retained for a minimum of 2 years and be available for inspection. 

Mulgrave Developments Ltd must inform the Environment Agency if they will be producing hazardous waste and obtain a Premises Code. A Hazardous Waste Consignment Note is required for disposal of hazardous waste and copies of the certification must be retained for a minimum of 3 years. 

Waste Storage 

All waste should be stored in an appropriate container to prevent escape of material and the site must be left in a clean and tidy condition at the end of each day. More frequent cleaning should be carried out around canteens and toilets. 

Food waste must be collected regularly to avoid attracting vermin to the site. 

All roads, pavements, construction equipment, temporary structures, materials and machines should be kept clean and tidy at all times with litter and rubbish removed promptly. 

On completion of the works, each contractor must clear away, and move from the site, all plant, surplus materials, rubbish and temporary works. 

When leaving the site, appropriate measures should be taken to prevent waste escaping onto the public highways, for example containers must be secured and open skips must be covered by sheeting. 

Excavated Materials 

Some Waste Acceptance Criteria testing of the soils at the site has been undertaken as part of the supplementary ground investigation works and this data will be available to the contractor. The contractor should check with the landfill operator whether further testing is required prior to disposal of excavated soils. There is potential for some excavated materials to be classified as hazardous; all other material should be assumed to be non-hazardous. If the contractor intends to dispose of the material as inert waste, they should carry out Waste Acceptance Criteria testing on the excavated material to prove that it 

can be disposed of as inert waste. 

DOCUMENTATION 

The following documentation must be completed and held on site by Mulgrave Developments Ltd in a designated file: 

· Details of targets for waste minimisation and recycling; 

· Details regarding quantities of waste produced, reused, recycled and sent to landfill; 

· Waste Transfer Notes (Controlled Waste); 

· Hazardous Waste Consignment Notes; and 

· Waste carrier’s registration licences. 

10.  CONTROL OF EMISSIONS TO AIR 

INTRODUCTION 

This procedure applies to the management of emissions to air during the development works. All staff are responsible for complying with the requirements of the procedure. Dust nuisance occurs more readily during prolonged dry weather and especially in strong winds. Consequently, good site management includes the ability to respond quickly to such conditions. 

Good Practice advises that developments should seek to minimise pollution, including that to air, water, land, light and noise. Guidance from the Building Research Establishment states that the most effective mitigation technique for dust control is to prevent dust from becoming airborne, since it is difficult to suppress after this stage. Best practice construction methods will be implemented to control the generation of dust during construction works and indicates that use of Best Practicable Means to control dust should be sufficient, if properly implemented. 

POTENTIAL IMPACTS 

· Nuisance from dust deposition onto surfaces such as clothes, cars or windows; 

· Emissions from site plant and construction vehicles may adversely affect local air quality; and Impact on sensitive individuals from dust inhalation and air pollution. 

RELEVANT LEGISLATION AND GUIDANCE 

· Environmental Protection Act 1990; 

· Control of Substances Hazardous to Health Regulations 1994; 

· Control of Pollution Act 1974; 

· Clean Air Act 1993; 

· The Health and Safety at Work Act 1974; 

· The Air Quality (England) (Amendment) Regulations 2002; and 

· BRE “Controlling particles, vapour and noise pollution from construction sites” 2003. 

PROCEDURES 

Visual inspection of the site should be undertaken at regular intervals by Mulgrave Developments Ltd. If dust clouds are observed, action should be taken immediately, notwithstanding any ongoing dust monitoring measurements. 

The following mitigation measures should be implemented by all Contractors at all times to reduce dust and other emissions from site activities and minimise disruption or nuisance to neighbouring occupiers: 

· Spraying of water at or on work faces, loading operations and access roads especially during dry conditions; 

· Avoidance of dry sweeping during extended periods of dry weather; 

· Use of designated vehicle routes and restriction of vehicle speeds on site to 10mph; 

· Restricting 'drop heights' during lorry loading; 

· Avoidance of prolonged storage of debris on site or exposure to wind; 

· Storage of materials as far away from the site boundary as possible; 

· Screening, covering or wetting loose material; 

· Sheeting of buildings, chutes, skips and vehicles leaving the site; 

· Turning off the engines of waiting vehicles; 

· Use of properly maintained vehicles and plant; 

· Avoiding the burning of waste materials on site; and 

· Ensuring that all site workers are provided with appropriate Personal Protective Equipment (PPE). 
· In addition, Mulgrave Developments Ltd will be responsible for: 

· Street sweeping; 

· Maintenance of hoarding and screening around the site; and 

· Liaison with neighbours. 

All contractors must ensure that all plant and vehicles are in good repair and conform to the manufacturers’ or legislative standards. 

Wherever possible, plant must not be left running for long periods when not directly in use. Site traffic should be routed as far from residential and commercial properties as possible. Where appropriate, gas or electrically powered plant should be used instead of petrol or diesel. 

Monitoring 

Monitoring would be undertaken in response to nuisance complaints, and would 

be the responsibility of the Environmental Monitoring Co-ordinator, Site Manger to be nominated by Mulgrave Developments Ltd. 

Activities likely to produce high dust levels, e.g. during earthmoving or ground works, with less frequent monitoring required during activities with a lower potential to generate dust. 

DOCUMENTATION 

The following must be held on file: 

· Dust monitoring record sheets; 

· Details of corrective action taken if complaints are received or if Action Levels are exceeded; and 

· Plant maintenance and defect reports. 

11.  NOISE AND VIBRATION 

INTRODUCTION 

This procedure applies to the management of noise and vibration during the construction works. All staff are responsible for complying with the requirements of the procedure. Noise of plant, vehicles and radios should be kept to a reasonable level; noise including that from loading of skips should be suppressed using baffles or sound-deadening quilt and the use of radios should be moderated, with the volume maintained at a reasonable level. 

Current ambient noise levels are generally dominated by traffic noise. Ambient vibration levels within and around the site are due primarily to nearby movements of vehicles and pedestrians but are low and insignificant. 

Noise Action Levels 

Action Levels could be set for noise at the site boundary, but this would be at the discretion of Mulgrave Developments Ltd and would be subject to agreement with the Noise Control Officer at Barnsley Council. The use of Best Practicable Means to control noise should be sufficient, if properly implemented. 

Vibration Action Levels 

With regards to cosmetic damage to buildings, it is highly likely that occupants would complain, and alternative techniques be adopted long before vibration levels reached a level which would give rise to cosmetic damage. 

POTENTIAL IMPACTS 

· Disturbance to nearby residential properties from site activities; 

· Effects of noise and vibration from heavy goods vehicles transporting materials to and from the site during construction.
RELEVANT LEGISLATION AND GUIDANCE 

· Environmental Protection Act 1990; 

· Control of Pollution Act 1974 Part IV (Sections 60 and 61); 

· BS 5228: Control of Noise on Construction and Open Sites, Parts 1 and 4; 

· BS 7385: Part 2 Guide to Damage Levels from Ground Borne Vibration; 

· BS: 6472: Guide to Evaluation of Human Exposure to Vibration in Buildings (1-80Hz); and 

· Building Research Establishment (BRE) “Controlling particles, vapour and noise pollution from construction sites” 2003. 

PROCEDURE 

Liaison must be carried out with the occupants of adjacent properties potentially most affected by noise or vibration from on-site activities prior to the commencement of works. 

Site activities should be confined to the agreed working hours as detailed in the planning conditions, for any works requiring extending working hours advance notice would be provided to the Council of the hours to be worked and the activities to be undertaken. 

Start up and close down periods, of up to half an hour before and up to one hour after normal working hours, could be used providing there would be no operation of plant or machinery, or deliveries, giving rise to noise likely to disturb local residents. Activities which could be undertaken within these periods include: the arrival and departure of workforce and site staff, maintenance and checking of plant and machinery, refuelling, site inspections and meetings, safety checks prior to commencing work and site clean up at the end of the day. 

The following mitigation measures should be implemented by all contractors at all times to minimise noise and vibration generated from site activities and disruption to neighbouring occupiers: 

· Controlled lorry movements (including minimisation of reversing vehicles fitted with audible warnings); 
· Use of modern, inherently quiet plant; 

· Off site prefabrication where appropriate; 

· The use, where necessary and practicable, of enclosures/screens and/or acoustic covers around noisy and fixed plant; 

· Use of whispering type generators and compressors or noise protection to static noise generators; 

· Regular maintenance of plant; 

This will be provided by Mulgrave Developments Ltd. 

Monitoring 

If Mulgrave Developments Ltd states that action levels sample noise and vibration monitoring should be undertaken over 15-minute periods by the Environmental Monitoring Contractor nominated by Mulgrave Developments Ltd , at the locations agreed prior to each phase of construction works. Where the results of the monitoring exercises indicate that the Action Levels have been exceeded, the following actions should be undertaken: 

· The activity or activities causing the Action Levels to be exceeded should be identified through 

· discussions with the contractor(s); 

· Investigations should be made to determine whether the activities could be easily changed or other 

· simple actions taken to substantially reduce noise or vibration levels; 

· If simple and effective remedial measures are not identified, consideration should be given to the implementation of alternative techniques and/or additional mitigation measures; and 

· In all cases where Action Levels are likely to be exceeded, neighbourhood liaison should be carried out to the degree that is appropriate for the levels likely to be reached and their estimated duration. 

Equipment 
Noise monitors must conform to a minimum Type 2 integrating sound level meter that simultaneously records LAeq, LMAX, L90 and L10 noise levels. The vibration monitors must continuously sample the vibration levels and record the maximum vertical PPV (Peak Particle Velocity) every 15 minutes for sample vibration monitoring and every 1-minute period for continuous vibration monitoring. The vibration monitors will be capable of measuring 3-dimensional levels of vibration. 

DOCUMENTATION 
The following must be held on file: 

Noise and vibration monitoring sheets
12.  POLLUTION INCIDENT CONTROL PROCEDURE 

INTRODUCTION 

This procedure applies to public safety, emergency and other unplanned activities during the development works. All staff are responsible for complying with the requirements of the procedure. 

RELEVANT LEGISLATION AND GUIDANCE 

· Resources Act 1991; 

· Water Industry Act 1991; and 

See current guidance on how to prevent pollution if you’re a business, report an environmental incident, get permission to discharge to surface or groundwater, manage business and commercial waste, store oil and any oil storage regulations, discharge sewage with no mains drainage, work on or near water and manage water on land. https://www.gov.uk/guidance/pollution-prevention-for-businesses
PROCEDURE 

Incidents that must be reported to Mulgrave Developments Ltd are: 

· Spills of chemicals, oils, fuels, unplanned or non-consented discharges; 

· Release of fumes and gases; or 

· Any incident that could lead to local authority or regulatory enforcement, public complaint or media attention. 

In the event of a spillage or other pollution incident, Mulgrave Developments Ltd shall be notified immediately and immediate steps taken to prevent environmental pollution, for example: 

· Protection of drains following a spillage of oil or other chemical; 

· Use of spill kits following a spillage of oil or other chemical; and 

· Turning off equipment or other source of fumes, noise or dust. 

· At least two spill kits should be kept on site which, as a minimum contain 
· absorbent granules, sand bags and drain covers. Absorbent pads and booms should preferably be used instead of granules and sand bags where possible. 

If it is considered that uncontrolled pollution may have resulted from an incident such as a release of fumes or gases or spillage, the following action will be taken: 

· Ensure that it is safe to remain in the area; 

· Locate and switch any isolation switches, valves or pumps if possible; 

· Contact the following bodies where appropriate and follow their instructions: 

· Environment Agency Regional Office 

· Fire Brigade - Penistone Fire Station, and 

· Barnsley Council Environmental Health Department 
· Where possible undertake damage control measures to prevent dispersion of gases or pollution from entering drains or watercourses. For example, create containment sumps, pump liquid to temporary storage areas such as lined skips and block or clear drains as appropriate. 

DOCUMENTATION 

A log book of environmental incidents and remedial actions taken must be maintained on site and held by Mulgrave Developments Ltd. 

13.  NEIGHBOUR AND COMMUNITY LIAISON AND MANAGEMENT OF COMPLAINTS 

INTRODUCTION 

This procedure addresses neighbour and community liaison during the redevelopment works. Mulgrave Developments Ltd is responsible for ensuring compliance with the procedure. In addition, all staff are responsible for adhering to its requirements. 

Mulgrave Developments apricate the importance of consideration of the needs of local people, businesses and visitors. 

PROCEDURE 

Liaison 

Prior to commencement of the construction works, all neighboring occupiers should be contacted by the Site Manager, nominated by Mulgrave Developments Ltd, to explain the activities to be undertaken, the duration of the works and the working hours. The Site Manager should also be introduced as the main point of contact and a contact telephone number provided. 

With due accordance, a clean, presentable company sign board with relevant telephone number should be maintained. A respectable standard of dress code should be maintained and inappropriate behaviour, such as “wolf whistling”, should be addressed in the site induction. Mulgrave Developments Ltd should ensure that standards are being adhered to. 

The site reception should be clearly signed, and staff present in reception should be able to direct unexpected visitors to an appropriate member of staff. 

During the works, communication with neighbours should occur through newsletters and maintained notice boards. 

Neighbours should also be specifically informed about any abnormal work or road closures proposed. 

All licenses issued by Barnsley Council must be displayed prominently on hoardings, scaffolds, gantries or fences. 

The timing of deliveries to adjacent buildings should be considered to avoid conflict with construction vehicles. 

Complaints 

In the event of a complaint from a neighbour or a member of the public in relation to any activity, it must be recorded by the Site Manager in a designated logbook, stating the nature of the complaint, the cause, the time and date and, where appropriate, the remedial action taken. All site workers shall immediately notify Mulgrave Developments Ltd or Site Manager should they receive any complaints. 

Should complaints about noise, dust or vibration be received, the monitoring results at the time of the complaint should be reviewed. 

The Site Manager or his representative should contact all complainants within 24 hours of receiving the complaint for further discussion and identification of a mutually acceptable resolution. Where possible, measures should be put in place to avoid recurrence of the complaint. 

DOCUMENTATION 

All complaints should be recorded in a complaints log book with details of remedial action taken. 

EVALUATION 

DOCUMENTATION 

The following documentation must be retained on site for inspection: 

· Environmental incident logbook containing details of environmental incidents and corrective action taken; 

· Copies of discharge consents and licences; 

· Waste transfer notes, hazardous waste consignment notes and waste carriers’ registrations; 

· Any noise and vibration monitoring record sheets with details of corrective actions taken where the action levels are exceeded; 

· Any dust monitoring record sheets with details of corrective actions taken where the action levels are exceeded 

· Records of waste produced, reused, recycled and disposed of to landfill; 

· Records of monthly energy usage and water usage as required; 

· Records of distances travelled by each type of vehicle associated with the redevelopment works; 

· Chain of custody certificates for timber; 

· Plant maintenance and defect records; and 

· Complaints log book with details of the response made to complaints received. 

ENVIRONMENTAL REVIEWS 

Environmental issues must be included as an item on the agenda at Progress Meetings, attended by Mulgrave Developments Ltd, Sub Contractors, relevant Trade Contractors and other members of the project team where appropriate. Where relevant, the following should be discussed: 

· Results of the monitoring; 

· Complaints, including cause and remedial action; 

· Neighbourhood liaison; 

· Communications with Barnsley Council and other statutory bodies; and 

· Incidents that have taken place. 

INDEPENDENT ENVIRONMENTAL AUDITS 

Regular independent environmental audits will be carried out to ensure that the requirements of this CEMP are being implemented. The frequency of the audits will be dependent upon the potential for the works being carried out to give rise to environmental impacts. The audits will include a site inspection and review of 

2

