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                                                      		          Place Directorate
		Economic Regeneration, Development Management
		PO Box 634, Barnsley, S70 9FE 
 



	Mr Ashley Newton

	
	My Ref: 2015\ENQ
	2020/0255

	Avant Homes

	
	Your Ref:
	

	Unit 2, Mariner Court 
	
	Date:
	08/03/2021

	Peel Avenue
	
	Enquiries to:
	James Hyde

	Durkar
	
	Direct Dial:
	01226 772683

	WF4 3FL
	
	E-Mail:  
	jameshyde@barnsley.gov.uk





Dear Mr Newton,


Description:  Details of conditions 8 (contaminated land), 9 (tree protection), 11, 12 and 13 (drainage), 17 (highway improvement works) and 18 (sales cabin and parking area) of planning permission 2019/1464.

Location:  Land at Lidgett Lane, Pilley, Barnsley, S75 3AG

I received a discharge of conditions application relating to application 2019/1464 which was for a Development of 49 dwellings and associated roads and infrastructure at the above address. 

Condition 8

This condition states;
	No development works shall begin until a report, endorsed by a competent engineer experienced in ground contamination and remediation, has been submitted and agreed with the Local Planning Authority. The report shall, amongst other matters, include the following:- 
1. A survey of the extent, scale and nature of contamination. 
2. An assessment of the potential risks to human health, property, adjoining land, groundwaters and surface waters, ecological systems and archaeological sites and ancient monuments. 
3. An appraisal of remedial options, and proposal of the preferred option(s). 
4. A remediation statement summarising the works to be undertaken (if required). 
The above must be conducted in accordance with DEFRA and the Environment Agency's 'Model Procedures for the Management of Land Contamination, CLR 11. The development shall thereafter be undertaken in full accordance with the submitted report. For further information, see BMBC's Supplementary Planning Guidance 28, "Developing Contaminated Land". 

	
The Contaminated Land Officer in his email dated 16/06/2020 has stated ‘I have read through the Site Investigation report (ref L222/5) that has been submitted, and no elevated levels of contamination were encountered. As such I will not be requiring any further information and can confirm sufficient information has been provided to discharge condition 8’.

As such, the pre-commencement elements of condition 8 are hereby discharged.

Condition 9 

This condition states;

No development or other operations being undertaken on site shall take place until the following documents in accordance with British Standard 5837:2012 Trees in relation to design, demolition and construction - Recommendations have been submitted to and approved in writing by the Local Planning Authority: 
• Tree protective barrier details 
• Tree protection plan 
• Arboricultural method statement 

The submitted Tree Protective Barrier Details & Tree Protection Plan (Ref: 4178/220) and the subsequent Arboricultural Method Statement are considered acceptable for the development.  The development shall be carried out in accordance with the approved details.

Given the comments above, the pre-commencment elements of condition 9 are hereby discharged.

Conditions 11, 12 & 13

Condition 11 states;

No development shall take place until: 
(a) Full foul and surface water drainage details, including a scheme to reduce surface water run off by at least 30% and a programme of works for implementation, have been submitted to and approved in writing by the Local Planning Authority: 
(b) Porosity tests are carried out in accordance with BRE 365, to demonstrate that the subsoil is suitable for soakaways; 
(c) Calculations based on the results of these porosity tests to prove that adequate land area is available for the construction of the soakaways; 
Thereafter no part of the development shall be occupied or brought into use until the approved scheme has been fully implemented. The scheme shall be retained throughout the life of the development. 

Condition 12 states;

No piped discharge of surface water from the application site shall take place until works to provide a satisfactory outfall for surface water have been completed in accordance with details to be submitted to and approved by the local planning authority before development commences. 
Reason: To ensure that the site is properly drained and surface water is not discharged to the foul sewerage system which will prevent overloading. 

A S104 agreement from Yorkshire Water, dated 26/06/202, has been supplied in order to discharge condition 12, as such, the condition is hereby discharged.




Condition 13 states;

No piped discharge of surface water from the application site shall take place until works to provide a satisfactory outfall for surface water have been completed in accordance with details to be submitted to and approved by the local planning authority before development commences. 

The Councils Drainage Officer has stated (ref; WA20200255) I would confirm that in my opinion the details provided are sufficient to allow the conditions No.11 & No.13 relating to drainage to be removed. Yorkshire Water in their email dated 09/04/2020 have stated From recent additional submitted information from Gary, I have sent an updated response to the main inbox to advise that we no longer object to the discharge of conditions 11 & 13.


Given the comments above, the pre-commencement elements of conditions 11 and 13 are hereby discharged.  The development shall be carried out in accordance with the approved details.


If you require anything further please do not hesitate to contact me.



Yours Sincerely 




James Hyde, BA (Hons), MA, MRTPI
Planning Officer






PO Box 634, Barnsley, South Yorkshire S70 9GG

image1.jpeg
 BARNSLEY

Metropolitan Borough Council




