PLANNING CONSULTATION RESPONSE

| Application No | 2026/0204 |
| --- | --- |
| Proposal | Discharge of conditions 3 (Biodiversity Gain Plan), 4 (Tree Protection and Method Statement), 5 (Biodiversity Enhancement Management Plan), and 6 (Construction Environmental Management Plan - Biodiversity) of application 2025/0414: Erection of security fence around perimeter of existing sports field site and temporary permission for siting of 2x storage containers and modular cabin (10-year temporary period). |
| Address | Land North of Church Street, Darton, Barnsley. |
| Date of Consultation Reply | 08/05/2026 |
| Consultee | Edward Jowett (Tree Officer) |

| Consultation Assessment and Justification |  |  |
| --- | --- | --- |
| The Method statement submitted to discharge condition 4 does not have a tree protection plan attached only the tree constraints plan. Likewise the document does not contain any real site specific information or details beyond specifying the access pruning work to the trees alongside the existing track. The key issue for this site is the installation of the new security fence in close proximity to trees making up the large generic groups G3 and G4, however his is not dealt with. We need to know how impacts on trees will be minimised and how trees will be protected during the installation of the fence in particular but also any other features within rooting areas such as the grass reinforcement mesh. Until we have the required information this condition cannot be discharged. |  |  |
|  | Defer for amends/further information* |  |
| *Delete as applicable |  |  |
| Consultation Suggested Conditions: N/A |  |  |
| Consultation Informative(s): N/A |  |  |
| Planning Obligations required: N/A |  |  |