PLANNING CONSULTATION RESPONSE

| Application No | 2026/0232 |
| --- | --- |
| Proposal | Erection of 119 dwellings, open space and associated infrastructure. |
| Address | Land to the south of Bloomhouse Lane, East of Woolley Colliery Road, Darton, Barnsley. |
| Date of Consultation Reply | 07/07/2026 |
| Consultee | Edward Jowett (Tree Officer) |

| Consultation Assessment and Justification |  |  |
| --- | --- | --- |
| The site is former agricultural land which has in the main been left to colonise with young scrubby pioneer woodland, intersected by some lapsed hedgerow and interspersed by some better quality trees, hedges and groups. The scheme does not particularly appear to have taken into account the more prominent hedges, particularly the hedge running through the centre of the site (labelled as G2 and part of G8 but clearly a hedge) or the trees and hedges running alongside the public right of way. I feel that the strong linear features such as these should be incorporated into the scheme as far as is possible. I also expect that category B groups such as G1, G3 and G8 remain largely unaffected particularly as in many instances these are located on the boundaries and as such have significant potential in terms of screening and for the aesthetics of the site as a whole. I would also extend these concerns to the removal of other boundary vegetation such as T2-T8 and G9 as where suitable for retention these trees should be retained or where not they should be replaced in the same locations with better quality specimens. I also note that there are some discrepancies between the tree retention and removal on the arboricultural assessment and the landscaping plans such as T8 being shown for retention on one but removal on the other and as such I would ask that when the issues noted above have been looked at again that the plans and documents be reviewed to ensure consistency across them. I also note that the indicative landscaping proposed appears to fall short of the minimum of one for one replacement planting we would expect to see provided and as such I would ask that the landscaping be looked at when the scheme is reviewed to ensure this can be incorporated, ideally on site in the main but off site planting in the locality may also be considered acceptable. I would therefore ask that the layout be considered in relation to tree retention and removal, the levels of landscaping be looked at and clarified and that consistency across the plans be achieved when detailing tree removal and retention. |  |  |
|  | Defer for amends/further information* |  |
| *Delete as applicable |  |  |
| Consultation Suggested Conditions: N/A |  |  |
| Consultation Informative(s): N/A |  |  |
| Planning Obligations required: N/A |  |  |