## Appendix to Invalid Planning Application 2019/0524

## Date: 5th May 2019

## Dear Sirs,

## Please find attached as required additional elevation drawings together with photographs of the existing arrangement. The drawings are in 1:200 scale as I could not include enough detail at 1:50 or 1:100. I have supported your request with photographs.

## You will note the four pillars in brick which were previously supporting the old roof are now surplus to requirements. Two of these pillars are attached to my neighbours eastern wall (front / south and back / north), and two are attached to my western wall, front and back. The two pillars to the northern side will be carefully removed and rebuilt in 7.3Nm block. This will create a solid anchor for the new window installation. The pillar attached to my wall to the south of my property will be removed altogether. The pillar attached to my neighbours wall at the front will remain as it is and be repointed in due course. All removed bricks will be cleaned and recycled to allow for re-use where appropriate, specifically to the rear lower of the new dining room.

## To provide better insulation and waterproofing, a dwarf wall may be built to the outside of the new dining room (rear of the property) in 7.3Nm block. This will be later clad in uPVC white but as a preferred alternative, may be colour-rendered or rendered and painted. The original intention of a timber stud lower wall clad externally remains an option with the bricks recovered as stated above sited under the timber stud wall up to DPC.

## As previously stated, all works to remain within the existing house footprint.

## Kind regards

## Steve Bilson MCIOB MCIHT FCMI