Operational Services

Assistant Director:  P. Castle

PO Box 601, Barnsley, S70 9FA

F.a.o Keiron Dunn

Development Control,

Planning and Transportation

IG/ 2016/0429

21st April 2016

Internal works to convert one property to two dwellings.

40 Thurnscoe Road, Bolton Upon Dearne, Rotherham, S63 8AG

Keiron,

I refer to your memo dated 21st April 2016 and would inform you have now examined the proposals submitted by Mrs. Angela Keen, with respect to temporary and permanent drainage of this site.

I would confirm that in my opinion the details provided are sufficient and that I have no further observations to make with respect to land drainage.

I am happy for the details to be checked by building control.

Regards

Ian Grayson

Senior Engineer – Drainage and Highways

Network Resilience and Asset Management