METHOD STATEMENT

PROCESS

Measures to control the emission of dust and dirt during the construction

METHOD

- All operatives are to use dust extraction and respiratory equipment whilst undergoing work.

- Tradesman will provide themselves with all 110v equipment connected to the extraction units if needed.

MEANS OF SAFE ACCESS

Access to the working area will be via the front/rear doors of the premises.

PERSONAL AND RESPIRATORY PROTECTIVE EQUIPMENT

Tradesmen will be provided with necessary PPE and RPE by Whitshaw Builders Ltd. including ear

defenders, protective gloves, gauntlets, eye protection, hard hat, safety boots, high

visibility vest, knee pads and respirator/dust mask. Tradesmen will wear high visibility vest and safety boots at all times on site. Specific PPE requirements are detailed in the method statement above.

Tradesmen will assess the need for using additional items for each part of the operation and have

been trained to do so. Any mandatory site safety requirements will be complied with.

ELECTRICAL EQUIPMENT

110-volt equipment only will be used. This is to be visually inspected for damage by tradesmen at

the commencement of each working day and to be within test date.