RISK ASSESSMENT & METHOD STATEMENT

PARKSIDE SPORTS & COMMUNITY CENTRE

FOR

Electrical Works

Hughie Construction Limited

New York Stadium

New York Way

Rotherham

South Yorkshire

S60 1FJ

Tel: 07901 235886

Email: admin@hclimited.co.uk

| Date of Issue | Comments | Ref No. | Authorised by | Revision |
| --- | --- | --- | --- | --- |
| 21/08/2024 | Issued to site | 002 | Richard Kirk | 01 |
| Review: 21/08/2025 |  |  |  |  |

# Site Specific Risk Assessment & Method Statement

Location:				PARKSIDE SPORTS & COMMUNITY CENTRE, HOYLAND

Project Title: 				CONSTRUCTION OF NEW SPORTS & COMMUNITY FACILITY

Issue Number:				01

Compiled by:				Richard Kirk

Company Position:			Managing Director

Date Compiled: 			21/08/2024

Date Issued: 				21/08/2024

Project Details

Description of work to be undertaken:

The scope of works to be carried out by Hughie Construction Limited comprises of the Electrical works

Please read this document carefully and implement the requirements of this method statement.

Project Technical Details

Name of Contractor(s):    			Hughie Construction Limited

Address Details:				Concession 7A New York Stadium

New York Way

Rotherham

S60 1FJ

Telephone No:					07901 235886

Manager Responsible on Site: 		RICHARD KIRK

Client:						BARNSLEY METROPOLITAN BOROUGH COUNCIL

Principal/Main Contractor 			Hughie Construction Limited

Estimated Duration of Work (Weeks):		48 WEEKS

Commencing:					TBC

Completion: 					TBC

| Site Specific Risk Assessment: Electrical works |  |  |
| --- | --- | --- |
| Risk Assessment Ref. | 001 |  |
| Contract Location: PARKSIDE SPORTS & COMMUNITY CENTRE, HOYLAND |  | Issue date: 31/08/2024 |
| General Activities / Scope of Work: |  |  |

| What are the hazards: | Who might be harmed and how? | Risk Rating |  |  | Precautions already in place | What further action is necessary | Residual Risk Rating |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Probability | Severity | Risk |  |  | Probability | Severity | Risk |
| Electricity | Operatives and others risk potentially fatal injuries if they receive a shock from faulty electrical equipment. | 4 | 5 | 20 | - Site manager to supply 110 v temporary supply. - Staff know to check all cables, leads etc of all powered tools/ equipment before use, and to report all faults to their supervisor. | - During site induction on day one, manager to reinforce rules on electrical safety. - Use insulated tools, wear PPE, and ensure proper grounding | 1 | 5 | 5 |
| Fire Outbreak | Operatives. | 3 | 4 | 12 | - Remove all flammable items from area when reasonably possible. - Provide fire extinguishers. | - Provide Fire Blankets - Regularly inspect wiring, use fire-resistant materials, and install smoke detectors | 1 | 5 | 5 |
| Electric shock | Operatives | 3 | 5 | 20 | - Site Manager to supply 110V temporary supply - Staff know to check all cables, leads etc of all powered tools/ equipment before use, and to report all faults to their supervisor. | - During site induction on day one, manager to reinforce rules on electrical safety. - Use insulated tools, wear PPE, and ensure proper grounding | 1 | 5 | 5 |
| Equipment failure | Operatives | 3 | 5 | 20 | - Staff know to check all cables, leads etc of all powered tools/ equipment before use, and to report all faults to their supervisor. | - During site induction on day one, manager to reinforce rules on electrical safety. - Regular maintenance, use high-quality equipment, and provide training | 1 | 5 | 5 |
| Falling from height | Serious or even fatal injury could occur if an operator falls from height. Others working below also at risk. | 5 | 5 | 25 | - Sufficient Step-Ups to be available, all in good condition. - Where required platforms, with guardrail to be used. | - Include work at height in toolbox talk before beginning work on day one. | 1 | 5 | 5 |
| Short Circuit | Operatives | 3 | 5 | 20 |  Proper circuit design, use circuit breakers, and conduct regular inspections | - During site induction on day one, manager to reinforce rules on electrical safety. | 1 | 5 | 5 |
| Poor lighting | Operatives | 5 | 5 | 15 | - Install adequate lighting, use portable lights, and conduct regular checks | - Double check lighting before use, change bulbs if required | 1 | 5 | 5 |
| Slips and trips | All operators, and tradesmen nearby, may suffer sprains, bruising or fractures if they trip over objects, such as work debris, or slip on spillages. | 5 | 3 | 15 | - All operators wear safety boots – ‘no boots, no job’ policy. - Good housekeeping, e.g. debris put in skip, brush available to use to keep work area clear. - All trailing cables in work area hung up or otherwise kept out of harm’s way. - Safe route to job agreed with site manager based on site health and safety plan. | - Manager to check on-site housekeeping during visits. - Include in site induction before beginning work on day one. | 1 | 3 | 3 |
| Workplace transport | Operators risk serious or even fatal injuries from moving vehicles on site – particularly when reversing. | 5 | 5 | 25 | - Safe route to workplace and to welfare facilities, agreed with site manager based on site health and safety plan. - Ensure traffic plan is effectively communicated to everyone on site in addition to the school. - Staff know that they must never move vehicles on a site unless authorised by site manager. | - Include in site induction before beginning work on day one. | 1 | 5 | 5 |
| Manual handling | Operators risk injury, particularly to the back, from lifting and handling heavy or awkward objects, e.g. fence poles, fence panels | 5 | 4 | 20 | - Use TILE assessment described below. - Where possible, mechanical means to be used to transport materials. - Where the movement requires short distances operatives will use barrows or where this risk is minimal passage of materials between numbers of operatives. - All materials will be below the recommended guidance for manual handling lifting weight of 25kg. | - Remind operatives of safe system of work at site induction. | 1 | 4 | 4 |
| Welfare | Good welfare facilities reduce risk of dermatitis, help good hygiene etc. | 3 | 4 | 12 | - Agreement with site manager that staff may use site welfare facilities – toilets, washing facilities with hot and cold water and mess room/kitchen. | - Tell staff about facilities at site induction on day one. | 1 | 4 | 4 |
| Substance - Hazard from chemical contact. (Dust and potential asbestos.) Refer to COSHH assessment. | Operatives, staff, pupils and general public | 5 | 4 | 20 | Control the cause of dust at source. Contain dust wherever possible by keeping the work area clean. Isolate areas to reduce the number of personnel exposed. Control with dust suppression measures (such as very fine water spray methods). Good housekeeping to reduce airborne dust. Personal Protective Equipment (only to be considered as a last resort) Dust masks of EN 149 FFP1 Standard. Eating, drinking and smoking shall be prohibited on site. Asbestos: COSHH assessment to be carried out by site supervisor to identify any hazardous materials - Halt all work immediately and isolate work area. Contact asbestos professional to isolate and/or remove asbestos. | - Ensure work area is isolated and trained professionals are contacted immediately - Use PPE, proper storage, and handling procedures | 1 | 4 | 4 |
| Use of power tools | Operatives and nearby tradesmen | 3 | 5 | 15 | - Pre use visual inspection for damage/defects to tools, cables, plugs - Provision of PPE; Gloves, Hearing protection, defenders/plugs, Dust masks - Cables to be routed away from aisles and walkways where they could create trip hazards to other persons and/or expose cables to potential damage. - All power tools to be 110 volts | - All power tools to undergo regular PAT testing. | 1 | 5 | 5 |
| Use of hand tools | Operatives and nearby tradesmen. | 3 | 4 | 16 | - Damaged/defective tools to be taken out of use immediately - Operatives issued with PPE. - Gloves - Safety shoes - Safety helmets - Safety glasses/goggles | - Periodic inspection of equipment. | 1 | 4 | 4 |
| PROBABILITY = Likely (5) - Probable (4) - Possible (3) - Remote (2) - Improbable (1) SEVERITY = Catastrophic (5) - Major (4) - Reportable (3) - Serious (2) - Minor (1) RISK = PROBABILITY x SEVERITY * Residual risk is the level of risk that remains after suitable and sufficient control measures are introduced. |  |  |  |  |  |  |  |  |  |

| Persons at Risk | Probability |  | Severity |  | 5 | 4 | 3 | 2 | 1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | L | Pr | Po | R | I |  | 8-25 Not Acceptable |
| P – Public | Likely (L) 5 |  | 5 | C | 25 | 20 | 15 | 10 | 5 |  |  |
| E - Employee | Probable (Pr) 4 |  | 4 | Ma | 20 | 16 | 12 | 8 | 4 |  |  |
| C – Contractor | Possible (Po) 3 |  | 3 | R | 15 | 12 | 9 | 6 | 3 |  | 1-6 Acceptable |
| V – Visitor | Remote (R) 2 |  | 2 | S | 10 | 8 | 6 | 4 | 2 |  |  |
|  | Improbable (I) 1 |  | 1 | Mi | 5 | 4 | 3 | 2 | 1 |  |  |

| Site Specific Method Statement: Electrical works |  |
| --- | --- |
| Method of Work: Electrical - Working Dead and Isolation We understand the dangers associated with electricity and as such insist that anyone required to work on equipment, circuits etc. that have been or could become live are competent to do so. We also understand that not every situation is straightforward, and we will assess every situation prior to any task or project. However, what follows is the basic policy we have of working dead and isolating equipment before we allow work to commence. This policy relates to low voltage work and does not cover high voltage (a voltage in excess of 1000 V ac or 1500 V dc). Identification Firstly, we identify the circuit or equipment to be worked on. Wherever possible we will ensure we are supplied with adequate information to enable us to do this. On most equipment and circuits labelling is important. However, it is our policy that we will never assume that labelling is correct. Therefore, we will not start work until it is first proved that the equipment or circuit is dead. In some cases (underground cables etc.) that may mean using specialised instruments to locate cables both before and after switching operations, cable spiking etc. Disconnection Equipment will be disconnected from every source of electrical energy before working on, or near, anything that has been live or is likely to be live. Where equipment can store charges, we ensure that any stored charge has been safely discharged before commencing. Secure Isolation Any disconnection device used will have an isolation gap sufficient for the voltage levels that are likely to occur. We will make sure that any switch disconnector or other means of disconnection is secure. Switches, including circuit breakers, will be locked in the OFF position using a ‘safety’ lock (one with a unique key or combination) wherever possible. Lockout devices that can be attached to the actuators of circuit breakers are available and will be used where appropriate. All keys will be retained in a secure place. Where a plug has been withdrawn, we will make sure that it cannot be reconnected to the electrical supply while work is undertaken on the circuits or apparatus wherever possible by the use of proprietary lock-out devices. If we remove a fuse to make sure it cannot be reinserted, we will take it away or lock the box or enclosure until work is completed. This same will apply to any similar fuses in the area that could be inserted instead. We may also insert a lockable blank into the empty fuse way if one is available. When relying on locking off where there are numerous people working in the area, we may find it appropriate to use a multiple locking hasp attachment, lock out box or key safe to ensure that all the locks have to be removed before equipment can be re-energised. Everyone involved in the work will then apply a lock to the multiple locking hasp and keep personal possession of the key. Displaying Signs or Notices We will display signs or notices at the point of disconnection. Anything displayed will be easily understandable to anyone in the area. This is so everyone knows that work is being carried out. For example, this could be a simple ‘CAUTION’ sign so everyone knows that reenergising the apparatus could cause injury. In addition, we will attach danger notices to any live equipment adjacent to the work area or nearby to ensure it is clear that it is still energised. In addition, with these notices will provide the date and name of the person responsible for work in that area. Any signs, labels or notices will be removed when they no longer apply to the system. Proving the System Dead Once we have isolated the circuit or equipment, before we start work we will check that the parts to be worked on or near are really dead even where isolation has been achieved automatically through an interlocking system. Where it is a three-phase system or equipment with more than one supply, we will prove that all supply conductors are dead. Any instrument used to do this will be properly constructed to protect against electric shock and designed to prevent short circuits occurring during use. For low voltages we may decide that proprietary voltage detectors such as two-pole voltage detectors, test lamps, or voltmeters with insulated probes and fused leads may be appropriate to use. The use of multimeters, which can be set to the wrong function, will NOT be used for proving dead on low voltage systems, neither will the use of non-contact devices such as ‘volt sticks. It will be necessary to test any instrument before and after use. This may be done by means of a proving unit with a low power output. If live circuits are used to prove instruments, adequate precautions against electric shock and short circuits should be taken. Training in the correct use of voltage detectors is essential to avoid risk in the event of unexpected use on a live conductor. All instruments used for checking circuits should be maintained and inspected frequently. For underground cables that cannot be positively identified and proved dead, it may be necessary to spike the cable using a properly designed, cartridge-operated spiking gun. Earthing If the above precautions where to fail the consequences can be minimised by ensuring all the conductors are securely earthed using properly designed earthing devices or earthing leads in most cases applied to all points where the circuit or equipment is isolated from the supply. Additional local earths at the point of work may also be necessary if this is remote from the point of isolation. However, these will only be applied after proving dead at the point of work. Earthing low voltage equipment will be preferably if there is a risk of re-energisation for example from a generator under someone else’s control. In other low voltage equipment, it may be physically impractical to apply earths, or the risk of short circuit from introducing an earth near adjacent live parts may outweigh the benefit of earthing the apparatus being worked on. Care is always taken to ensure all supplies to the equipment are isolated, some equipment may have additional supplies under certain conditions e.g. where photo electric sensors only switch during the hours of darkness. Therefore, any proving check carried out in the day would mean the equipment may still become live in the evening. So it will always be proved that both supplies are dead. Live Nearby Parts When working on circuits or equipment or doing non electrical work we must still protect against danger from inadvertent contact with other live parts nearby. This will usually be done by erecting physical barriers and / or using temporary insulation and displaying ‘Danger’ signs. We will also provide adequate working space, access and lighting. - We will always work dead whenever possible if 'live' work is required a new risk assessment will be carried out and safe system of work devised, in writing and will include use of a Permit to Work system. - Access to live conductors will be controlled, and appropriate signs are to be in place. - Written information and instructions will be required for work on complex systems (control, metering & parallel circuits). - Electrical test equipment will be insulated and fused to required standard and in date for calibration. - Electricity supply authority seals will not be broken, and final connections will not be made without written authority. - For most equipment and circuits labelling is important. However, it is our policy that we will never assume that labelling is correct. - All circuits to be worked on will be treated as live until verified dead. There are no exceptions to this requirement; experience of employees is irrelevant. Therefore, we will not start work until it is first proved that the equipment or circuit is dead. - Any disconnection device used will have an isolation gap sufficient for the voltage levels that are likely to occur. - We will make sure that any switch disconnector or other means of disconnection is secure. - Switches, including circuit breakers, will be locked in the OFF position using a ‘safety’ lock (one with a unique key or combination) wherever possible. - Lockout devices that can be attached to the actuators of circuit breakers are available and will be used where appropriate. - All keys will be retained in a secure place. - Where a plug has been withdrawn, we will make sure that it cannot be reconnected to the electrical supply while work is undertaken on the circuits or apparatus wherever possible by the use of proprietary lock-out devices. - If we remove a fuse to make sure it cannot be reinserted, we will take it away or lock the box or enclosure until work is completed. - This same will apply to any similar fuses in the area that could be inserted instead. We may also insert a lockable blank into the empty fuse way if one is available. - When relying on locking off where there are numerous people working in the area, we may find it appropriate to use a multiple locking hasp attachment, lock out box or key safe to ensure that all the locks have to be removed before equipment can be re-energised. - Everyone involved in the work will then apply a lock to the multiple locking hasps and keep personal possession of the key. |  |
| Control Measures to Reduce Risks: Risk Control Systems (RCS) and Workplace Precautions (WP) Risk Control Systems in operation: Daily / Weekly inspections, Audits, Reviews, Safety Checks, Recording and Monitoring, Site Safety Tours. Workplace Precautions in operation: Safety Signs, Barriers, Fixed Fencing, Guards, Protective Equipment, Personal Protective Clothing, Overall Prevention Policies, Training, Toolbox Talks, Site Inductions, Risk Assessments and Method Statements. - Use work equipment or other measures to prevent falls where we cannot avoid working at height. - Where we cannot eliminate the risk of a fall use work equipment or other measures to minimise the distance and consequences of a fall should a fall occur. Other Precautions: All Electrical Tools used will be PAT tested, inspected and recorded. All electrical items on site will be 110v or below. Any above this must be fitted with an RCD device. Noise assessments will be carried out were applicable. The tools selected for use will not exceed the Meter per second calculation with personal exposure above 8hrs. Manual handling assessments to be completed where practical all loads above 25kgs will be carried by 2 operatives or mechanically transported. |  |
| Tools/Equipment/ Resources Required: 18v Battery tools to be used, sds drill, combi drill, hand tools Step ladders where required (avoid working at heights where possible) Regular tool box talks + training provided where required To be inspected twice weekly. See records in site file. Labour Site/lift supervisor, labourers Labour resources may fluctuate during the project. Confirmation of resources will be determined by workload and programme. | PPE Requirements: - Protective Clothing - trousers and minimum of tee-shirts to be worn - Hand/Arm Protection – Gloves (Mandatory) - Eye protection as per site rules (Mandatory) – Med/high impact goggles - Ear protection where levels exceed 85dba above 90dba (Mandatory) - Safety Boots with steel mid sole at all times (Mandatory) - Hi Visibility Clothing, as per site rules (Mandatory) – Must not be cut down |
| Access to the Place of Work Prior to commencement of work the site manager, supervisors and operatives and all other visitors on behalf of Hughie Construction Limited will attend a site induction. - Access to site for operatives will be controlled by entry and exit procedures. - All Hughie Construction Limited site operatives and visitors and representatives will sign in and out of site daily at the site office and use access control system - In accordance with Construction (Design and Management) Regulations 2015, The Principal Contractor will ensure a traffic management plan has been developed and implemented and that is clearly identified, and transport/plant and pedestrians are segregated by means of fixed barriers or other suitable means. - Main access to workface will be via main, most suitable entrance. If for any reason this is not possible, Principal Contractor will arrange access via an alternative route through designated walkways which will require a review of this method statement. - PC will supply suitable contractor site compound facilities. - Delivery vehicles will be guided to the lay down area within the compound with the aid of the vehicle marshal (banksman) following traffic route. All reversing of vehicles will be directed by a competent banksman and to be kept to a minimum - Delivery times will be sympathetic to traffic movements. - Deliveries should be prior booked with the transport co-ordinator. |  |
| Plant and Equipment to be Used Mechanical and Electrical *All tools and leads will be PAT tested and tagged and records kept in the site file. Portable battery-operated drills Class I & II laser levelling devices Mobile Tower Scaffold (BCL to erect and maintain) Battery Drills - All portable battery drills will be identified individually and is subject to planned maintenance and PAT tested. - Equipment supplied to site by hire companies and Hughie Construction Limited will be fit for its purpose with regard to voltage, power and environmental conditions. - All equipment found to be defective will be switched off and reported immediately. - Visual inspection of equipment will be carried out before use. - Only equipment operating at 110 volts or less will be permitted; higher voltages must be authorised in writing by management prior to use. - Operatives will be trained in the precautions and safe use of drills and will wear protective goggles and gloves when installing fixings. - Vibration assessments are instructed to each operative on the use of drills and the vibration rating and time limits of use. Laser levels 1. Laser beams will not be directed towards personnel or vehicles. 2. Laser equipment will be switched off when not in use. 3. Operatives will be trained in the precautions and safe use of lasers, in particular the laser beam should be terminated at the end of its path where reasonably practicable, and that they should not look deliberately into the laser beam 4. Equipment used on site will be Class 1 or Class 2 equipment only (Appointment of a Laser Safety Officer is required where high powered equipment is used) 5. Management will ensure that those using laser beams are trained, and that physical precautions are observed. |  |
| Materials Handling and Storage Distribution and Handling of Materials - Storage of materials will be at the workface. Storage area at workface is minimal. - All plant will be tested and inspected and supplied with current certification. Copies will be forwarded to PC. - Packaging will be stored on site in a safe manner away from the work faces and will be removed when emptied or reused when new deliveries arrive for storage and ease of transfer. - A look ahead programme will be used to estimate quantities of materials required. General Manual Handling TILE - Task - Individual - Load - Environment Does the task require: - Twisting of the trunk? - Stooping or poor posture? - Reaching upwards? - Holding or manoeuvring loads away from the trunk of the body? - Excessive carrying of loads? - Excessive lifting or lowering? - Excessive pushing or pulling? - A process forcing a rate of work? - Prolonged physical effort? - Insufficient rest and recovery? If you answer yes to any of the above questions, then the risk of manual handling injury is increased because of the task. ## Individual The second factor to consider is the individual. This is the person who will be doing the manual handling. Their strength and capabilities can have an impact, but so can knowledge of the load and task, along with training and experience. - Does the manual handling require a certain level of strength? - Does the activity require a person of a certain height? - Does the individual have a health problem? - Is the individual pregnant? - Have they been trained in safe manual handling and lifting technique? - Do they know how to handle the load properly? - Does this activity require any special information or training? |  |
| Power Sources and Isolations required include details of any Permit to Works (Hot work, Electric Isolations etc. - As described in the method of work. - Permit to engage in electrical works provided at beginning of project. |  |
| Training Requirements All personnel will be trained and fully competent within their scope of works as defined as those with the knowledge, experience and training to carry out the task in a safe manner. All training will be carried out to HSE/CITB/ or equivalent approved accreditation. - CSCS training and accreditation - The qualifications and competence of all persons carrying out electrical work will be verified by inspection of current certificates held of training/experience. - Before authorisation, operatives will be trained in IEE Wiring Regulations and the Electricity at work Regulations and guidance. - Before authorisation to carry out 'live' work, they will be trained in the safe working practices contained in Health & Safety Executive guidance, and in the operation of permit to work systems. |  |
| Hazardous Substances - Reference should be made to the COSHH Assessment manual based on site with the Hughie Construction Limited site manager for full details of safety requirements. |  |
| Supervision and Coordination of Activities - Hughie Construction Limited Site manager will control all site activities on a daily basis and his responsibility is to control the working area and interface Hughie Construction Limited activities with other trades and contractors who may be affected by our scope of works - Site emergency procedures must be strictly adhered with, and all site rules will apply. - The Site manager will have overall responsibility for the safe coordination of Hughie Construction Limited. - He will attend safety coordination meetings held and will liaise with the Principal Contractor and all other contractors to ensure all work can be carried out in a safe manner. - He will highlight any unsafe conditions or actions and will inform site management team. |  |
| Environmental Considerations Site environmental considerations issued by the principal contractor must be adhered to at all times as this is a sensitive area the site rules and conditions must be maintained at all times. - Under no circumstances must any waste materials, fuels or any other contaminate be allowed to enter the drainage system. Clean out of containers will only be permitted in accordance with procedures for controlling spillage and disposal waste. - Containers will be cleaned out at the end of each shift by the competent operator and disposed of into the waste skips provided. All waste will be segregated prior to placement into skips. - Hughie Construction Limited will supply spill kits for use by our operatives. - All insulation and package materials must be kept from entering drainage systems. - These include for general waste, timber, waste plastics and cardboard etc. and special waste. - Noise will be kept to a minimum whilst on site. - Foul and abuse language will not be tolerated, and operatives found using such language or gestures will be removed from site immediately. |  |
| Fire and Emergency Procedures - The fire and emergency plan and procedures given at the site induction will be strictly adhered to during the project and all site operatives will adhere to the information given. - Under no circumstances must any appliance or alarm for the use in the event of an emergency be tampered with and any abuse of such equipment will result in the offender being removed from site permanently. - When any alarm is sounded the operatives must observe the evacuation criteria and will down tools and make their way to the nearest assembly point for the site head count and will not return to the workface until the all clear has been given by the site management emergency coordinator. |  |
| Protection of the Public Hughie Construction Limited traffic must be kept to a minimum and local traffic around the perimeter of the site must be treated with care. Road safety is paramount. Fencing provided by the Principal Contract must not be removed unless specific authority has been given and must be replaced immediately after completion of the task required. |  |
| Waste Disposal Arrangements - Any debris will be collected (at daily intervals as a minimum) and will not be allowed to accumulate and disposed in accordance with Health Safety and Environment Plan procedures. - Skips are to be provided and waste will be segregated and disposed into the relative skip for that waste. Following each working shift, the debris will be removed and deposited into the skips provided during the working day. - Skips will be provided, and an appointed licensed waste carrier will remove all accumulated waste to an authorised waste disposal agency as per contract agreement. Transfer notes will be retained on site. |  |
| Review of Method Statement The Hughie Construction Limited site manager responsible for the works will ensure that the work area has been inspected and is free from risk of injury or that suitable and sufficient measures have been taken to comply with current health and safety legislation prior to any work being undertaken. All operatives will attend induction training and receive the method statement explanation and issued with task specific instruction/toolbox talks. Method statements and all the above-mentioned assessments will be closely monitored for compliance and where a safer alternative to the system of work can be improved, the method statement will be updated accordingly and the agreed system adopted. Hughie Construction Limited site manager will ensure all operatives involved within the package works understand the method statement and risk assessment. Method Statements and risk assessments to be updated to reflect any changes in working practices or methods. No works will proceed until approval has been confirmed. Any amendments required to be incorporated & subsequently approved prior to work commencing. Approval will be required in writing. The company will encourage any new initiatives to a safer system of work by consultation with the work force, Supervisors and Managers for continuous improvement. |  |
| Communication of Risk Assessment and Method Statement - All operatives will be instructed of the risk assessment and method statement for their scope of works as part of the Toolbox Talk procedures prior to commencing work. - They must ensure they fully understand the work involved, the hazards and the level of risk they may be exposed - Following instruction, they each must sign the register attached - Each operative must work to the method statement, any deviation must be authorised by the Hughie Construction Limited site manager and in agreement from the Principal Contractor. - Any operative not working to the specific method statement will be subject to disciplinary action. |  |

Approved by – ( Printed Name & Signature ):

Richard Kirk (Managing Director)

Review date: 21/08/2025

| Emergency Contacts | Name | Contact Number |
| --- | --- | --- |
| Director | Richard Kirk | 07496 098997 |
| Safety and Environment Advisor | Pearson Holland Management Services | 01924 211211 |
| Off Site Emergency Number | Head Office | 01226 212055 |
| Out of Hours/24 hr Emergency Number | Head Office | 01226 212055 |

Revision of Method Statement Details

| Revised by | Date of Revision | Authorised by |
| --- | --- | --- |

| Risk Assessment & Method Statement Register |  |  |
| --- | --- | --- |
| ### Date | Names | Signature(s): |