Proposed plan for internal and external alterations for Bryan Mangham and Dawn Dunbar. The Long Barn, 134 Genn Lane, Worsborough, Barnsley, S70 6NW.

- Replacement of single glazed perished timber windows throughout the building. Will replace with UPVC slim line aluminium wrapped double glazed units in sage green.

- Conversion of garage into kitchen/dining room. Removal of 2 internal walls and doors as per drawing.

- Multi fuel log burner added to new dining/kitchen with external black flue pipe.

- External boundary wall added built in stone to match existing.

- Replacement concrete drive with red clay block paving 200mm x 100mm in Herringbone pattern.

- Upstairs – removal of none load bearing wall constructed of timber and plasterboard to create a larger bathroom with shower.

- Block up bedroom 3 doorway in order to create a larger bathroom.

- En-suite to master bedroom. Built from stud partition and plaster board with ceramic tiled floor with a white toilet and shower.