PLANNING CONSULTATION RESPONSE

| Application No | 2026/0294 |
| --- | --- |
| Proposal | Discharge of conditions 4 (Levels), 5 (Boundary Treatments), 6 (Broadband), 8 (Drainage), 16 (Dust Management), 17 (Noise Management), 18 (Coal Mining) and 20 (Tree Protection) of application 2022/0321: Erection of 4no detached dwellings and associated works. |
| Address | Land adjacent The Stables, Pantry Hill, Worsbrough Dale, Barnsley, S70 4RP |
| Date of Consultation Reply | 29/04/2026 |
| Consultee | Pollution Control |

| Consultation Assessment and Justification |  |  |
| --- | --- | --- |
| The associated documentation has been reviewed and the location and risks have been assessed and my comments are as follows: The dust and noise controls detailed in the Construction Environment Management Plan are mainly focussed on the health and safety of workers. The purpose of conditions 16 and 17 was for the applicant to demonstrate how dust and noise will be mitigated during construction, to ensure there are no adverse impacts on nearby residents. Further, more detailed information is required. |  |  |
|  | Defer for amends/further information* |  |
| *Delete as applicable |  |  |
| Consultation Suggested Conditions: n/a |  |  |
| Consultation Informative(s): It is recommended that measures are taken to prevent a nuisance/or affect the quality of life of local residents. Please note that the Council’s Pollution Control Team have a legal duty to investigate any complaints about noise, smoke, odour, light or dust. No waste should be burnt. If a Statutory Nuisance is found to exist, they must serve an Abatement Notice under the Environmental Protection Act 1990. Failure to comply with the requirements of an Abatement Notice may result in a fine of up to £20,000 upon conviction in Magistrates' Court. It is therefore recommended that you give serious consideration to the steps that may be required to prevent a noise, light, odour, dust or smoke nuisance from being created. |  |  |
| Planning Obligations required: n/a |  |  |