


Conditions 5, 6 and 17
Condition 5
No new build development shall commence until a representative sample of all external materials shall be submitted to, and approved in writing by, the Local Planning Authority, and the development shall proceed in strict accordance with the details as approved.
Condition 6 
No new build development shall commence until a representative example showing the face dressing, jointing, and pointing details shall be provided by the construction of a one metre by one metre sample panel. Construction will not commence until this sample panel has been approved in writing by the Local Planning Authority. The development shall proceed in strict accordance with the details as approved and shall be retained on site for the duration of the works. 
Condition 17 - The roof shall be covered by natural sandstone roofing slate.

Response
I have spoken and discussed the dependent external materials with Tony Wiles. Tony has confirmed the suitability of the details of the materials provided by good quality photographs of the following: 
· Stone walling samples
· stone slate samples
· ridge tile samples
· Cedar cladding samples
· Zinc sample to be used on the eastern and western upper floor reveals and, on the plant, utility area.
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