Following up as discussed, the area of low tarmac will need replacing to bring the surfacing up to correct (or good) line and level.

The plan below is a rough area that is required. As mentioned, I reckon that it could be ‘profile’ planed to then allow a full 30mm over lay to the area.

Also, I’m happy for you to apply for the post works condition survey to be discharged. After an inspection on Wednesday I cannot find any extra damage that is contributable to your works. Areas adjacent the fuel station and coffee shop will be picked up in remedials by Sangwin on behalf of Carnell Management Services.