Operational Services

Assistant Director:  P. Castle

PO Box 601, Barnsley, S70 9FA

F.a.o Keiron Dunn

Development Control,

Planning and Transportation

IG 2016/0302

6th April 2016

Application Number 2016/0302

Erection of dwelling and garage with alterations to existing access

Old Quarry Site, Common Road, Brierley, Barnsley, S72 9ED

Keiron,

The plans attached show no proposals for the drainage of this site, with the application stating foul to “Mains” and surface water to “soakaway”.

Whilst this is not very helpful in allowing me to make constructive comments, due to the limited scope of the works and the fact that the area is remote from local sewers, I consider that a conditional approval is appropriate in this case.

H4 - No development shall take place unless and until

(a)	full foul and surface water drainage details have been submitted to and approved in writing by the Local Planning Authority. Thereafter no part of the development shall be occupied or brought into use until the approved scheme has been fully implemented. The scheme shall be retained throughout the life of the development unless otherwise agreed in writing with the Local Planning Authority.

(b) 	porosity tests are carried out in accordance with BRE 365, to demonstrate that the subsoil is suitable for soakaways

and

(c)    Calculations based on the results of these porosity tests to prove that adequate land area is available for the construction of the soakaways.

are all approved in writing by the Local Planning Authority @ To ensure the proper drainage of the area

Regards

Ian Grayson

Senior Engineer – Drainage and Highways

Network Resilience and Asset Management