|  |  | My Ref: | 2017/0723 |
| --- | --- | --- | --- |
| Hamish Gledhill |  | Your Ref: | HG/JC/2423 |
| Acumen Architects |  | Date: |  |
| Headrow House |  | Enquiries to: | Hannah Andrew |
| Old Leeds Road |  | Direct Dial: | 01266 775752 |
| Huddersfield HD1 1SG |  | E-Mail: | hannahandrew@barnsley.gov.uk |

Dear Hamish,

Discharge of Conditions 3, 4, 6, 7, 12 and 14 of app 2016/1381

Conversion of former public house into 7 apartments and erection of 2 detached dwellings

I write with regards to the discharge of condition application and can confirm that the information provided in sufficient to discharge conditions as follows:

Condition 3 – the materials submitted (Marshalls Old Mill Brick, Greys Artificial Stone Slate and coarse natural stone quoins and Ashlar Stone cills and jams) is acceptable and this condition is discharged.

Condition 4 – the details as shown on Landscaping and Boundary Treatment Plan ref: 2423-20A is acceptable and this condition is discharged.

Condition 6 - the details as shown on Landscaping and Boundary Treatment Plan ref: 2423-20A is acceptable and this condition is discharged.

Condition 7 – the details provided in the BS 5837 Arboricultural Report and Method Statement (09698,amended), accompanying Tree Schedule and, Tree Removal Plan Ref: CCl 09698 / TPP Rev 2 is acceptable and this condition is discharged.

Condition 12 – the construction method statement provided and Construction Method Plan (ref: 2423-21A) is acceptable and this condition is discharged.

Condition 14 – the drainage design and calculation report (ref: 2017-025-Report-Rev A) is acceptable and this condition is discharged.

Yours sincerely

Hannah Andrew

For and on behalf of:

Joe Jenkinson BA (Hons) MSc

Head of Planning and Building Control

www.barnsley.gov.uk/developmentmanagement