PLANNING CONSULTATION RESPONSE

| Application No | 2026/0166 |
| --- | --- |
| Proposal | Erection of 3 x retail units (Use Class E) with car parking, EV charging points and associated works following the demolition of the existing buildings/structures |
| Address | Land west of Brampton Road, Wombwell, Barnsley |
| Date of Consultation Reply | 18/08/2026 |
| Consultee | Pollution Control |

| Consultation Assessment and Justification |  |  |
| --- | --- | --- |
| The associated documentation has been reviewed and the location and risks have been assessed and my comments are as follows: This development has the potential to have an adverse impact on health and quality of life of those living and/or working in the locality. Although a Noise Impact Assessment has been submitted, the detail of plant is unknown at this stage. The Supplementary Planning Document – Hot Food Takeaways (March 2026) requires a noise impact assessment and an odour impact assessment to be carried out for new developments. Attenuation in the form of an acoustic barrier is required to the boundaries indicated in the noise impact assessment. Timing of deliveries must be restricted to daytime hours to avoid significant adverse impacts. |  |  |
| NO OBJECTION* |  |  |
| *Delete as applicable |  |  |
| Consultation Suggested Conditions: During works, construction or demolition related activity shall only take place onsite between the hours of 0800 to 1800 Monday to Friday and 0900 to 1400 on Saturdays and at no time on Sundays or Bank Holidays Reason: To reduce or remove adverse impacts on health and quality of life, especially for people living and/or working nearby, in accordance with Local Plan Policy POLL1 There shall be no burning of any material on the development site during the demolition and construction phases. Reason: To reduce or remove adverse impacts on health and quality of life, especially for people living and/or working nearby, in accordance with Local Plan Policy POLL1 Prior to any work commencing, the applicant shall submit to the Local Planning Authority for their approval a dust management plan detailing how they will control dust during construction and demolition. Once approved the applicant shall adhere to the dust management plan at all times. Reason: To reduce or remove adverse impacts on health and quality of life, especially for people living and/or working nearby, in accordance with Local Plan Policy POLL1 The use of the three units associated with the development shall be limited to 07:00 – 23:00 on any day. Reason: To reduce or remove adverse impacts on health and quality of life, especially for people living and/or working nearby, in accordance with Local Plan Policy POLL1 Prior to the use of any external fixed plant within the proposed development, a noise impact assessment shall be undertaken to determine the cumulative noise impact from all external fixed plant associated with the development. The assessment would seek to demonstrate that the Rating Levels arising from noise generated by any fixed plant and equipment would not exceed the levels set out in the report “Proposed Redevelopment of Former Petrol Filling Station” produced by Sound Solutions dated 26 February 2026, ref: 43356-R1. If the levels are not achieved, mitigation measures shall be identified and implemented to reduce the impact to the specified levels. The assessment must be carried out by a suitably qualified acoustic consultant/engineer and follow the principles contained in BS 4142:2014 Methods for rating and assessing industrial and commercial sound. The results of this assessment shall be submitted to and approved in writing by the Local Planning Authority. The approved details shall be fully implemented before use of the plant commences and shall be thereafter maintained, unless otherwise agreed in writing by the Local Planning Authority. Reason: To reduce or remove adverse impacts on health and quality of life, especially for people living and/or working nearby, in accordance with Local Plan Policy POLL1 A sound barrier to the boundaries specified in the report “Proposed Redevelopment of Former Petrol Filling Station” produced by Sound Solutions dated 26 February 2026, ref: 43356-R1 shall be implemented and adequately maintained thereafter. Reason: To reduce or remove adverse impacts on health and quality of life, especially for people living and/or working nearby, in accordance with Local Plan Policy POLL1 No deliveries or collections, including waste collections, shall be carried out at the units after 23:00 or before 07:00 on any day. Reason: To reduce or remove adverse impacts on health and quality of life, especially for people living and/or working nearby, in accordance with Local Plan Policy POLL1 Prior to the use of any extraction units associated with the development an Odour Impact Assessment shall be carried out by a competent professional. The Odour Impact Assessment shall include full details of the extraction system including the internal and external layout, together with details of any necessary odour abatement measures. The results of this assessment shall be submitted to and approved in writing by the Local Planning Authority. The approved details shall be fully implemented before use of the plant commences and shall be thereafter maintained, unless otherwise agreed in writing by the Local Planning Authority. Reason: To reduce or remove adverse impacts on health and quality of life, especially for people living and/or working nearby, in accordance with Local Plan Policy POLL1 |  |  |
| Consultation Informative(s): It is recommended that measures are taken to prevent a nuisance/or affect the quality of life of local residents. Please note that the Council’s Pollution Control Team have a legal duty to investigate any complaints about noise, smoke, odour, light or dust. No waste should be burnt. If a Statutory Nuisance is found to exist, they must serve an Abatement Notice under the Environmental Protection Act 1990. Failure to comply with the requirements of an Abatement Notice may result in a fine of up to £20,000 upon conviction in Magistrates' Court. It is therefore recommended that you give serious consideration to the steps that may be required to prevent a noise, light, odour, dust or smoke nuisance from being created. |  |  |
| Planning Obligations required: n/a |  |  |