R Fisher

Hillside Barn

Thurlstone

Sheffield

S36 9QJ

Present building.

Drawing reference 	001		Front elevation (view from road)

002		Rear elevation

003		End elevation

With proposed extension.

004		Front elevation

005		Rear elevation

006		End elevation

007		existing and extended profile views

008		internal room layout

Drawing information.

001.

Walls constructed of coursed stone.

Roof constructed of stone slates.

Windows upvc frames with double glazed units, frame colour brown wood effect.

002.

Walls constructed of blue engineering brick.

Roof constructed of stone slates.

Windows upvc frames with double glazed units, frame colour brown wood effect.

Doors constructed of soft wood with single glazed glass panels.

003.

Walls constructed of part stone and part blue engineering brick.

Windows upvc frames with double glazed units, frame colour brown wood effect.

004.

Extension to be constructed of coursed stone to match existing stonework.

Roof to be constructed using existing stone slates, where new needed, slates to match existing roof.

Large barn window to be constructed of softwood, fitted with double glazed units.

005.

Extension to be constructed using coursed stone to match front elevation of building.

Roof to be constructed using existing stone slates, where new needed, slates to match existing roof.

2nd floor extension window, full height French doors.

006.

Extension to be constructed using coursed stone to match front elevation of building.

007.

Profile views existing and extended

Windows and doors to the entire building to be replaced, using upvc double glazes units. (Large barn window soft wood)