Operational Services

Assistant Director:  P. Castle

PO Box 601, Barnsley, S70 9FA

F.a.o Keiron Dunn

Development Control,

Planning and Transportation

IG/ 2016/0005

20th January 2016

Construction of single storey extension and canopy with alterations to road entrance and provision of further car parking spaces and cycle store.

30 Commercial Road Goldthorpe Industrial Estate Goldthorpe Barnsley S63 9BL

Keiron,

I refer to your memo dated 20th January 2016  and would inform you have now examined the proposals submitted by Mr. Peter Oldfield., with respect to temporary and permanent drainage of this site.

I would confirm that in my opinion the details provided are sufficient and that I have no further observations to make with respect to land drainage. I am happy for the details to be checked by building control.

Regards

Ian Grayson

Senior Engineer – Drainage and Highways

Network Resilience and Asset Management