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METHOD STATEMENT

PROCESS
Storage of plant and materials used in the Constructing the development
METHOD
1. Thoroughly read through risk assessment and be aware of any site specific instructions that need to be complied with.
2. All plant equipment will be stored within the building
3. Materials will be stored within the development leaving space for delivery bays and minimal parking in front of the development.
4. Materials that will be delivered to site will be dropped dealt with on arrival and stored within the development to ensure on going safe access is maintained.
MEANS OF SAFE ACCESS
[bookmark: _GoBack]Access to the working area will be via the front/rear doors of the premises and also hoist/stairs in through the flat roof door at FF level.

PERSONAL AND RESPIRATORY PROTECTIVE EQUIPMENT
Tradesmen will be provided with necessary PPE and RPE by Whitshaw Builders Ltd. including ear
defenders, protective gloves, gauntlets, eye protection, hard hat, safety boots, high
visibility vest, knee pads and respirator/dust mask. Tradesmen will wear high visibility vest and safety boots at all times on site. Specific PPE requirements are detailed in the method statement above.

Tradesmen will assess the need for using additional items for each part of the operation and have
been trained to do so. Any mandatory site safety requirements will be complied with.
ELECTRICAL EQUIPMENT
110 volt equipment only will be used. This is to be visually inspected for damage by tradesmen atthe commencement of each working day and to be within test date.
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