Construction Environment

Management Plan (CEMP)

Land adjacent the Stables, Worsborough, Barnsley S70 4RP

Client: Lanneth Developments Ltd

September 2024

The CEMP addresses condition 16 & 17 of planning application 2022/0321

Dust Control Measures

Consideration will be given to constantly ensuring dust is kept to an absolute minimum. Full

risk assessments and method statements will highlight the control measures used to control

dust, with due care and attention made to ensuring dust does not become airborne

Measures to be used for dust control will be damping down working areas were

construction dust is prevalent, and the use of dust extraction equipment can significantly help

to reduce the amount of silica dust in the air; combined with the use of appropriate masks

can significantly help to prevent inhalation of the dust which can lead to debilitating lung

disorders, pulmonary disorders, breathing difficulties, some types of lung cancers and death.

Control measures to include, but not limited to: -

1. At no time should compressed air be used for blowing dust or swarf from

clothing, skin or for ventilation purposes. It may only be used to clean down

machinery if there is a safe working procedure in place and no other more

suitable method is practical. It is particularly dangerous to direct a jet of

compressed air at the body as this may introduce air into the bloodstream,

produce serious eye injury or cause a burst eardrum. Pipe connections will be

appropriate for high-pressure work, standard worm driven hose clips are not

acceptable for this purpose. Where compressed air is used, a suitable risk

assessment will be completed to identify all hazards and implement controls from

those activities requiring the use of compressed air.

2. Suitable dust masks, complete with face fit testing certification, will be

provided under a risk assessment for the task, dependant on the risk assessment

findings and activities of dust production

3. Regular cleaning of working areas to prevent dust from travelling too other

areas

4. All dust shall be removed by vacuum cleaner with high efficiency (HEPA) filter

or collected at the point of generation using extraction

5. On site carpenters to have designated cutting area

6. No dry sweeping as a general rule. Sweeping will only be done when it is not

feasible to use a vacuum cleaner. In this case, the area will be dampened down

or mopped in small sections and swept immediately to prevent slip hazards

7. Manufacturers recommendations for cleaning and replacing filters will be

followed and PPE will be worn during cleaning of the vacuum/ filter

8.During dry periods, water will be sprayed on areas plant and machinery are travelling.

Noise Control measures

1. We shall comply with the Noise at Work Regulations 2005. All trade

contractors will be required to include a noise and vibration risk assessment with

their method statements.

2. Noisy operations will be risk assessed and noise levels over 80dB will require

measures to protect operators working in the area and others.

3. Suitable PPE will be made available, such as ear defenders and ear plugs,

along with information on their use. Levels over and above 85dB, will require

assessment and hearing protection will be mandatory.

4. Signage will also be erected to warn of noisy operations. Access will be

restricted.

5. any generators will be silenced and where possible used behind sound reducing screens.

6. site equipment and plant will only be operated within the hours set in the planning approval.