FLOOD RISK ASSESMENT

Proposed Extension to Side & Rear of 59 Church St, Darton. S75 5HQ

- Introduction

  - Barnsley Metropolitan Borough Council Planning Department have requested a Flood Risk assessment (FRA) be carried out for this development due to its proximity to Flood Risk Zone 3 as shown on the Environment Agency’s (EA) map (flood-map-planning-2024-04-23T20_54_36.518Z)

- Flood Risk Assessment

  - The proposed development is to extend the existing property to the rear aspect as shown in the drawings listed in Appendix A

  - Guidance advises that the planning system ensure that new developments are safe from unnecessary flooding by considering flood risk.

  - Guidance advises that the EA’s indicative Flood Plain Maps represent the best available data on the current extent of flood risk, but notes that these are only indicative and are based on approximate events of floods with a high probability of flood occurrence.

  - According to the EA’s Flood Plain Maps the site is in Flood Zone 3. All of the building & extension is in this zone. The area did become at risk during the recent floods of 2007.

  - EA data confirms that between 2025 and 2069 there is a High chance of flooding to 30cm and that between 2036 and 2069 this stays at a High chance of flooding to 30cm. However, present day forecasts show a low chance of flooding to 60cm

- Conclusions & Recommendations

  - The FRA confirms and accepts that the proposed site boundary is within Flood Zone 3 and is therefore considered at risk. Additional measures are required.

The proposal is vulnerable to flooding and the probability is high. The river that exists to the rear of the site boundary, which is the source of the flood risk, is several meters lower than the proposed floor level of both the existing house and proposed extension, but flood events in the past have breached the dpc of this property, causing significant damage and risk to life.

Existing emergency temporary flood barriers are already installed to the existing property at doors and windows. This strategy will be reinforced and applied to the proposed extension as well as the openings in the new boundary wall. This will consist of demountable flood barriers (stormguard or similar) which can be deployed quickly in the event of a flood warning. The Client is already signed up to the EA’s flood warning alerts.

A Flood Plan will consist of a set of actions;

- To turn of gas and electricity supplies

- Move persons, pets and important items upstairs

- Deploy flood barriers

- Follow further advice from flood alerts (ie evacuation)

- Further advice can be found online at https://www.gov.uk/government/publications/personal-flood-plan/personal-flood-plan

If flooding sets in before evacuation can be actioned, there is a designated rescue area outside the main bedroom window (rear elevation). This is an area of flat roof which can be accessed from a full height, fully opening window. Residents can safely await rescue above the flood waters.

The boundary wall will enclose the garden perimeter to the North & West  sides of the property, consisting of a tanked water resistant wall construction below ground to direct around water around the property. Wall construction will include water resistant additive in the mortar.

The main North proposed elevation will include a drainage channel set at ground level to carry flood water to the drainage system discharging into a sealed water tight manhole to act as a secondary defence along with the flood barriers. The existing roller shutter door to the front elevation (previously the Post Office shop door) presents a major point of water ingress currently. The proposal is to close this opening to a height of 1.1m and add a window (see Drawing A103, Front Elevation).

Finally, all electrical outlets on the ground floor will be installed at 1 meter AFFL as a final defensive measure in the event of flooding breaching all other defences.

Unfortunately, the ground level of the property (DPC) cannot be raised and there is no space for flood storage compensation. Therefore, these measures listed are the best mitigating factors that can be applied. The proposal significantly increases the property’s flood defences well beyond what they are currently capable of withstanding.

Appendix A

Drawings relating to and submitted alongside this FRA are as follows;

NCBD-HLD-A101

NCBD-HLD-A102

NCBD-HLD-A103

NCBD-HLD-A104

NCBD-HLD-A105

NCBD-HLD-A106

NCBD-HLD-A201

NCBD-HLD-A202

NCBD-HLD-A203

NCBD-HLD-A204

NCBD-HLD-A205

NCBD-HLD-D101

NCBD-HLD-D102

NCBD-HLD-D103

NCBD-HLD-R101