PLANNING CONSULTATION RESPONSE

| Application No | 2025/0997 |
| --- | --- |
| Proposal | Demolition of existing structures and outline planning application for up to 200 dwellings with associated infrastructure and open space. All matters except for means of access to, but not within, the site to be reserved. |
| Address | Low Valley Farm, Pitt Street, Darfield, Barnsley, S73 8AX |
| Date of Consultation Reply | 15/12/2025 |
| Consultee | Highway Drainage |

| Consultation Assessment and Justification |  |  |
| --- | --- | --- |
| There are drainage details shown on the plans submitted, with the application form describing foul to discharge to “Mains” and surface water to “Mains”, I consider that a conditional approval is appropriate in this case. . |  |  |
| NO OBJECTION* |  |  |
| *Delete as applicable |  |  |
| Consultation Suggested Conditions: H4 - No development shall take place unless and until full foul and surface water drainage details, including Yorkshire Water Permission to discharge, have been submitted to and approved in writing by the Local Planning Authority. Thereafter no part of the development shall be occupied or brought into use until the approved scheme has been fully implemented. The scheme shall be retained throughout the life of the development unless otherwise agreed in writing with the Local Planning Authority. To ensure the proper drainage of the area H5 No piped discharge of surface water from the application site shall take place until works to provide a satisfactory outfall for surface water have been completed in accordance with details to be submitted to and approved by the local planning authority before development commences. @ To ensure that the site is properly drained. |  |  |
| Consultation Informative(s): |  |  |
| Planning Obligations required: |  |  |