PLANNING CONSULTATION RESPONSE

| Application No | 2025/0982 |
| --- | --- |
| Proposal | Erection of steel frame agricultural feed and vehicle store |
| Address | Byre Cottage, 7 Midhope Court, Mortimer Road, Midhopestones, Sheffield, S36 4GW |
| Date of Consultation Reply | 9th December 2025 |
| Consultee | Highways DC |

| Consultation Assessment and Justification |  |  |
| --- | --- | --- |
| The proposed development falls within the site curtilage of Byre Cottage and takes access off the A616. The proposed agricultural building would be used for the storage of agricultural feed and vehicles. It is stated within the supporting information that the applicant currently utilises storage areas remote from the site and that agricultural feed and equipment is transported by the applicants’ vehicles which requires the undertaking of frequent trips. As such, it is indicated within the Design and Access Statement that the proposals would result in a decrease in vehicular movements to and from the site. The proposed size of the agricultural building along with its positioning towards the western boundary would result in adequate parking and turning provision being retained within the site. In view of the above, it is considered that the proposals would not result in an unacceptable impact on highway safety. As such, I do not wish to raise an objection from a highways point of view; should you be minded to grant permission, I would be grateful if you could include the following conditions and informative notes: |  |  |
| NO OBJECTION |  |  |
| Consultation Suggested Conditions: The access, parking and manoeuvring facilities, indicated on the submitted plan, shall be surfaced in a solid bound material (i.e. not loose chippings) and made available for the access, parking and manoeuvring of motor vehicles prior to the development being brought into use, and shall be retained for said purposes at all times. Adequate measures shall be so designed into the proposed vehicular areas to avoid the discharge of surface water from the site on to the highway. Reason: To ensure that there are adequate parking facilities to serve the development which are constructed to an acceptable standard; to ensure adequate provision for the disposal of surface water and to prevent mud/debris from being deposited on the public highway and to prevent the migration of loose material on to the public highway to the detriment of road safety and in accordance with Local Plan Policy T4 New Development and Transport Safety. Any gates shall be hung so as to only open inwards and be permanently retained as such for the lifetime of the development. Reason: To ensure the safe and unobstructed use of the adopted highway is maintained in accordance with Local Plan Policy T4 New Development and Transport Safety. |  |  |
| Consultation Informative: The applicant/contractor should note that to deposit mud/debris on the public highway, or anything which may cause a nuisance or possible danger to road users, is an offence under provisions of the Highways Act 1980. |  |  |
| Planning Obligations required: – |  |  |