FTAO: Mike Healey 

Architect
IBI Group
One Didsbury Point

2 The Avenue

Manchester   M20 2EY  United Kingdom

tel +44 161 696 4980  fax +44 844 774 5012
Email:  Mike Healey <mike.healey@ibigroup.com>
Web:   https://www.ibigroup.com/
[image: image1.png]South Yorkshire

POLICE





BREEAM Security Needs Assessment HEA 06
	Application No
	2017/0586

	Proposal
	Mixed use development of land adjoining Barnsley Markets following demolition of

part of existing market hall and multi storey car park to provide new retail/food and

drink (Use Classes A1, A3), cinema and leisure use (Use Class D2), new multi

storey car park and service road, with access to/from Lambra Road.

	Address
	Barnsley Markets and adjoining land, Cheapside, Barnsley


Ref; 2017/0586
Our Ref: B/57/20
Date 12th February 2020
Dear Mike
Thank you for giving South Yorkshire Police ‘Designing Out Crime Officers’ the opportunity to review this planning application.
I attended the site on 11th February 2020 and met with the Project Director Stephen Green, the Project Planner Mark Rowbottom and yourself, we viewed the plans and discussed the security aspects in light of the data below, to ensure that any recommendations were appropriate, realistic and cost effective.

Planning Decision Notice 2017/0586 makes mention of Condition 21 which refers to “responding to the recommendations of South Yorkshire Police Crime Reduction Officer”. I can concur that any recommendations that have been made by the South Yorkshire Police Crime Reduction/Design Out Crime Officers’ have been considered and where applicable acted upon without reserve.
The principles of BREEAM, Safer Carparks were fully considered and aligned with the comments below.
The original documentation submitted under this application clearly showed that the developer considered various facets of good design. 
Whilst there are clear references to safety and security (from a preventive aspect) the design shows knowledge of what is required to mitigate against the more common types of offence.
It is now widely accepted that a reduction in both crime and disorder has a positive effect sustainability. 
After researching recent and historic crime data at this immediate location using

Open source sites, Police.uk and ONS websites together with South Yorkshire Police information systems I have obtain details of local crimes and incidents.  
These details have been used to ascertain the possible type and number of crimes, which may impact on the development and its users.  
Information from both the open sources are fully audited Government controlled sites and provide reliable sources of information in respect of this particular area of Barnsley.
Commercial sites in the immediate vicinity have experienced various criminal activities

This advice within this report is provided to ensure the physical protection elements of the development are to current minimum standards. This advice should be acted upon as the minimum requirement and should be enforced, irrespective of any additional correspondence (or not) received by other departments within South Yorkshire Police. From a physical protection aspect, a requirement to install products accredited under a British (or similar) standard should be seen as a prerequisite to any approval.
Crime and Disorder Issues

There have been very few incidents of recorded crime at this site from 2017 to date. 
However, the site has experiences instances of youths gaining entrance to the building, this has been remedied with the use of additional Contracted site security staff.
Please be mindful that there have been impromptu instances nearby where members of the ‘Travelling Community’ have encamped in carparks adjacent to commercial buildings.
Recommendations for this site to suit Planning and BREEAM
It is recommended that as Secured by Design was not part of the original design intent, attention and consideration should be given to the following areas:-

· Doors (where possible) are to comply with PAS24’2012 or STS 204 or LPS1175SR2 (or equivalent) as a minimum.
· Windows (including any curtain walling) under 2.4m in height are to comply with the PAS24 specification (where the PAS specification is a draft British Standard).

· Lighting. As per sections 11 & 39 of the attached document.
· CCTV I would recommend that any external CCTV systems should comply with BS 62676

· Defending the site from unwanted ‘Traveller’ encampment should be considered for this area, including during the construction phase, consider the use of raised earth mounds around the parking areas, the entrance could be protected by strategically placed boulders or concrete blocks.

· Any cycle storage containers should be certificated to LPS 1175: Issue 7, SR1/2 or Sold Secure SS314 ‘Bronze’
Paragraphs 9, 10 and 11 of the PPG all allude to the requirement of designing out crime. Indeed, paragraph 10 reinforces the need to consider Section 17 of the Crime and Disorder Act as a necessary requirement within the Planning Officers ‘everyday business’.

The BREEAM Assessment criteria regarding ‘Safe access’ and the ‘Security of Site and Building’ have been complied with.

Optional
Further to my recommendations the client may wish to pursue additional Secured by Design measures. Also, I suggest that an application to gain the ‘Safer Car Park’ accreditation would be well received and looked favourably on.
 https://www.securedbydesign.com/images/downloads/SBD_Commercial_2015_V2.pdf
I have attached the SBD commercial requirements, although it is dated 2015 it is still current with the exception that where it mentions LPS 1175 Issue 7, they have recently changed this to LPS 1175 Issue 8.
Registration for Secured by Design Developer’s award can be found at www.securedbydesign.com
Should you wish to discuss these recommendations or require further details on any of the points mentioned in this report please contact me on the details below.

Kind Regards
Barry ‘Jack’ Regan
Designing out Crime Officer
South Yorkshire Police

The HUB
Safer Neighbourhood Services

Barnsley

S70 2DL

Email: barry.regan@southyorks.pnn.police.uk

