Eaden’s 3 Noise Management Plan

- Introduction	2

- Potential Noise Sources	2

- Site Description and Nearest Noise Sensitive Locations	3

- Details of Noise Policy	3

- Noise Complaints Procedure	5

- Complaint Reporting	6

# Introduction

  - The purpose of this plan is to outline robust policies and procedures to minimise the potential noise impact on local residents, and to satisfy the requirements of the Local Authority.

  - This plan identifies potential noise sources, noise management policies, and communication and complaints procedures.

  - It is the responsibility of the nominated noise monitoring supervisor to ensure the detailed policies and procedures are adhered to.

# Potential Noise Sources

  - Potential noise sources identified:

    - The performance of live music

    - The playing of recorded music

    - People arriving / leaving the premises

    - The deliveries and collections onsite

    - The extraction fan and condensing unit

    - Customers standing outside smoking/ vaping

# Details of Noise Policy

  - The nominated noise monitoring supervisor to regularly monitor the outside area every 10 minutes

  - A noise limiting device will be in situ for recorded and live music to measure ambient sound levels set inside the premises

  - Speakers will not be attached to adjoining walls and will be pointed away from the adjoining walls. They will be mounted by isolated speakers

  - Our sound system will have a limiter on and have been professionally tuned and set

  - There will be no speakers upstairs

  - The outside area will be limited to 21:00 Wednesdays, Thursdays and Sundays, and 22:00 on a Friday and Saturday. The outside courtyard will only be using for smokers. No drinks will be taken outside and customers will be asked to only smoke and not congregate outside

  - There will be no music or live music played outside the premises

  - There will be no outdoor furniture or shelters

  - Bins will not be emptied at closing to reduce any additional noise, they will be emptied on opening

  - Windows will be fixed and doors will be kept closed apart from entering and exiting

  - All members of staff will be fully aware and conversant with the noise management plan. Training will be carried out every 6 months with every staff member

  - Any deliveries and collections will be within the hours of 08:00 and 17:00, Monday to Friday

  - The extraction fan and condensing unit for the cellar will have a noise impact assessment carried out once fitted

  - Ensure that recorded music is only played within the licensing hours and is of a suitable volume for the time of day

  - Ensure that any live music is performed inside the venue and within the licensing hours

  - Signs will be in the main doorway asking customers to leave quietly and respectfully

  - There will be a designated smoking area which will have signs. The capacity of this area will be 10 people

  - Liaise with users to ensure noise management policies and the Code of Conduct are adhered to.

  - Provide a clear and reliable mechanism whereby noise complaints can be made and logged.

  - Follow the complaints procedure set out in sections 6 and 7.

  - Respond to noise complaints within a reasonable time period.

  - When requested, provide the Local Authority with details of logged complaints and any actions taken.

  - Liaise with the Local Authority to ensure the noise management plan remains effective and revise the noise management plan accordingly

# Noise Complaints Procedure

COMPLAINT RECEIVED

COMPLAINT LOGGED AND RECORDED

NOISE MONITORING SUPERVISOR INFORMED

ACTION TAKEN TO REMEDY SITUATION AND REDUCE RISK OF REOCCURENCE

ACTION RECORDED AND LOGGED

RESPONSE BACK TO COMPLAINANT IF REQUESTED

# Complaint Reporting

Complaint made by:

Date of complaint:

Complaint received by:

Date complaint received:

Time of occurrence(s):

Amount of occurrences:

Details of complaint:

Action(s) taken:

Review of action(s):

Details of adjustment(s) made to noise management plan if required:

Signed (Noise Monitoring Supervisor) Date