Operational Services

Assistant Director:  P. Castle

PO Box 601, Barnsley, S70 9FA

F.a.o Keiron Dunn

Development Control,

Planning and Transportation

IG/ 2016/0497

7th June 2016

Erection of changing rooms/pavillion

Flat Ings Lane Sports and Social Club, Vancouver Drive, Bolton upon Dearne, Rotherham, S63 8DT

Keiron,

I refer to your memo dated 7th June 2016 and would inform you have now examined the proposals submitted by Eton Construction Ltd, with respect to temporary and permanent drainage of this site.

I would confirm that in my opinion the details provided are sufficient and that I have no further observations to make with respect to land drainage. I am happy for the details to be checked by building control.

Regards

Ian Grayson

Senior Engineer – Drainage and Highways

Network Resilience and Asset Management