RISK ASSESSMENT & METHOD STATEMENT

PARKSIDE SPORTS & COMMUNITY CENTRE

FOR

PLASTERING WORKS

Hughie Construction Limited

New York Stadium

New York Way

Rotherham

South Yorkshire

S60 1FJ

Tel: 07901 235886

Email: admin@hclimited.co.uk

| Date of Issue | Comments | Ref No. | Authorised by | Revision |
| --- | --- | --- | --- | --- |
| 21/08/2024 | Issued to site | 021 | Richard Kirk | 01 |
| Review: 21/08/2025 |  |  |  |  |

# Site Specific Risk Assessment & Method Statement

Location:				PARKSIDE SPORTS & COMMUNITY CENTRE, HOYLAND

Project Title: 				CONSTRUCTION OF NEW SPORTS & COMMUNITY FACILITY

Issue Number:				01

Compiled by:				Richard Kirk

Company Position:			Managing Director

Date Compiled: 			21/08/2024

Date Issued: 				21/08/2024

Project Details

Description of work to be undertaken:

The scope of works to be carried out by Hughie Construction Limited comprises of the Plastering Works

Please read this document carefully and implement the requirements of this method statement.

Project Technical Details

Name of Contractor(s):    			Hughie Construction Limited

Address Details:				Concession 7A New York Stadium

New York Way

Rotherham

S60 1FJ

Telephone No:					07901 235886

Manager Responsible on Site: 		RICHARD KIRK

Client:						BARNSLEY METROPOLITAN BOROUGH COUNCIL

Principal/Main Contractor 			Hughie Construction Limited

Estimated Duration of Work (Weeks):		48 WEEKS

Commencing:					TBC

Completion: 					TBC

| Site Specific Risk Assessment: PLASTERING WORKS |  |  |
| --- | --- | --- |
| Risk Assessment Ref. | 021 |  |
| Contract Location: PARKSIDE SPORTS & COMMUNITY CENTRE, HOYLAND |  | Issue date: 21/08/2024 |
| General Activities / Scope of Work: PLASTERING WORKS |  |  |

| What are the hazards: | Who might be harmed and how? | Risk Rating |  |  | Precautions already in place | What further action is necessary | Residual Risk Rating |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Probability | Severity | Risk |  |  | Probability | Severity | Risk |
| Falling from height | Serious or even fatal injury could occur if an operator falls from height. Others working below also at risk. | 5 | 5 | 25 | - Sufficient Step-Ups to be available, all in good condition. - Where required platforms, with guardrail to be used. | - Include work at height in toolbox talk before beginning work on day one. | 1 | 5 | 5 |
| Manual Handling Injuries | Workers | 5 | 5 | 25 | - Use mechanical aids and ensure proper lifting techniques. | - Provide manual handling training and regular reviews of lifting procedures. | 1 | 5 | 5 |
| Exposure to Plaster Dust | Workers | 5 | 5 | 25 | - Use dust extraction systems and wear dust masks. Ensure proper ventilation. | - Conduct regular air quality monitoring and provide training on handling plaster dust. | 1 | 5 | 5 |
| Contact with Wet Plaster | Workers | 2 | 3 | 15 | - Use personal protective equipment (PPE) such as gloves and long sleeves. | - Provide hand washing facilities and training on safe handling of wet plaster. | 1 | 5 | 5 |
| Slips and trips | All Workers, and tradesmen nearby, may suffer sprains, bruising or fractures if they trip over objects, such as work debris, or slip on spillages. | 5 | 3 | 15 | - All operators wear safety boots – ‘no boots, no job’ policy. - Good housekeeping, e.g. debris put in skip, brush available to use to keep work area clear. - All trailing cables in work area hung up or otherwise kept out of harm’s way. - Safe route to job agreed with site manager based on site health and safety plan. | - Manager to check on-site housekeeping during visits. - Include in site induction before beginning work on day one. - Conduct regular site inspections and housekeeping. Provide training on site safety. | 1 | 3 | 3 |
| Substance - Hazard from chemical contact. (adhesives, Plaster, bonding agents etc.) Refer to COSHH assessment. | Workers | 5 | 4 | 20 | - When handling plaster use barrier creams in advance and gloves for prolonged activity. Thoroughly wash following exposure. Familiarization with COSHH assessment prior to work commencement. - Use PPE and ensure proper storage and handling of substances. | - Conduct COSHH assessments and provide training on handling hazardous substances. | 1 | 4 | 4 |
| Contact with Machinery | Workers | 5 | 5 | 25 | - Ensure machinery is properly guarded and maintained. Use lockout/tagout procedures. - Staff wear high-visibility tabards while on site. | - Include in site induction before beginning work on day one. - Provide training on machinery safety and conduct regular maintenance checks. | 1 | 5 | 5 |
| Contact with Hazardous materials (Potential and/or lead paint asbestos exposure) | Operatives | 5 | 5 | 25 | - COSHH assessment to be carried out by site supervisor to identify any hazardous materials. - Halt all work immediately and isolate work area. Contact asbestos professional to isolate and/or remove asbestos. | - Ensure work area is isolated and trained professionals are contacted immediately | 1 | 5 | 5 |
| Manual handling | Operators risk injury, particularly to the back, from lifting and handling heavy or awkward objects, e.g. bags of cement and gravel. s | 5 | 4 | 20 | - Use TILE assessment described below. - Where possible, mechanical means to be used to transport materials. - Where the movement requires short distances operatives will use barrows or where this risk is minimal passage of materials between numbers of operatives. - All materials will be below the recommended guidance for manual handling lifting weight of 25kg. | - Remind operatives of safe system of work at site induction. | 1 | 4 | 4 |
| Noise Exposure | Workers | 5 | 5 | 20 | - Use hearing protection and limit exposure time. | - Provide training on machinery safety and conduct regular maintenance checks. | 1 | 5 | 5 |
| Use of power tools | Operatives and nearby tradesmen | 3 | 5 | 15 | - Pre use visual inspection for damage/defects to tools, cables, plugs - Provision of PPE; Gloves, Hearing protection, defenders/plugs, Dust masks - Cables to be routed away from aisles and walkways where they could create trip hazards to other persons and/or expose cables to potential damage. - All power tools to be 110 volts | - All power tools to undergo regular PAT testing. | 1 | 5 | 5 |
| Welfare | Good welfare facilities reduce risk of dermatitis, help good hygiene etc. | 3 | 4 | 12 | - Agreement with site manager that staff may use site welfare facilities – toilets, washing facilities with hot and cold water and mess room/kitchen. | - Tell staff about facilities at site induction on day one. | 1 | 4 | 4 |
| PROBABILITY = Likely (5) - Probable (4) - Possible (3) - Remote (2) - Improbable (1) SEVERITY = Catastrophic (5) - Major (4) - Reportable (3) - Serious (2) - Minor (1) RISK = PROBABILITY x SEVERITY * Residual risk is the level of risk that remains after suitable and sufficient control measures are introduced. |  |  |  |  |  |  |  |  |  |

| Persons at Risk | Probability |  | Severity |  | 5 | 4 | 3 | 2 | 1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | L | Pr | Po | R | I |  | 8-25 Not Acceptable |
| P – Public | Likely (L) 5 |  | 5 | C | 25 | 20 | 15 | 10 | 5 |  |  |
| E - Employee | Probable (Pr) 4 |  | 4 | Ma | 20 | 16 | 12 | 8 | 4 |  |  |
| C – Contractor | Possible (Po) 3 |  | 3 | R | 15 | 12 | 9 | 6 | 3 |  | 1-6 Acceptable |
| V – Visitor | Remote (R) 2 |  | 2 | S | 10 | 8 | 6 | 4 | 2 |  |  |
|  | Improbable (I) 1 |  | 1 | Mi | 5 | 4 | 3 | 2 | 1 |  |  |

| Site Specific Method Statement: PLASTERING WORKS |  |
| --- | --- |
| ### Method Statement for Plastering Works ### 1. Preparation ### Site Inspection: Conduct a thorough inspection of the site to identify any potential hazards and ensure the area is safe for work. ### Material Check: Ensure all materials (plaster, water, bonding agents) are available and meet the required specifications. ### Tool Check: Ensure all tools (trowels, hawks, mixing buckets, plastering machines) are in good condition and ready for use. ### Surface Preparation: Clean the surface to be plastered, removing any dust, grease, or loose material. Apply a bonding agent if necessary. ### 2. Setting Up ### Scaffolding: Erect scaffolding if working at height, ensuring it is stable and secure. ### Protective Measures: Cover floors and adjacent surfaces to protect them from plaster splashes. ### Ventilation: Ensure the area is well-ventilated to allow for proper drying of the plaster. ### 3. Mixing Plaster ### Proportioning: Measure the correct proportions of plaster and water as per the manufacturer’s instructions. ### Mixing: Mix the plaster thoroughly to achieve a smooth, lump-free consistency. Use a mechanical mixer for large quantities. ### Resting: Allow the mixed plaster to rest for a few minutes before application. ### 4. Application ### First Coat (Scratch Coat): ### Apply the first coat of plaster using a trowel, ensuring an even thickness. ### Use a scratching tool to create a rough texture on the surface, which helps the next coat adhere better. ### Allow the first coat to dry partially. ### Second Coat (Brown Coat): ### Apply the second coat of plaster over the scratch coat, ensuring an even thickness. ### Smooth the surface using a trowel, filling any gaps or imperfections. ### Allow the second coat to dry partially. ### Final Coat (Finish Coat): ### Apply the final coat of plaster, ensuring a smooth and even finish. ### Use a trowel to achieve a polished surface. ### Allow the final coat to dry completely. ### 5. Finishing ### Sanding: Once the plaster is dry, sand the surface lightly to remove any imperfections. ### Cleaning: Clean the work area, removing any plaster splashes and debris. ### Inspection: Inspect the finished plastered surface for quality and uniformity. ### 6. Safety Measures ### Personal Protective Equipment (PPE): Ensure all workers wear appropriate PPE, including gloves, dust masks, and safety goggles. ### Manual Handling: Use proper lifting techniques and mechanical aids to handle heavy materials. ### Dust Control: Use dust extraction systems and ensure proper ventilation to minimize dust exposure. ### Emergency Procedures: Ensure all workers are aware of emergency procedures and the location of first aid kits. ### 7. Documentation ### Daily Logs: Maintain daily logs of work progress, including any issues encountered and actions taken. ### Quality Checks: Document quality checks and inspections carried out during the plastering process. ### Safety Records: Keep records of safety briefings, PPE usage, and any incidents or near-misses. ### Conclusion ### Following this method statement ensures that plastering works are carried out efficiently, safely, and to a high standard of quality. Regular monitoring and adherence to safety protocols are essential to minimize risks and ensure a successful project. |  |
| Control Measures to Reduce Risks: Risk Control Systems (RCS) and Workplace Precautions (WP) Risk Control Systems in operation: Daily / Weekly inspections, Audits, Reviews, Safety Checks, Recording and Monitoring, Site Safety Tours. Workplace Precautions in operation: Safety Signs, Barriers, Fixed Fencing, Guards, Protective Equipment, Personal Protective Clothing, Overall Prevention Policies, Training, Toolbox Talks, Site Inductions, Risk Assessments and Method Statements. - Use work equipment or other measures to prevent falls where we cannot avoid working at height. - Where we cannot eliminate the risk of a fall use work equipment or other measures to minimise the distance and consequences of a fall should a fall occur. Other Precautions: All Electrical Tools used will be PAT tested, inspected and recorded. All electrical items on site will be 110v or below. Any above this must be fitted with an RCD device. Noise assessments will be carried out were applicable. The tools selected for use will not exceed the Meter per second calculation with personal exposure above 8hrs. Manual handling assessments to be completed where practical all loads above 25kgs will be carried by 2 operatives or mechanically transported. |  |
| Tools/Equipment/ Resources Required: - Step ladders - Hammer. - Handsaw. - Spackle Knife. - Bucket. - Utility Knife. - Paddle Mixer. - Bucket Trowel. - Hawk. Labour Site/lift supervisor, labourers Labour resources may fluctuate during the project. Confirmation of resources will be determined by work load and programme. | PPE Requirements: - Protective Clothing - trousers and minimum of tee-shirts to be worn - Hard Hats on site when using lift (Mandatory) - Knee Pads - Hand/Arm Protection – Gloves (Mandatory) - Eye protection as per site rules (Mandatory) – Med/high impact goggles - Ear protection where levels exceed 85dba above 90dba (Mandatory) - Safety Boots with steel mid sole at all times (Mandatory) - Hi Visibility Clothing as per site rules (Mandatory) – Must not be cut down |
| Access to the Place of Work Prior to commencement of work the site manager, supervisors and operatives and all other visitors on behalf of Hughie Construction Limited will attend a site induction. - Access to site for operatives will be controlled by entry and exit procedures. - All Hughie Construction Limited site operatives and visitors and representatives will sign in and out of site daily at the site office and use access control system - In accordance with Construction (Design and Management) Regulations 2015, The Principal Contractor will ensure a traffic management plan has been developed and implemented and that is clearly identified and transport/plant and pedestrians are segregated by means of fixed barriers or other suitable means. - Main access to workface will be via main, most suitable entrance. If for any reason this is not possible, Principal Contractor will arrange access via an alternative route through designated walkways which will require a review of this method statement. - PC will supply suitable contractor site compound facilities. - Delivery vehicles will be guided to the lay down area within the compound with the aid of the vehicle marshal (banksman) following traffic route. All reversing of vehicles will be directed by a competent banksman and to be kept to a minimum - Delivery times will be sympathetic to traffic movements. - Deliveries should be prior booked with the transport co-ordinator. |  |
| Plant and Equipment to be Used Mechanical and Electrical Plant and Machinery - Scaffolding: Provides a stable platform for working at height. - Ladders: Used for accessing higher areas. - Plastering Machine: For large-scale plastering jobs, a machine can be used to spray plaster onto surfaces. - Dust Extraction System: Used to control dust and maintain air quality. - Concrete Mixer: For mixing large quantities of plaster. - Portable Lighting: Ensures adequate lighting in the work area. - Generators: Provide power for tools and equipment on sites without electricity. - Water Pumps: Used to remove excess water from the work area. - Wheelbarrows: For transporting materials around the site. |  |
| Materials Handling and Storage Distribution and Handling of Materials - Storage of materials will be at the workface. Storage area at workface is minimal. - All plant will be tested and inspected and supplied with current certification. Copies will be forwarded to PC. - Packaging will be stored on site in a safe manner away from the work faces and will be removed when emptied or reused when new deliveries arrive for storage and ease of transfer. - A look ahead programme will be used to estimate quantities of materials required. General Manual Handling TILE - Task - Individual - Load - Environment Does the task require: - Twisting of the trunk? - Stooping or poor posture? - Reaching upwards? - Holding or manoeuvring loads away from the trunk of the body? - Excessive carrying of loads? - Excessive lifting or lowering? - Excessive pushing or pulling? - A process forcing a rate of work? - Prolonged physical effort? - Insufficient rest and recovery? If you answer yes to any of the above questions, then the risk of manual handling injury is increased because of the task. ## Individual The second factor to consider is the individual. This is the person who will be doing the manual handling. Their strength and capabilities can have an impact, but so can knowledge of the load and task, along with training and experience. - Does the manual handling require a certain level of strength? - Does the activity require a person of a certain height? - Does the individual have a health problem? - Is the individual pregnant? - Have they been trained in safe manual handling and lifting technique? - Do they know how to handle the load properly? - Does this activity require any special information or training? ## Load The third consideration in TILE is the load. The load itself can have a big impact on the risk level of the manual handling activity. How heavy the load is should, of course, be a consideration, but there are other characteristics of the load that should be assessed. - Is the load heavy? - Is the load unstable? - Is the load hazardous? - Does it have sharp edges? - Is there a risk of spillage of the load? - Is it bulky or difficult to grasp? - Is the load very hot or cold? - Will the load reduce visibility? Answering yes to any of these questions might mean extra measures need to be taken to make the load safe. ## Environment The final factor to consider in TILE is the environment. Where the manual handling will take place can also have an impact on the safety of manual handling operations. For example, is the flooring slippery or uneven creating slip or trip hazards? Are space restrictions preventing good posture? - Is the ground stable? - Is the floor slippery? - Is the ground uneven? - Are there variations in floor level? - Are there extremes of temperature? - Is the environment humid? - Is there enough ventilation? - Are there strong winds? - Is the lighting poor? |  |
| Power Sources and Isolations required include details of any Permit to Works (Hot work, Electric Isolations etc. - N/A |  |
| Training Requirements All personnel will be trained and fully competent within their scope of works as defined as those with the knowledge, experience and training to carry out the task in a safe manner. All training will be carried out to HSE/CITB/ or equivalent approved accreditation. - CSCS training and accreditation - All operatives are to receive information and instruction on the content of this method statement and the attached risk assessments. - All operatives are to receive a site safety induction prior to the commencement of works. - All operatives using power tools are to have received suitable and sufficient training in the use of the equipment. - Only those considered competent to use such equipment shall be permitted to operate such tools. - All operatives are to receive training on safe manual handling techniques and asbestos awareness. - All operatives are also to receive training in safe working practices for work at height including the safe use of safety harnesses. - All operatives to be fully trained in using MEWPs. - All work is to be carried out by competent experienced window fitters in accordance with current building regulations requirements. A record of all training shall be maintained and will be available on request. |  |
| Hazardous Substances - Reference should be made to the COSHH Assessment manual based on site with the Hughie Construction Limited site manager for full details of safety requirements. |  |
| Supervision and Coordination of Activities - Hughie Construction Limited Site manager will control all site activities on a daily basis and his responsibility is to control the working area and interface Hughie Construction Limited activities with other trades and contractors who may be affected by our scope of works - Site emergency procedures must be strictly adhered with and all site rules will apply. - The Site manager will have overall responsibility for the safe coordination of Hughie Construction Limited. - He will attend safety coordination meetings held and will liaise with the Principal Contractor and all other contractors to ensure all work can be carried out in a safe manner. - He will highlight any unsafe conditions or actions and will inform site management team. |  |
| Environmental Considerations Site environmental considerations issued by the Principal contractor must be adhered to at all times as this is a sensitive area the site rules and conditions must be maintained at all times. - Under no circumstances must any waste materials, fuels or any other contaminate be allowed to enter the drainage system. Clean out of containers will only be permitted in accordance with procedures for controlling spillage and disposal waste. - Containers will be cleaned out at the end of each shift by the competent operator and disposed of into the waste skips provided. All waste will be segregated prior to placement into skips. - Hughie Construction Limited will supply spill kits for use by our operatives. - All insulation and package materials must be kept from entering drainage systems. - These include for general waste, timber, waste plastics and cardboard etc. and special waste. - Noise will be kept to a minimum whilst on site. - Foul and abuse language will not be tolerated and operatives found using such language or gestures will be removed from site immediately. |  |
| Fire and Emergency Procedures - The fire and emergency plan and procedures given at the site induction will be strictly adhered to during the project and all site operatives will adhere to the information given. - Under no circumstances must any appliance or alarm for the use in the event of an emergency be tampered with and any abuse of such equipment will result in the offender being removed from site permanently. - When any alarm is sounded the operatives must observe the evacuation criteria and will down tools and make their way to the nearest assembly point for the site head count and will not return to the workface until the all clear has been given by the site management emergency coordinator. |  |
| Protection of the Public Hughie Construction Limited traffic must be kept to a minimum and local traffic around the perimeter of the site must be treated with care. Road safety is paramount. Fencing provided by the Principal Contract must not be removed unless specific authority has been given and must be replaced immediately after completion of the task required. |  |
| Waste Disposal Arrangements for Plastering Works 1. Segregation of Waste Plaster and Plasterboard: Separate plaster, plasterboard, and other gypsum products from general waste due to their high sulphate content. General Construction Waste: Separate general construction waste such as wood, metal, and plastic. Hazardous Waste: Identify and separate any hazardous waste, such as contaminated materials or chemicals. 2. Storage of Waste Designated Areas: Allocate specific areas on-site for different types of waste. Weatherproof Containers: Store waste plasterboard in sealed, weatherproof containers to prevent contamination. Secure Storage: Ensure all waste storage areas are secure to prevent unauthorized access and environmental contamination. 3. Collection and Transportation Licensed Waste Carriers: Use only licensed waste carriers for the transportation of waste. Regular Collection: Arrange for regular collection of waste to prevent accumulation on-site. Documentation: Maintain waste transfer notes and consignment notes for all waste transported off-site, keeping records for the required legal duration. 4. Disposal Methods Recycling: Recycle materials where possible, such as metal, wood, and certain plastics. Landfill: Dispose of non-hazardous gypsum-based materials only in landfills designated for non-hazardous waste. Specialized Disposal: Use specialized facilities for the disposal of hazardous waste. 5. Compliance and Monitoring Site Waste Management Plan (SWMP): Develop and implement a SWMP to document how waste will be managed throughout the project. Licenses and Permits: Ensure all necessary licenses and permits for waste disposal are obtained and documented. Regular Audits: Conduct regular audits to ensure compliance with waste management procedures and regulations. 6. Training and Communication Worker Training: Provide training for workers on waste segregation, handling, and disposal procedures. Signage: Use clear signage to indicate waste segregation areas and disposal instructions. Communication: Regularly communicate waste management policies and updates to all site personnel. 7. Environmental Considerations Minimize Waste: Plan and execute works to minimize waste generation, such as accurate material ordering and efficient use of resources. Environmental Impact: Monitor and mitigate any potential environmental impacts from waste disposal activities. By following these arrangements, we can ensure that waste from plastering works is managed efficiently, safely, and in compliance with regulations. |  |
| Review of Method Statement The Hughie Construction Limited site manager responsible for the works will ensure that the work area has been inspected and is free from risk of injury or that suitable and sufficient measures have been taken to comply with current health and safety legislation prior to any work being undertaken. All operatives will attend induction training and receive the method statement explanation and issued with task specific instruction/toolbox talks. Method statements and all the above-mentioned assessments will be closely monitored for compliance and where a safer alternative to the system of work can be improved, the method statement will be updated accordingly and the agreed system adopted. Hughie Construction Limited site manager will ensure all operatives involved within the package works understand the method statement and risk assessment. Method Statements and risk assessments to be updated to reflect any changes in working practices or methods. No works will proceed until approval has been confirmed. Any amendments required to be incorporated & subsequently approved prior to work commencing. Approval will be required in writing. The company will encourage any new initiatives to a safer system of work by consultation with the work force, Supervisors and Managers for continuous improvement. |  |
| Communication of Risk Assessment and Method Statement - All operatives will be instructed of the risk assessment and method statement for their scope of works as part of the Tool Box Talk procedures prior to commencing work. - They must ensure they fully understand the work involved, the hazards and the level of risk they may be exposed - Following instruction, they each must sign the register attached - Each operative must work to the method statement, any deviation must be authorised by the Hughie Construction Limited site manager and in agreement from the Principal Contractor. - Any operative not working to the specific method statement will be subject to disciplinary action. |  |

Approved by – ( Printed Name & Signature ):

Richard Kirk (Managing Director)

Review date: 21/08/2025

| Emergency Contacts | Name | Contact Number |
| --- | --- | --- |
| Director | Richard Kirk | 07496 098997 |
| Safety and Environment Advisor | Pearson Holland Management Services | 01924 211211 |
| Off Site Emergency Number | Head Office | 01226 212055 |
| Out of Hours/24 hr Emergency Number | Head Office | 01226 212055 |

Revision of Method Statement Details

| Revised by | Date of Revision | Authorised by |
| --- | --- | --- |

| Risk Assessment & Method Statement Register |  |  |
| --- | --- | --- |
| ### Date | Names | Signature(s): |