	Hughie Construction Limited

	Site Specific Risk Assessment & Method Statement

	Authorised by:
	Pearson Holland Management Services 
	Ref No:
	008



Risk assessment & METHOD STATEMENT

parkside sports & community centre

for

WINDOW & DOOR INSTALLATION    

New York Stadium 
New York Way

Rotherham

South Yorkshire

S60 1FJ

Tel: 07901 235886

Email: admin@hclimited.co.uk 
	Date of Issue
	Comments
	Ref No.
	Authorised by
	Revision

	21/08/2024
	Issued to site
	024
	Richard Kirk
	01

	Review: 21/08/2025
	
	
	
	


Site Specific Risk Assessment & Method Statement
Location:



PARKSIDE SPORTS & COMMUNITY CENTRE, HOYLAND



Project Title: 



CONSTRUCTION OF NEW SPORTS & COMMUNITY FACILITY

Issue Number:



01

Compiled by:



Richard Kirk 
Company Position:


Managing Director 

Date Compiled: 


21/08/2024
Date Issued: 



21/08/2024

Project Details



Description of work to be undertaken: 

The scope of works to be carried out by Hughie Construction Limited comprises of the Window and Door Installation
Please read this document carefully and implement the requirements of this method statement.

Project Technical Details 

Name of Contractor(s):    


Hughie Construction Limited 
Address Details:



Concession 7A New York Stadium 

                                                                              New York Way    

                                                                              Rotherham 

                                                                              S60 1FJ 

Telephone No:




07901 235886 

Manager Responsible on Site: 

RICHARD KIRK


Client:





BARNSLEY METROPOLITAN BOROUGH COUNCIL




 
Principal/Main Contractor 


Hughie Construction Limited 
Estimated Duration of Work (Weeks):

48 WEEKS
Commencing:




TBC
Completion: 




TBC
	Site Specific Risk Assessment: Windows & Doors Installation Works   

	Risk Assessment Ref.
	008

	Contract Location: 
PARKSIDE SPORTS & COMMUNITY CENTRE, HOYLAND

	Issue date:

21/08/2024

	General Activities / Scope of Work: WINDOWS & DOORS INSTALLATION WORKS   



	What are the hazards:
	Who might be harmed and how?
	Risk Rating
	Precautions already in place
	What further action is necessary
	Residual Risk Rating

	
	
	Probability
	Severity
	Risk
	
	
	Probability
	Severity
	Risk

	Falling from height
	Serious or even fatal injury could occur if an operator falls from height. Others working below also at risk.
	5
	5
	25
	· Sufficient Step-Ups to be available, all in good condition.

· Where required platforms, with guardrail to be used.
	· Include work at height in toolbox talk before beginning work on day one.
	1
	5
	5

	Slips and trips
	All operators, and tradesmen nearby, may suffer sprains, bruising or fractures if they trip over objects, such as work debris, or slip on spillages.
	5
	3
	15
	· All operators wear safety boots – ‘no boots, no job’ policy.

· Good housekeeping, e.g. debris put in skip, brush available to use to keep work area clear.

· All trailing cables in work area hung up or otherwise kept out of harm’s way.

· Safe route to job agreed with site manager based on site health and safety plan.
	· Manager to check on-site housekeeping during visits.

· Include in site induction before beginning work on day one.
	1
	3
	3

	Manual handling
	Operators risk injury, particularly to the back, from lifting and manouerving heavy Frames of Windows and Doors and glass units into position can cause upper and lower back strain
	5
	4
	20
	· Use TILE assessment described below

· Where possible, mechanical means to be used to transport materials.

· Where the movement requires short distances operatives will use barrows or where this risk is minimal passage of materials between numbers of operatives.

· All materials will be below the recommended guidance for manual handling lifting weight of 25kg.
	· Remind operatives of safe system of work at site induction.
	1
	4
	4

	Contact of Substances while fixing
	Contact with window cleaning liquids or putty may cause irritation to unprotected skin or eyes
	3
	4
	12
	· Operatives have had any hazards made aware to them.
· Gloves & Eye Protection used at all times
	· Ensure work area is isolated
	1
	5
	5

	Cuts from Glass
	Operatives removing sections of broken glass can result in lacerations to hands or fingers
	5
	5
	25
	· Operatives to wear gloves while handing broken glass
	· Ensure work area is isolated
	1
	5
	5

	Cuts & Abrasions, Pinch Injuries from tool use 
	Operatives could get their hand or fingers trapped or pinched while installing double glazed units
	5
	5
	25
	· Operatives to wear gloves where practical while installing glass
	
	1
	5
	5

	PROBABILITY = Likely (5) - Probable (4) - Possible (3) - Remote (2) - Improbable (1) 

SEVERITY        = Catastrophic (5) - Major (4) - Reportable (3) - Serious (2) - Minor (1)   RISK = PROBABILITY x SEVERITY 

* Residual risk is the level of risk that remains after suitable and sufficient control measures are introduced.


	Persons at Risk
	Probability
	
	Severity
	5
	4
	3
	2
	1
	
	

	
	
	
	
	L
	Pr
	Po
	R
	I
	
	8-25

Not Acceptable

	P – Public
	Likely (L)             5
	
	5
	C
	25
	20
	15
	10
	5
	
	

	E - Employee
	Probable (Pr)      4
	
	4
	Ma
	20
	16
	12
	8
	4
	
	

	C – Contractor
	Possible (Po)      3
	
	3
	R
	15
	12
	9
	6
	3
	
	1-6

Acceptable

	V – Visitor
	Remote (R)         2
	
	2
	S
	10
	8
	6
	4
	2
	
	

	
	Improbable (I)     1
	
	1
	Mi
	5
	4
	3
	2
	1
	
	


	Site Specific Method Statement: Double Glazed Unit Installation Works   

	Method of Work: 
Carry out a visual inspection of the work area to ensure that the

required works are as per the specification and that no additional works

or materials are likely to be required.

Review the clients asbestos register and check to see if any suspect

substances, such as asbestos may be present on site. If additional

works are required, or any suspicious substances have been identified,

contact head office immediately and advise the client. 

Ensure that all areas where the windows are to be replaced are vacant

for the duration of the works. Where applicable, cover all affected

areas of flooring, soft furnishings, IT Equipment and other items with

dust sheets or other appropriate protective sheets (where appropriate)

to prevent any damage being caused to them during the works.

All works are to be carried out in strict accordance with the

manufacturers’ recommendations and in the sequence specified by the

manufacturer. All work will also be carried out in strict accordance with

FENSA/Building Regulations requirements.

Before starting work ensure that the correct

window sizes have been supplied, together

with the necessary fixtures and fittings.

Whilst working from the flat roof area, the

existing windows should first be removed

by removing the hinges from the window frame/casement. The

existing widow frame can then be removed from the

wall; this will be done by removing the frame fixings

where accessible and then by cutting through the

frame using a reciprocating and levering the frame

work from the wall with a wrecking/pry bar.

The old windows and frames will be carried by hand from the property

to the waste skips to be removed from site and disposed of via a

licensed waste carried for disposal at a licensed waste site. All broken

glass will be placed into heavy duty waste sacks and care will be taken

to avoid overloading and puncturing the sides of the bags.

Care must however be exercised when handling glass and care must

be taken avoid breaking the glass as this increases the risks of injury.

Prior to the fitting of the new window and window frame, the walls must

be checked to ensure that they are sound and that any old fixings have

been removed and disposed of. Where sections of the wall have been

damaged or are not suitable, the area should be made good or

alternative fixings used.

Clean the area and prepare the recess for the installation of the new

Glass unit. Fit the new glass unit into position, ensuring a tight fit

and ensuring that the glass is plumb and square.

Use packers where necessary to secure the glass in position.


	Control Measures to Reduce Risks: Risk Control Systems (RCS) and Workplace Precautions (WP)

Risk Control Systems in operation: Daily / Weekly inspections, Audits, Reviews, Safety Checks, Recording and Monitoring, Site Safety Tours. Workplace Precautions in operation: Safety Signs, Barriers, Fixed Fencing, Guards, Protective Equipment, Personal Protective Clothing, Overall Prevention Policies, Training, Toolbox Talks, Site Inductions, Risk Assessments and Method Statements. 

· Use work equipment or other measures to prevent falls where we cannot avoid working at height.

· Where we cannot eliminate the risk of a fall use work equipment or other measures to minimise the distance and consequences of a fall should a fall occur.

Other Precautions: All Electrical Tools used will be PAT tested, inspected and recorded. All electrical items on site will be 110v or below. Any above this must be fitted with an RCD device. Noise assessments will be carried out were applicable. The tools selected for use will not exceed the Meter per second calculation with personal exposure above 8hrs. Manual handling assessments to be completed where practical all loads above 25kgs will be carried by 2 operatives or mechanically transported.

	Tools/Equipment/ Resources Required:
1. screwdriver, 
2. Drill,
3. Circular saw. 
4. All to be battery operated.
Labour
Site/lift supervisor, labourers
Labour resources may fluctuate during the project. Confirmation of resources will be determined by work load and programme.
	PPE Requirements:
· Protective Clothing - trousers and minimum of tee-shirts to be worn
· Hard Hats on site when using lift (Mandatory)  
· Knee Pads 
· Hand/Arm Protection – Gloves (Mandatory)  

· Eye protection as per site rules (Mandatory) – Med/high impact goggles 
· Ear protection where levels exceed 85dba above 90dba (Mandatory)

· Safety Boots with steel mid sole at all times (Mandatory)

· Hi Visibility Clothing as per site rules (Mandatory) – Must not be cut down 

	Access to the Place of Work
Prior to commencement of work the site manager, supervisors and operatives and all other visitors on behalf of Hughie Construction Limited will attend a site induction. 
1. Access to site for operatives will be controlled by entry and exit procedures. 

2. All Hughie Construction Limited site operatives and visitors and representatives will sign in and out of site daily at the site office and use access control system
3. In accordance with Construction (Design and Management) Regulations 2015, The Principal Contractor will ensure a traffic management plan has been developed and implemented and that is clearly identified and transport/plant and pedestrians are segregated by means of fixed barriers or other suitable means.

4. Main access to workface will be via main, most suitable entrance.  If for any reason this is not possible, Principal Contractor will arrange access via an alternative route through designated walkways which will require a review of this method statement.
5. PC will supply suitable contractor site compound facilities.

6. Delivery vehicles will be guided to the lay down area within the compound with the aid of the vehicle marshal (banksman) following traffic route.  All reversing of vehicles will be directed by a competent banksman and to be kept to a minimum
7. Delivery times will be sympathetic to traffic movements. 
8. Deliveries should be prior booked with the transport co-ordinator.


	Plant and Equipment to be Used Mechanical and Electrical
MEWP (if required) 
When using a MEWP make sure that:

1. Those using this type of equipment are trained and competent to operate it.

2. They know the emergency and evacuation procedures so that they know what to do, for example, if the power to the platform fails, or fire breaks out in the building

3. being worked on.

4. The work platform is provided with guard rails and toe boards or other suitable

5. barriers;

6. It is used on firm and level ground. The ground may have to be prepared in

7. advance.

8. Its tyres are properly inflated;

9. Any outriggers are extended and chocked as necessary before raising the platform. Everyone knows what to do if the machine fails with the platform in the raised position.

10. Where MEWP's have meshed platform floors, the mesh is fine enough to prevent materials, especially nails and bolts, from slipping through.

11. Work platforms are clean and tidy. Do not allow mud to build up on platforms

12. Operatives to ensure they wear harnesses when in cherry pickers and that they clip lanyard to tested anchor point.

	Materials Handling and Storage

Distribution and Handling of Materials

1. Storage of materials will be at the workface. Storage area at workface is minimal.
2. All plant will be tested and inspected and supplied with current certification. Copies will be forwarded to PC.
3. Packaging will be stored on site in a safe manner away from the work faces and will be removed when emptied or reused when new deliveries arrive for storage and ease of transfer.

4. A look ahead programme will be used to estimate quantities of materials required.
General Manual Handling TILE

· Task 

· Individual 

· Load 

· Environment 

Does the task require:

· Twisting of the trunk?

· Stooping or poor posture?

· Reaching upwards?

· Holding or manoeuvring loads away from the trunk of the body?

· Excessive carrying of loads?

· Excessive lifting or lowering?

· Excessive pushing or pulling?

· A process forcing a rate of work?

· Prolonged physical effort?

· Insufficient rest and recovery?

If you answer yes to any of the above questions, then the risk of manual handling injury is increased because of the task.

Individual
The second factor to consider is the individual. This is the person who will be doing the manual handling. Their strength and capabilities can have an impact, but so can knowledge of the load and task, along with training and experience.

· Does the manual handling require a certain level of strength?

· Does the activity require a person of a certain height?

· Does the individual have a health problem?

· Is the individual pregnant?

· Have they been trained in safe manual handling and lifting technique?

· Do they know how to handle the load properly?

· Does this activity require any special information or training?

Load
The third consideration in TILE is the load. The load itself can have a big impact on the risk level of the manual handling activity. How heavy the load is should, of course, be a consideration, but there are other characteristics of the load that should be assessed.

· Is the load heavy?

· Is the load unstable?

· Is the load hazardous?

· Does it have sharp edges?

· Is there a risk of spillage of the load?

· Is it bulky or difficult to grasp?

· Is the load very hot or cold?

· Will the load reduce visibility?

Answering yes to any of these questions might mean extra measures need to be taken to make the load safe.

Environment
The final factor to consider in TILE is the environment. Where the manual handling will take place can also have an impact on the safety of manual handling operations. For example, is the flooring slippery or uneven creating slip or trip hazards? Are space restrictions preventing good posture?

· Is the ground stable?

· Is the floor slippery?

· Is the ground uneven?

· Are there variations in floor level?

· Are there extremes of temperature?

· Is the environment humid?

· Is there enough ventilation?

· Are there strong winds?

1. Is the lighting poor?

	Power Sources and Isolations required include details of any Permit to Works (Hot work, Electric Isolations etc.
· N/A

	Training Requirements
All personnel will be trained and fully competent within their scope of works as defined as those with the knowledge, experience and training to carry out the task in a safe manner.  All training will be carried out to HSE/CITB/ or equivalent approved accreditation.
1. CSCS training and accreditation
2. All operatives are to receive information and instruction on the content of this method statement and the attached risk assessments.

3. All operatives are to receive a site safety induction prior to the commencement of works.

4. All operatives using power tools are to have received suitable and sufficient training in the use of the equipment. 

5. Only those considered competent to use such equipment shall be permitted to operate such tools.

6. All operatives are to receive training on safe manual handling techniques and asbestos awareness.

7. All operatives are also to receive training in safe working practices for work at height including the safe use of safety harnesses.
8. All operatives to be fully trained in using MEWPs. 
9. All work is to be carried out by competent experienced window fitters in accordance with current building regulations requirements. A record of all training shall be maintained and will be available on request.


	Hazardous Substances
1. Reference should be made to the COSHH Assessment manual based on site with the Hughie Construction Limited site manager for full details of safety requirements.

	Supervision and Coordination of Activities

1. Hughie Construction Limited Site manager will control all site activities on a daily basis and his responsibility is to control the working area and interface Hughie Construction Limited activities with other trades and contractors who may be affected by our scope of works

2. Site emergency procedures must be strictly adhered with and all site rules will apply.

3. The Site manager will have overall responsibility for the safe coordination of Hughie Construction Limited. 

4. He will attend safety coordination meetings held and will liaise with the Principal Contractor and all other contractors to ensure all work can be carried out in a safe manner. 

5. He will highlight any unsafe conditions or actions and will inform site management team.


	Environmental Considerations

Site environmental considerations issued by the Principal contractor must be adhered to at all times as this is a sensitive area the site rules and conditions must be maintained at all times.

1. Under no circumstances must any waste materials, fuels or any other contaminate be allowed to enter the drainage system. Clean out of containers will only be permitted in accordance with procedures for controlling spillage and disposal waste. 

2. Containers will be cleaned out at the end of each shift by the competent operator and disposed of into the waste skips provided. All waste will be segregated prior to placement into skips.

3. Hughie Construction Limited will supply spill kits for use by our operatives.

4. All insulation and package materials must be kept from entering drainage systems.

5. These include for general waste, timber, waste plastics and cardboard etc. and special waste. 

6. Noise will be kept to a minimum whilst on site.

7. Foul and abuse language will not be tolerated and operatives found using such language or gestures will be removed from site immediately.

	Fire and Emergency Procedures
1. The fire and emergency plan and procedures given at the site induction will be strictly adhered to during the project and all site operatives will adhere to the information given.

2. Under no circumstances must any appliance or alarm for the use in the event of an emergency be tampered with and any abuse of such equipment will result in the offender being removed from site permanently.

3. When any alarm is sounded the operatives must observe the evacuation criteria and will down tools and make their way to the nearest assembly point for the site head count and will not return to the workface until the all clear has been given by the site management emergency coordinator.

	Protection of the Public
Hughie Construction Limited traffic must be kept to a minimum and local traffic around the perimeter of the site must be treated with care. Road safety is paramount. 

Fencing provided by the Principal Contract must not be removed unless specific authority has been given and must be replaced immediately after completion of the task required.

	Waste Disposal Arrangements

1. Any debris will be collected (at daily intervals as a minimum) and will not be allowed to accumulate and disposed in accordance with Health Safety and Environment Plan procedures. 

2. Skips are to be provided and waste will be segregated and disposed into the relative skip for that waste. Following each working shift, the debris will be removed and deposited into the skips provided during the working day.

3. Skips will be provided and an appointed licensed waste carrier will remove all accumulated waste to an authorised waste disposal agency as per contract agreement. Transfer notes will be retained on site.


	Review of Method Statement

The Hughie Construction Limited site manager responsible for the works will ensure that the work area has been inspected and is free from risk of injury or that suitable and sufficient measures have been taken to comply with current health and safety legislation prior to any work being undertaken.

All operatives will attend induction training and receive the method statement explanation and issued with task specific instruction/toolbox talks. 
Method statements and all the above-mentioned assessments will be closely monitored for compliance and where a safer alternative to the system of work can be improved, the method statement will be updated accordingly and the agreed system adopted.  
Hughie Construction Limited site manager will ensure all operatives involved within the package works understand the method statement and risk assessment.

Method Statements and risk assessments to be updated to reflect any changes in working practices or methods. No works will proceed until approval has been confirmed.

Any amendments required to be incorporated & subsequently approved prior to work commencing. Approval will be required in writing.

The company will encourage any new initiatives to a safer system of work by consultation with the work force, Supervisors and Managers for continuous improvement.

	Communication of Risk Assessment and Method Statement

1. All operatives will be instructed of the risk assessment and method statement for their scope of works as part of the Tool Box Talk procedures prior to commencing work.

2. They must ensure they fully understand the work involved, the hazards and the level of risk they may be exposed

3. Following instruction, they each must sign the register attached 

4. Each operative must work to the method statement, any deviation must be authorised by the Hughie Construction Limited site manager and in agreement from the Principal Contractor.

5. Any operative not working to the specific method statement will be subject to disciplinary action.


Approved by – ( Printed Name & Signature ):

Richard Kirk (Managing Director)   
[image: image1.jpg]



Review date: 21/08/2025 
	Emergency    Contacts
	Name 
	Contact Number

	Director
	Richard Kirk
	07496 098997

	Safety and Environment Advisor
	Pearson Holland Management Services
	01924 211211

	Off Site Emergency Number
	Head Office
	01226 212055

	Out of Hours/24 hr Emergency Number
	Head Office
	01226 212055


	Revision of Method Statement Details

	

	

	


	Revised by
	Date of Revision 
	Authorised by

	
	
	

	
	
	

	
	
	


	Risk Assessment & Method Statement Register

	Date
	Names
	Signature(s):

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Hughie Construction Limited








Page 14 of 14

