Operational Services

Assistant Director:  P. Castle

PO Box 601, Barnsley, S70 9FA

F.a.o Keiron Dunn

Development Control,

Planning and Transportation

IG/ 2016/0453

10th May 2016

Change of use from industrial (B2) to pet dog training school (D1)

Unit 19, Aldham Industrial Estate, Mitchell Road, Wombwell, Barnsley, S73 8HA

Keiron,

I refer to your memo dated 10th May 2016 and would inform you have now examined the proposals submitted by Mr. Neil Losada, with respect to temporary and permanent drainage of this site.

I would confirm that in my opinion the details provided are sufficient and that I have no further observations to make with respect to land drainage.

Regards

Ian Grayson

Senior Engineer – Drainage and Highways

Network Resilience and Asset Management