                       True North Brew Co. 

The Crown & Anchor, Barugh Lane
Barugh Green, Barnsley, S75 1LL 
Job no. 5802

NOISE MANAGEMENT PLAN 

THE CROWN & ANCHOR, BARUGH LANE, BARUGH GREEN, BARNSLEY, 
S75 1LL
A noise management plan for the above site to outline noise reduction measures to limit impact on surrounding residential premises.

1. New first floor extension to receive sound proofing measures in line with Peak Acoustics Noise Impact Assessment. I can confirm we will be providing additional wall, floor and roof sound attenuation works to the new extension to prevent sound bleed. We propose to use known tried and tested construction methods and materials to aid in limitation of noise as outlined in the Peak Acoustic report. Timber frame walls to incorporate British Gypsum specification Reference B606006 which will provide estimated 40dB sound insulation. Upgrade existing flat roof which will now be our floor to new floor specification construction to achieve Rw 64 dB (min. Rw 43dB) for airborne sound insulation and 54dB (max 64dB) for impact sound insulation. New pitched roof specification includes thick insulation layer of 100mm Kingspan Kooltherm K107 pitched roof insulation board with fully filled space between 50x100mm rafters at 600mm cts; with 1 layer of skim coated 32.5mm thick Kingspan Kooltherm K118 insulated plasterboard under rafters. Overall insulation layer 130mm thick, and to be continuous to eaves and eaves to be packed with Rockwool Flexi. This will ensure continuous insulation layer from roof to walls, therefore maintaining a continuous insulation / sound deadening layer around the building shell. 
2. New fire exit door which faces immediate residential properties to have audial and visual system installed to notify when emergency exit doors are opened, ideally one that is linked to the music system that automatically shuts down the music when fire door opened.
3. No roof lights to be installed to new roof to help reduce number of apertures in the structure.
4. Any mechanical / electrical or other service apertures to be located on roof / wall to be away from the closest residential side of the premises.

5. New windows facing residential properties to be triple glazed with opaque finish.
6. First floor to have limited occupancy of 60 people however this is a seated area so the true occupancy figure is likely to be less.
7. Provision of signage on exit doors and external areas requesting patrons to respect the local residents by keeping noise levels to a minimum and avoiding any rowdy behaviour.
8. Existing food preparation mechanical plant to be relocated to new positionso that it will  be further away from house number 187 and positioned behind the extension so extraction noise should be greatly reduced. 
9. We would request to mirror the current premises licence for the rest of the property regarding music, so recorded music until 1am everyday with the potential for occasional live performances until the same time.
10. Higher volume music to be played only during certain function room activities such as weddings & parties. Local Authority / Licensing to determine suitable hours for louder music, we will be requesting a midnight cut off time. 
11. House manager to oversee the noise management plan and take notes, as may be required, with respect to patrons who appear to create and / or encourage rowdy or unruly behaviour.
NB: This may involve some patrolling of the area to manage any noisy behaviour if required.
12. Consider 3-strike and out policy as a means of barring patrons involved in such behaviour.
13. Management to log and take seriously any complaints or concerns that neighbours may submit. The nature of the complaint should be logged together with complainant name where provided.
14. All windows to remain closed during periods of entertainment. Windows to be locked during trading hours to prevent patrons / functions guests inadvertently opening them-selves. 
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