Operational Services

Assistant Director:  P. Castle

PO Box 601, Barnsley, S70 9FA

F.a.o Keith Pell

Development Control,

Planning and Transportation

IG/ 2016/0040

20th January 2016

Extensions to existing workshops/garages.

Ken Mallinson Ltd Claycliffe Road  Barnsley S75 1LR

Keith,

I refer to your memo dated 20th January 2016 and would inform you have now examined the proposals submitted by the White Agus Partnership., with respect to temporary and permanent drainage of this site.

I would confirm that in my opinion the details provided are sufficient and that I have no further observations to make with respect to land drainage. I am happy for the details to be checked by building control.

Regards

Ian Grayson

Senior Engineer – Drainage and Highways

Network Resilience and Asset Management