Ongoing site investigations have found made ground in excess of 5.0m depth on the MVT site. Therefore, soakaways will not be possible. The drainage strategy will therefore comprise a Polystorm type attenuation tank and hydrobrake manhole restricting SW discharge to 5  l/s  into the site wide drainage system, as shown on the drainage strategy drawing ref 10-5637-500c.

Regards

Wayne Hansard

WARD::COLE

Consulting Engineers

Fosse House

Roman Wharf

Lincoln

LN1 1SR

Tel:          01522 513032

Mobile:  07971 1428420