Heritage Statement

For

32 Huddersfield Road

Ingbirchworth

S36 7GF

General observation.

The property is number 32. The location plan available notes it as No 30.( see the Location and block plan attached.)

The site is located adjacent to the main highway ( Huddersfield Road.) which is within a conservation area.

The dwelling sits on a generous plot with grazing land to the rear.

Neighbouring properties are of similar age and constructed from the same type of natural materials. The surrounding properties are generally of a high standard and in keeping with a conservation area.

This site and property has unfortunately been neglected over the years .

This property has not been maintained and is showing extensive signs of general decay both internally and externally.

The dwelling is constructed from :

Walls – natural stone.( rendered to two elevations.)

Roof – Natural stone

Doors and windows – Timber frames.

There is a natural dry stone boundary wall against the highway pavement.

The site has two entrances, both of which are wide enough for vehicular access having traditional timber 5 bar gates.

Over the years the site has become quite congested with the storage of vehicles and spare parts.

In addition, outbuildings of various styles and designs have been constructed / erected on the site.

The applicant has recently inherited the site and wishes to:

- Restore the building to a standard comparable to its neighbouring properties.

- Extend the property in a sympathetic manner to enable the building to provide modern living standards. All materials and building techniques to be in line with traditional construction methods.

- To remove all currently stores vehicles and create a uniformed amenity space.

Proposed changes.

- Remove the existing render and hopefully expose the original natural stone.

- Repoint as required with presumed lime mortar.

- Replace all doors / windows. Frames to be “Accoya “Colour to be agreed with the Planning.

If the natural stone is not in a fit condition to expose, the render to be reinstated in a material and colour to match the neighbouring properties.

Single storey rear extension.

The extension projection has been kept to a minimum, so as not to affect the rear amenity space.

Materials to be :

Walls – natural stone.

Roof – Natural stone

All windows / doors to be “Accoya”  framed.

Two storey side extension

Creating space for a garage and first floor bedroom / ensuite.

The size is in keeping with “SDP” and purposely set back from the front elevation to lower the roof ridge line accordingly.

The roof gable to have stone copings to match the existing gables.

In summary.

The applicant intends to carefully repair and modernise this building with Heritage pedigree.

To transform the site and become more in keeping with the general surroundings.