PLANNING CONSULTATION RESPONSE

| Application No | 2026/0589 |
| --- | --- |
| Proposal | Partial discharge of condition 15 (Noise Impact Assessment) for units 2, 3, 6 and 7, relating to 2023/0815: Construction of 7no commercial industrial units in 6no. blocks (Use classes E(g)(ii), E(g)(iii), B2 and B8) and associated external works. |
| Address | Land west of the Dearne Valley Parkway, and south of Kestrel Way, Birdwell, Barnsley |
| Date of Consultation Reply | 10/09/2026 |
| Consultee | Pollution Control |

| Consultation Assessment and Justification |  |  |
| --- | --- | --- |
| The associated documentation has been reviewed and the location and risks have been assessed and my comments are as follows: Sufficient information has been provided to partially discharge Condition 15 of 2023/0815 relating to units 2, 3, 6 and 7. No mitigation measures have been identified as required. However, please note the following information provided: Unit 2 - The assessment has assumed all doors and windows to the unit are closed when in use. - The business should operate with good acoustic practices in mind and try to keep operational noise to a minimum. Machinery and plant should be turned off when not in use, deliveries should be limited to daytime hours where possible, and the use of mobile plant and horns should be avoided during the night-time period (23:00 – 07:00). Unit 3 - The assessment has only been carried out for daytime (07:00 – 23:00) not nighttime (23:00 – 07:00). Therefore the impact of noise at nighttime is not known. - The assessment has assumed all doors and windows to the unit are closed when in use. - Typical operating hours will be 08:30 to 17:00, with all deliveries and manufacturing activities taking place within this period. it has been assumed that one HGV will visit the site per day. - The business should still operate with good acoustic practices in mind and try to keep operational noise to a minimum. Machinery and plant should be turned off when not in use, deliveries should be limited to daytime hours where possible, and the use of mobile plant and horns should be avoided during the night-time period (23:00 – 07:00). Unit 6 - The assessment has only been carried out for daytime (07:00 – 23:00) not nighttime (23:00 – 07:00). Therefore the impact of noise at nighttime is not known. - The assessment has been carried out with the tenant not installing any additional fixed plant. - The assessment has assumed all doors and windows to the unit are closed when in use. - The business should still operate with good acoustic practices in mind and try to keep operational noise to a minimum. Should the use of the unit change over time, this report will require updating to ensure no adverse impact is expected at the NSRs. Unit 7 - The assessment has only been carried out for daytime (07:00 – 23:00) not nighttime (23:00 – 07:00). Therefore the impact of noise at nighttime is not known. - It has been assumed that one HGV will visit the site per day. - The business should still operate with good acoustic practices in mind and try to keep operational noise to a minimum. Deliveries should be limited to daytime only and vehicles should be turned off when not in use. Should the use of the unit change over time, this report will require updating to ensure no adverse impact is expected at the NSRs. |  |  |
| NO OBJECTION* |  |  |
| *Delete as applicable |  |  |
| Consultation Suggested Conditions: |  |  |
| Consultation Informative(s): It is recommended that measures are taken to prevent a nuisance/or affect the quality of life of local residents. Please note that the Council’s Pollution Control Team have a legal duty to investigate any complaints about noise, smoke, odour, light or dust. No waste should be burnt. If a Statutory Nuisance is found to exist, they must serve an Abatement Notice under the Environmental Protection Act 1990. Failure to comply with the requirements of an Abatement Notice may result in a fine of up to £20,000 upon conviction in Magistrates' Court. It is therefore recommended that you give serious consideration to the steps that may be required to prevent a noise, light, odour, dust or smoke nuisance from being created. |  |  |
| Planning Obligations required: n/a |  |  |