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Planning & Building Control Service
Development Management
Westgate Plaza
PO Box 603, Barnsley, S70 9FE
Head of Service: Joe Jenkinson
 



	
	
	My Ref: 2007/2148 & 2016\ENQ\002489
	2017/0560 & 2017/0248

	
	
	Your Ref:
	MS/Capitol Park Unit A

	
	
	Date:
	06 June 2017

	
	
	Enquiries to:
	Elaine Ward

	
	
	Direct Dial:
	01226 774731

	
	
	E-Mail:  
	elaineward@barnsley.gov.uk




Dear Miranda

RE: Non-material amendment  of previously approved 2017/0248 to decrease finished floor levels and include additional fire exits.
Capitol Park, Capitol Close, Dodworth

I refer to your proposal for a non-material amendment to approved plans for planning permission reference 2017/0248

The non-material amendment comprises: 
1. 2 no. additional fire exit doors added.  1 no. door to the northwest elevation and 1 no. door to the southeast elevation.  These are Building Control means of escape requirements, following the confirmation of the agreed internal racking layout for the warehouse.
2. Reduce finished floor level by 200mm from 150.700 to 150.500
3. JPG have submitted the adopted road drawings to Barnsley MBC Highways, with increased radius kerbs..  Amended site plan now submitted to match.
4. The substation location 2017/0457 granted on 01/06/2017 has been added to the site plan
5. Smeedon Foreman landscaping plan updated to show visibility splays and substation location, together with the new landscaping area following the blocking off and making good of the old site access.  Notes added to include bird and bat boxes.
6. Retaining wall notes omitted form the site plan, to the turning head access road area to suit JPG road drawings.

These  amendment will not alter the nature or scale of the original permission, nor is it likely to result in loss of amenity to close by residential properties or employment uses as the location of the building remains the same and the scale and intensity of vehicular use is unlikely to be increased.

Having considered your proposal, and consulted  appropriate internal expert officers, I can confirm that your non-material amendment is acceptable.   As such, the new approved plans will be as follows:

M3016-01-SK4 REV G Site Layout
M3016-02-SK4  REV E Floor Layout Plan
M3016-03-SK4  REV A Elevations
M3016-05-SK4 REV A Site Sections
SF 2651 LL01 REV C Smeeden Foreman Landscaping Plan

[bookmark: _GoBack]This decision letter only relates to the non-material amendment.  It is not a reissue of the original decision notice for application 2017/0248 which still stands. The two documents should be read in conjunction.

Yours sincerely


For and on behalf of:
Joe Jenkinson BA (Hons) MSc
Head of Planning and Building Control
www.barnsley.gov.uk/developmentmanagement
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PO Box 634, Barnsley, South Yorkshire S70 9GG
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